Select Stainless Sales, LLC

Select Stainless Sales, LLC

19B-1 Ransier Drive West Seneca, New York 14224 TEL: +1-716-671-2326	FAX: +1-716-671-2327

2017. July

www.select-stainless.com

Index

Page

1

TRI-CLAMP FITTINGS

2

WELD FITTINGS

3

BEVEL SEAT DIN 11851

TUBE OD FITTINGS

4

I-LINE SECTION

CLAMPS

TRI-CLAMP FITTINGS TRI-CLAMP ADAPTERS

TRI-CLAMP FITTINGS AND GASKETS

WELD FITTINGS TUBE

WELD FITTINGS

SPANNER

BEVEL SEAT UNION DIN 11851 UNIONS TUBE OD FITTIINGS

03

04-08

09-10

11

13-16

17

18

20

20-21

22-23

24

25-27

| 5 | VALVES | CHECK VALVE 3A SIGHT GLASS PNEUMATIC ACTUATOR BUTTERFLY VALVE W/12 POSITION GRIP HANDLE CONTROL BOX PNEUMATIC DIVERT VALVE BALL VALVE BALL VALVE ACTUATOR DIAPHRAGM VALVE PARTS LIST PNEUMATIC/MANUAL DIAPHRAGM VALVE SAMPLE COCK VALVE PLUG VALVE STRAINERS | 29 30 31 32-33 34 35-36 37-38 39 40 41-43 44 45 46 |
| --- | --- | --- | --- |
| 6 | TECHNICAL INFORMATION | TECHNICAL INFORMATION PNEUMATIC DIVERT VALVE OPERATING MANUAL | 47-49 50 51-54 |

7 BPE FITTINGS

BPE Items

55-69

70-74

1	2

# CLAMPS

13MHH

HEAVY DUTY SINGLE PIN CLAMP

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2"-3/4" | 0.787 | 20 | 1.110 | 28.2 |
| A37 | 1.094 | 27.8 | 1.457 | 37 |
| 1 1/2" | 1.748 | 44.4 | 2.110 | 53.6 |
| 2" | 2.276 | 57.8 | 2.638 | 67 |
| 2 1/2" | 2.811 | 71.4 | 3.173 | 80.6 |
| 3" | 3.307 | 84 | 3.701 | 94 |
| 4" | 4.331 | 110 | 4.803 | 122 |
| 6" | 6.118 | 155.4 | 6.709 | 170.4 |
| 8" | 8.071 | 205 | 8.661 | 220 |
| DN250 | 10.121 | 257 | 10.709 | 272 |
| DN300 | 12.126 | 308 | 12.717 | 323 |

13MHP

HIGH PRESSURE BOLTED CLAMP

L

ØB

ØC

ØA

ØB

ØC

ØA

ØB

1/2"~3/4"

TRI-CLAMP FITTINGS

1/2"~3/4"

L

1.0"~12"

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2"~3/4" | 0.787 | 20 | 1.102 | 28 |
| 1"~11 /2 " | 1.706 | 43.32 | 2.047 | 52 |
| 2" | 2.222 | 56.44 | 2.579 | 65.5 |
| 2 1/2" | 2.738 | 69.54 | 3.110 | 79 |
| 3" | 3.054 | 77.56 | 3.642 | 92.5 |
| 4" | 4.286 | 108.86 | 4.744 | 120.5 |
| 6" | 6.220 | 158 | 6.693 | 170 |
| 8" | 8.760 | 222.5 | 9.350 | 237.5 |
| 10" | 10.165 | 258.2 | 10.740 | 272.8 |
| 12" | 12.165 | 309 | 12.898 | 327.6 |

32

ØC

ØA ØB

WING NUT FOR CLAMP

32

| WELDING FERRULE 14WMP 14MMP 14AMP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SIZE |  | in. | øA |  | mm | in. | øB |  | mm | in. | øC |  | mm | in. | L |  | mm | in. | L | mm | in. | L |  | mm |
| 1/4" |  | 0.154 |  | 3.9 |  | 0.250 |  | 6.35 |  | 0.992 |  | 25.2 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 1/2" |  | 0.370 |  | 9.4 |  | 0.500 |  | 12.7 |  | 0.992 |  | 25.2 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 3/4" |  | 0.620 |  | 15.75 |  | 0.750 |  | 19.05 |  | 0.992 |  | 25.2 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 1" |  | 0.870 |  | 22.1 |  | 1.000 |  | 25.4 |  | 1.988 |  | 50.5 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 1 1/2" |  | 1.370 |  | 34.8 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 2" |  | 1.870 |  | 47.5 |  | 2.000 |  | 50.8 |  | 2.520 |  | 64 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 2 1/2" |  | 2.370 |  | 60.2 |  | 2.500 |  | 63.5 |  | 3.051 |  | 77.5 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 3" |  | 2.870 |  | 72.9 |  | 3.000 |  | 76.2 |  | 3.583 |  | 91 |  | 0.500 |  | 12.7 |  |  |  |  | 1.125 |  | 28.6 |  |
| 4" |  | 3.835 |  | 97.4 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  | 0.622 |  | 15.8 |  |  |  |  | 1.125 |  | 28.6 |  |
| 6" |  | 5.782 |  | 146.86 |  | 6.000 |  | 152.4 |  | 6.570 |  | 166.87 |  |  |  |  |  | 0.846 |  | 21.5 | 1.500 |  | 38.1 |  |
| 8" |  | 7.782 |  | 197.66 |  | 8.000 |  | 203.2 |  | 8.570 |  | 217.67 |  |  |  |  |  | 0.846 |  | 21.5 | 1.500 |  | 38.1 |  |
| 10" |  | 9.732 |  | 247.2 |  | 10.000 |  | 254 |  | 10.570 |  | 268.47 |  |  |  |  |  | 0.846 |  | 21.5 | 1.500 |  | 38.1 |  |
| 12" |  | 11.732 |  | 298 |  | 12.000 |  | 304.8 |  | 12.570 |  | 319.27 |  |  |  |  |  | 0.846 |  | 21.5 | 1.500 |  | 38.1 |  |

14MPW

L

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.321 | 8.15 | 0.502 | 12.75 | 0.992 | 25.2 | 2.126 | 54 |
| 3/4" | 0.575 | 14.6 | 0.750 | 19.05 | 0.992 | 25.2 | 2.126 | 54 |
| 1" | 0.870 | 22.1 | 1.161 | 29.5 | 1.988 | 50.5 | 1.626 | 41.3 |
| 11/2" | 1.370 | 34.8 | 1.677 | 42.6 | 1.988 | 50.5 | 1.626 | 41.3 |
| 2" | 1.870 | 47.5 | 2.193 | 55.7 | 2.520 | 64 | 1.752 | 44.5 |
| 21/2" | 2.370 | 60.2 | 2.709 | 68.8 | 3.051 | 77.5 | 1.752 | 44.5 |
| 3" | 2.870 | 72.9 | 3.224 | 81.9 | 3.583 | 91 | 1.815 | 46.1 |
| 4" | 3.835 | 97.4 | 4.256 | 108.1 | 4.685 | 119 | 2.126 | 54 |
| 6" | 5.758 | 146.25 | 6.193 | 157.3 | 6.570 | 166.87 | 2.500 | 63.5 |

HEAVY WALL TANK FERRULE SA479

35.6

39

39.2

42.2

42.5

ØB

13MHH-11

13MHH-13

13MHH-14

H17

L

16AMP SOLID END CAP

ØD1

ØD

L1

T

ØA

| SIZE | øA in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2"-3/4" | 0.984 | 25 | 0.25 | 6.35 |
| A37 | 1.339 | 34 | 0.25 | 6.35 |
| 1" | 1.988 | 50.5 | 0.25 | 6.35 |
| 11 /2" | 1.988 | 50.5 | 0.25 | 6.35 |
| 2" | 2.520 | 64 | 0.25 | 6.35 |
| 21 /2" | 3.051 | 77.5 | 0.25 | 6.35 |
| 3" | 3.583 | 91 | 0.25 | 6.35 |
| 4" | 4.685 | 119 | 0.311 | 7.9 |
| 6" | 6.570 | 166.87 | 0.437 | 11.1 |
| 8" | 8.571 | 217.7 | 0.437 | 11.1 |
| 10" | 10.571 | 268.5 | 0.437 | 11.1 |
| 12" | 12.571 | 319.3 | 0.437 | 11.1 |

L

7MP

2KMP

T

ØD

ØD1

L

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.992 | 25.2 | 0.780 | 19.8 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.992 | 25.2 | 0.969 | 24.6 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.988 | 50.5 | 1.122 | 28.5 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.988 | 50.5 | 1.437 | 36.5 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.520 | 64 | 1.750 | 44.45 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.051 | 77.5 | 2.059 | 52.3 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.583 | 91 | 2.374 | 60.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.685 | 119 | 3.000 | 76.2 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.570 | 166.87 | 4.626 | 117.5 | 0.109 | 2.77 |

TRI-CLAMP 45° ELBOW

TRI-CLAMP EQUAL TEE

L

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 /2"*1" | 1.988 | 50.5 | 1.500 | 38.1 | 1.988 | 50.5 | 1.000 | 25.4 | 5.500 | 139.7 | 2.625 | 66.68 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.520 | 64 | 2.000 | 50.8 | 1.988 | 50.5 | 1.000 | 25.4 | 7.000 | 177.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/2" | 2.520 | 64 | 2.000 | 50.8 | 1.988 | 50.5 | 1.500 | 38.1 | 7.000 | 177.8 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*11/2" | 3.051 | 77.5 | 2.500 | 63.5 | 1.988 | 50.5 | 1.500 | 38.1 | 7.000 | 177.8 | 3.250 | 82.55 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*2" | 3.051 | 77.5 | 2.500 | 63.5 | 2.520 | 64 | 2.000 | 50.8 | 7.000 | 177.8 | 3.750 | 95.25 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.583 | 91 | 3.000 | 76.2 | 1.988 | 50.5 | 1.500 | 38.1 | 7.500 | 190.5 | 3.500 | 88.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.583 | 91 | 3.000 | 76.2 | 2.520 | 64 | 2.000 | 50.8 | 7.500 | 190.5 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.583 | 91 | 3.000 | 76.2 | 3.051 | 77.5 | 2.500 | 63.5 | 7.500 | 190.5 | 3.750 | 95.25 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*2" | 4.685 | 119 | 4.000 | 101.6 | 2.520 | 64 | 2.000 | 50.8 | 8.992 | 228.4 | 4.500 | 114.3 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2 1/2" | 4.685 | 119 | 4.000 | 101.6 | 3.051 | 77.5 | 2.500 | 63.5 | 8.992 | 228.4 | 4.250 | 107.95 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.685 | 119 | 4.000 | 101.6 | 3.583 | 91 | 3.000 | 76.2 | 8.992 | 228.4 | 4.250 | 107.95 | 0.083 | 2.1 | 0.065 | 1.65 |

2CMP

ØD1

ØD

7RMP

Ød1 Ød

SIZE

1/2"

3/4"

1"

1 1/2"

2"

2 1/2"

3"

4"

6"

øD

in.	mm

0.500	12.7

0.750	19.05

1.000	25.4

1.500	38.1

2.000	50.8

2.500	63.5

3.000	76.2

4.000	101.6

6.000	152.4

øD1

in.	mm

0.992	25.2

0.992	25.2

1.988	50.5

1.988	50.5

2.520	64

3.051	77.5

3.583	91

4.685	119

6.570	166.87

L

in.	mm

2.500	63.5

4.748	120.6

4.748	120.6

5.504	139.8

7.000	177.8

7.000	177.8

7.504	190.6

8.992	228.4

13.000	330.2

L1

in.	mm

1.250	31.75

2.374	60.3

2.374	60.3

2.752	69.9

3.500	88.9

3.500	88.9

3.752	95.3

4.496	114.2

6.500	165.1

T

in.

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

0.109

mm

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

2.77

T

L1

t

ØD

ØD1

L

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.992 | 25.2 | 1.626 | 41.3 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.992 | 25.2 | 1.626 | 41.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.988 | 50.5 | 2.000 | 50.8 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.988 | 50.5 | 2.752 | 69.9 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.520 | 64 | 3.500 | 88.9 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.051 | 77.5 | 4.250 | 107.95 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.583 | 91 | 5.000 | 127 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.685 | 119 | 6.622 | 168.2 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.570 | 166.87 | 9.874 | 250.8 | 0.109 | 2.77 |

TRI-CLAMP 90° ELBOW

T

TRI-CLAMP REDUCING TEE

9MP

T

T

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 1.988 | 50.5 | 4.748 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 |
| 1 1/2" | 1.500 | 38.1 | 1.988 | 50.5 | 5.504 | 139.8 | 2.752 | 69.9 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.520 | 64 | 7.000 | 177.8 | 3.500 | 88.9 | 0.065 | 1.65 |
| 2 1/2" | 2.500 | 63.5 | 3.051 | 77.5 | 7.000 | 177.8 | 3.500 | 88.9 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.583 | 91 | 7.504 | 190.6 | 3.752 | 95.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.685 | 119 | 8.992 | 228.4 | 4.496 | 114.2 | 0.083 | 2.1 |

TRI-CLAMP LONG EQUAL CROSS

ØD1

ØD

L1

t

t

T

CONCENTRIC 31-14MP	ECCENTRIC 32-14MP

L

28AMP

45° LATERAL TC

ØD

Ød

ØD

Ød

L		 L

ØD

T

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | L2 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 7.000 | 177.8 | 1.500 | 38.1 | 5.500 | 139.7 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 7.000 | 177.8 | 1.500 | 38.1 | 5.500 | 139.7 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 7.000 | 177.8 | 1.500 | 38.1 | 5.500 | 139.7 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 8.375 | 212.73 | 2.430 | 61.7 | 7.430 | 188.7 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 9.750 | 247.65 | 2.125 | 53.98 | 7.625 | 193.7 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 11.000 | 279.4 | 2.000 | 50.8 | 9.000 | 228.6 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 11.750 | 298.45 | 2.375 | 60.33 | 9.375 | 238.1 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 14.062 | 357.17 | 2.640 | 67.06 | 11.312 | 287.3 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 19.750 | 501.65 | 4.375 | 111.13 | 15.375 | 390.5 | 0.109 | 2.77 |

L1

L

28BMP

90° TRUE Y TC

TRI-CLAMP REDUCERS

L

| SIZE | øD in. mm |  | ød in. mm |  | L in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.500 | 12.7 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 0.500 | 12.7 | 7.000 | 177.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 0.750 | 19.05 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/2" | 2.000 | 50.8 | 1.500 | 38.1 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11/2" | 2.500 | 63.5 | 1.500 | 38.1 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 1.000 | 25.4 | 9.000 | 228.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 1.500 | 38.1 | 7.000 | 177.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 2.500 | 63.5 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 11.122 | 282.5 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 9.122 | 231.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 7.122 | 180.9 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 5.122 | 130.1 | 0.083 | 2.1 | 0.065 | 1.65 |
| 6"*3" | 6.000 | 152.4 | 3.000 | 76.2 | 6.500 | 165.1 | 0.109 | 2.77 | 0.065 | 1.65 |
| 6"*4" | 6.000 | 152.4 | 4.000 | 101.6 | 6.500 | 165.1 | 0.109 | 2.77 | 0.083 | 2.1 |

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 2.500 | 63.5 | 2.938 | 74.6 | 0.065 | 1.65 |
| 11 /2" | 1.500 | 38.1 | 2.500 | 63.5 | 2.938 | 74.6 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 3.125 | 79.4 | 3.750 | 95.3 | 0.065 | 1.65 |
| 21 /2" | 2.500 | 63.5 | 3.870 | 98.3 | 4.625 | 117.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 4.500 | 114.3 | 5.375 | 136.5 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 6.000 | 152.4 | 6.000 | 152.4 | 0.083 | 2.1 |

T

ØD

L1

L

ØC

ØB

ØA

NPT

ØD

NPT

ØA1

ØC

21MP	22MP

15.8

ØC

NPT

ØB

23BMP THERMOMETER CAP

| SIZE | øB in. mm |  | øC in. mm |  | NPT |
| --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 1.988 | 50.5 | 1/2"-14T |
| 1 1/2" | 1.500 | 38.1 | 1.988 | 50.5 | 3/4"-14T |
| 2" | 2.000 | 50.8 | 2.520 | 64 | 3/4"-14T |
| 2 1/2" | 2.500 | 63.5 | 3.051 | 77.5 | 3/4"-14T |
| 3" | 3.000 | 76.2 | 3.583 | 91 | 3/4"-14T |
| 4" | 4.000 | 101.6 | 4.685 | 119 | 3/4"-14T |
| 6" | 6.000 | 152.4 | 6.567 | 166.8 | 3/4"-14T |

L1

L

ØC

ØA

ØB

ØC

ØA1

ØB

14MPHR	14MPHRL

| SIZE | in. | øA |  | mm | øA1 |  |  |  |  |  | in. | øB |  | mm | in. | øB1 |  | mm | in. | øC |  | mm | in. | øD |  | mm | in. | L |  | mm | in. | L1 |  | mm | in. | L2 |  | mm | NPT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | in. | 1" |  | mm | 11/2" in. mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1/2"*1/2" | 0.370 |  | 9.4 |  | 0.370 |  | 9.4 |  | 0.370 | 9.4 | 0.500 |  | 12.7 |  |  |  |  |  | 0.992 |  | 25.2 |  | 1.181 |  | 30 |  | 1.772 |  | 45 |  | 1.299 |  | 33 |  |  |  |  |  | 1/2"-18T |
| 3/4"*1/2" | 0.620 |  | 15.75 |  | 0.620 |  | 15.75 |  | 0.620 | 15.75 | 0.750 |  | 19.05 |  |  |  |  |  | 0.992 |  | 25.2 |  | 1.181 |  | 30 |  | 1.772 |  | 45 |  | 1.299 |  | 33 |  |  |  |  |  | 1/2"-18T |
| 3/4"*3/4" | 0.620 |  | 15.75 |  |  |  |  |  |  |  | 0.750 |  | 19.05 |  |  |  |  |  | 0.992 |  | 25.2 |  |  |  |  |  | 1.772 |  | 45 |  |  |  |  |  |  |  |  |  | 3/4"-18T |
| 1"&11/2"*1/4" | 0.125 |  | 3.18 |  |  |  |  |  |  |  | 0.551 |  | 14 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  | 0.748 |  | 19 |  | 1/4"-18T |
| 1"&11/2"*3/8" | 0.250 |  | 6.35 |  |  |  |  |  |  |  | 0.709 |  | 18 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  | 0.748 |  | 19 |  | 3/8"-18T |
| 1"&11/2"*1/2" | 0.382 |  | 9.7 |  |  |  |  |  |  |  | 0.866 |  | 22 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  | 0.748 |  | 19 |  | 1/2"-14T |
| 1"&11/2"*3/4" | 0.620 |  | 15.75 |  |  |  |  |  |  |  | 1.063 |  | 27 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  |  |  |  |  | 1.772 |  | 45 |  |  |  |  |  | 0.748 |  | 19 |  | 3/4"-14T |
| 1"&11/2"*1" | 0.870 |  | 22.1 |  |  |  |  |  |  |  | 1.339 |  | 34 |  | 1.500 |  | 38.1 |  | 1.988 |  | 50.5 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  | 0.748 |  | 19 |  | 1"-11.5T |
| 1"&11/2"*11/ 4" | 1.126 |  | 28.6 |  | 0.870 |  | 22.1 |  | 1.370 | 34.8 | 1.500 |  | 38.1 |  |  |  |  |  | 1.988 |  | 50.5 |  | 1.811 |  | 46 |  | 1.969 |  | 50 |  | 1.535 |  | 39 |  |  |  |  |  | 1.2"-11.5T |
| 1"&11/2"*11/ 2" | 1.370 |  | 34.8 |  | 0.870 |  | 22.1 |  | 1.370 | 34.8 | 1.500 |  | 38.1 |  |  |  |  |  | 1.988 |  | 50.5 |  | 2.047 |  | 52 |  | 1.969 |  | 50 |  | 1.535 |  | 39 |  |  |  |  |  | 1.5"-11.5T |
| 1"&11/2"*2" | 1.870 |  | 47.5 |  | 0.870 |  | 22.1 |  | 1.370 | 34.8 | 1.500 |  | 38.1 |  |  |  |  |  | 1.988 |  | 50.5 |  | 2.559 |  | 65 |  | 2.165 |  | 55 |  | 1.535 |  | 39 |  |  |  |  |  | 2"-11.5T |
| 2"*1/4" | 0.125 |  | 3.18 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  | 2.000 |  | 50.8 |  | 2.520 |  | 64 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  | 0.748 |  | 19 |  | 1/4"-18T |
| 2"*3/8" | 0.250 |  | 6.35 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  | 2.000 |  | 50.8 |  | 2.520 |  | 64 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  | 0.748 |  | 19 |  | 3/8"-18T |
| 2"*1/2" | 0.370 |  | 9.4 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  |  |  |  |  | 1.575 |  | 40 |  |  |  |  |  |  |  |  |  | 1/2"-14T |
| 2"*3/4" | 0.620 |  | 15.75 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  |  |  |  |  | 3/4"-14T |
| 2"*1" | 0.870 |  | 22.1 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  | 2.000 |  | 50.8 |  | 2.520 |  | 64 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  | 0.748 |  | 19 |  | 1"-11.5T |
| 2"*11/2" | 1.370 |  | 34.8 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  | 2.000 |  | 50.8 |  | 2.520 |  | 64 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  | 0.748 |  | 19 |  | 1 / "-11.5T |
| 2"*2" | 1.870 |  | 47.5 |  | 1.870 |  | 47.5 |  | 1.870 | 47.5 | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  | 2.559 |  | 65 |  | 2.165 |  | 55 |  | 1.535 |  | 39 |  |  |  |  |  | 2"-11.5T |
| 2"*21/ 2" | 2.370 |  | 60.2 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  |  |  |  |  | 2.362 |  | 60 |  |  |  |  |  |  |  |  |  | 2 / "-8T |
| 2"*3" | 2.870 |  | 72.9 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  |  |  |  |  | 2.756 |  | 70 |  |  |  |  |  |  |  |  |  | 3"-8T |
| 2"*4" | 3.843 |  | 97.6 |  |  |  |  |  |  |  | 2.000 |  | 50.8 |  |  |  |  |  | 2.520 |  | 64 |  |  |  |  |  | 2.953 |  | 75 |  |  |  |  |  |  |  |  |  | 4"-8T |
| 21/2"*1" | 0.870 |  | 22.1 |  |  |  |  |  |  |  | 2.500 |  | 63.5 |  | 2.500 |  | 63.5 |  | 3.051 |  | 77.5 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  | 1.378 |  | 35 |  | 1"-11.5T |
| 21/2"*11/2" | 1.370 |  | 34.8 |  |  |  |  |  |  |  | 2.500 |  | 63.5 |  | 2.500 |  | 63.5 |  | 3.051 |  | 77.5 |  |  |  |  |  | 1.969 |  | 50 |  |  |  |  |  | 1.378 |  | 35 |  | 1 / "-11.5T |
| 21/2"*2" | 1.874 |  | 47.6 |  |  |  |  |  |  |  | 2.500 |  | 63.5 |  | 2.500 |  | 63.5 |  | 3.051 |  | 77.5 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 2"-11.5T |
| 21/2"*21/2" | 2.370 |  | 60.2 |  | 2.870 |  | 72.9 |  | 2.870 | 72.9 | 2.500 |  | 63.5 |  |  |  |  |  | 3.051 |  | 77.5 |  | 3.740 |  | 95 |  | 2.362 |  | 60 |  | 1.969 |  | 50 |  |  |  |  |  | 2 / "-8T |
| 21/2"*3" | 2.870 |  | 72.9 |  |  |  |  |  |  |  | 2.500 |  | 63.5 |  |  |  |  |  | 3.051 |  | 77.5 |  |  |  |  |  | 2.756 |  | 70 |  |  |  |  |  |  |  |  |  | 3"-8T |
| 21/2"*4" | 3.843 |  | 97.6 |  |  |  |  |  |  |  | 2.500 |  | 63.5 |  |  |  |  |  | 3.051 |  | 77.5 |  |  |  |  |  | 2.953 |  | 75 |  |  |  |  |  |  |  |  |  | 4"-8T |
| 3"*1" | 0.870 |  | 22.1 |  |  |  |  |  |  |  | 3.000 |  | 76.2 |  | 3.000 |  | 76.2 |  | 3.583 |  | 91 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 1"-11.5T |
| 3"*11/2" | 1.370 |  | 34.8 |  |  |  |  |  |  |  | 3.000 |  | 76.2 |  | 3.000 |  | 76.2 |  | 3.583 |  | 91 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 1 / "-11.5T |
| 3"*2" | 1.870 |  | 47.5 |  |  |  |  |  |  |  | 3.000 |  | 76.2 |  | 3.000 |  | 76.2 |  | 3.583 |  | 91 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 2"11.5T |
| 3"*21/2" | 2.370 |  | 60.2 |  | 2.370 |  | 60.2 |  | 2.370 | 60.2 | 3.000 |  | 76.2 |  |  |  |  |  | 3.583 |  | 91 |  | 3.150 |  | 80 |  | 2.362 |  | 60 |  | 1.969 |  | 50 |  |  |  |  |  | 2 / "-8T |
| 3"*3" | 2.870 |  | 72.9 |  |  |  |  |  |  |  | 3.000 |  | 76.2 |  |  |  |  |  | 3.583 |  | 91 |  |  |  |  |  | 2.756 |  | 70 |  |  |  |  |  |  |  |  |  | 3"-8T |
| 3"*4" | 3.843 |  | 97.6 |  |  |  |  |  |  |  | 3.000 |  | 76.2 |  |  |  |  |  | 3.583 |  | 91 |  |  |  |  |  | 2.953 |  | 75 |  |  |  |  |  |  |  |  |  | 4"-8T |
| 4"*1" | 0.870 |  | 22.1 |  |  |  |  |  |  |  | 4.000 |  | 101.6 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 1"-11.5T |
| 4"*11/2" | 1.370 |  | 34.8 |  |  |  |  |  |  |  | 4.000 |  | 101.6 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 1 / "-11.5T |
| 4"*2" | 1.870 |  | 47.5 |  |  |  |  |  |  |  | 4.000 |  | 101.6 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  |  |  |  |  | 2.165 |  | 55 |  |  |  |  |  | 1.378 |  | 35 |  | 2"-11.5T |
| 4"*21/2" | 2.370 |  | 60.2 |  |  |  |  |  |  |  | 4.000 |  | 101.6 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  |  |  |  |  | 2.362 |  | 60 |  |  |  |  |  | 1.378 |  | 35 |  | 2 / "-8T |
| 4"*3" | 2.870 |  | 72.9 |  | 2.870 |  | 72.9 |  | 2.870 | 72.9 | 4.000 |  | 101.6 |  | 4.000 |  | 101.6 |  | 4.685 |  | 119 |  | 3.740 |  | 95 |  | 2.756 |  | 70 |  | 2.047 |  | 52 |  | 1.378 |  | 35 |  | 3"-8T |
| 4"*4" | 3.843 |  | 97.6 |  |  |  |  |  |  |  | 4.000 |  | 101.6 |  |  |  |  |  | 4.685 |  | 119 |  |  |  |  |  | 2.953 |  | 75 |  |  |  |  |  |  |  |  |  | 4"-8T |
| 6"*4" |  |  |  |  | 3.843 |  | 97.6 |  | 3.843 | 97.6 | 4.000 |  | 101.6 |  |  |  |  |  | 4.685 |  | 119 |  | 4.724 |  | 120 |  | 2.953 |  | 75 |  | 2.126 |  | 54 |  |  |  |  |  | 4"-8T |

14MPHR/14MPHRL

HOSE ADAPTER

| SIZE | øA in. mm |  | øA1 in. mm |  | øB in. mm |  | øC in. mm |  | L in. mm |  | L1 in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2"*1/2" | 0.374 | 9.5 | 0.500 | 12.7 | 0.539 | 13.7 | 0.992 | 25.2 | 1.496 | 38 | 4.488 | 88.9 |
| 3/4"*3/4" | 0.622 | 15.8 | 0.750 | 19.05 | 0.843 | 21.4 | 0.992 | 25.2 | 1.496 | 38 | 4.488 | 88.9 |
| 1"*1" | 0.811 | 20.6 | 0.850 | 21.6 | 1.000 | 25.4 | 1.988 | 50.5 | 1.693 | 43 | 4.488 | 88.9 |
| 11/2"*11/2" | 1.307 | 33.2 | 1.323 | 33.6 | 1.500 | 38.1 | 1.988 | 50.5 | 1.693 | 43 | 4.488 | 88.9 |
| 2"*2" | 1.811 | 46 | 1.823 | 46.3 | 2.000 | 50.8 | 2.520 | 64 | 2.311 | 58.7 | 4.488 | 114.3 |
| 21/2"*21/2" | 2.311 | 58.7 | 2.323 | 59 | 2.500 | 63.5 | 3.051 | 77.5 | 2.343 | 59.5 | 4.488 | 114.3 |
| 3"*3" | 2.835 | 72 | 2.823 | 71.7 | 3.000 | 76.2 | 3.583 | 91 | 3.094 | 78.6 | 4.488 | 114.3 |
| 4"*4" | 3.843 | 97.6 | 3.823 | 97.1 | 4.000 | 101.6 | 4.685 | 119 | 3.366 | 85.5 | 4.488 | 139.7 |

14RMP

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.004 | 25.5 | 1.161 | 29.5 | 1.988 | 50.5 | 0.752 | 19.1 |
| 11/4" | 1.256 | 31.9 | 1.429 | 36.3 | 1.988 | 50.5 | 0.846 | 21.5 |
| 11/2" | 1.504 | 38.2 | 1.677 | 42.6 | 1.988 | 50.5 | 1.126 | 28.6 |
| 2" | 2.004 | 50.9 | 2.193 | 55.7 | 2.520 | 64 | 1.311 | 33.3 |
| 21/2" | 2.504 | 63.6 | 2.709 | 68.8 | 3.051 | 77.5 | 1.374 | 34.9 |
| 3" | 3.004 | 76.3 | 3.224 | 81.9 | 3.583 | 91 | 1.437 | 36.5 |
| 4" | 4.004 | 101.7 | 4.256 | 108.1 | 4.685 | 119 | 1.500 | 38.1 |

ROLL ON FERRULE (EXPANDING)

1.0"

ØC

ØA

ØB

L

ØC

ØA	 ØB

1.25"~4.0"

Ferrule Gasket

(EPDM、Silicone、Viton、PTFE、BUNA)

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2" | 0.390 | 9.9 | 0.858 | 21.8 |
| 3/4" | 0.642 | 16.3 | 0.858 | 21.8 |
| A37 | 0.610 | 15.5 | 1.299 | 33 |
| 1.0" | 0.894 | 22.7 | 1.969 | 50 |
| 1.25" | 1.161 | 29.5 | 1.988 | 50.5 |
| 1.5" | 1.413 | 35.9 | 1.969 | 50 |
| 2.0" | 1.913 | 48.6 | 2.500 | 63.5 |
| 2.5" | 2.413 | 61.3 | 3.000 | 76.2 |
| 3.0" | 2.913 | 74 | 3.500 | 88.9 |
| 3.5" | 3.386 | 86 | 4.134 | 105 |
| 4.0" | 3.882 | 98.6 | 4.646 | 118 |
| 4.5" | 4.350 | 110.5 | 5.079 | 129 |
| 5.0" | 4.122 | 104.7 | 5.748 | 146 |
| 6.0" | 5.819 | 147.8 | 6.496 | 165 |
| 8.0" | 7.740 | 196.6 | 8.504 | 216 |

PLAIN TYPE 13PG

L

1/2"-3/4"

ØA

ØB

ØA

ØB

13PG

Ferrule Gasket

(EPDM、Silicone、Viton、PTFE、BUNA)

ØA

ØB

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1" | 0.898 | 22.8 | 2.075 | 52.7 |
| 1 1/2" | 1.409 | 35.8 | 2.075 | 52.7 |
| 2" | 1.921 | 48.8 | 2.606 | 66.2 |
| 2 1/2" | 2.382 | 60.5 | 3.138 | 79.7 |
| 3" | 2.878 | 73.1 | 3.669 | 93.2 |
| 4" | 3.850 | 97.8 | 4.772 | 121.2 |
| 6" | 5.827 | 148 | 6.657 | 169.1 |
| 10" | 9.803 | 249 | 10.657 | 270.7 |
| 12" | 11.811 | 300 | 12.657 | 321.5 |

FLANGE TYPE 13FG

13FG

11	12

ØD

T

L

ØD

T

L

L1

L1

L1

2WCL

SHORT WELD 90° ELBOW

| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.750 | 19.05 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 1.125 | 28.58 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.500 | 38.1 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 2.252 | 57.2 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 3.000 | 76.2 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.750 | 95.25 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 4.500 | 114.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 6.000 | 152.4 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 9.000 | 228.6 | 0.109 | 2.77 |
| 8" | 8.000 | 203.2 | 12.000 | 304.8 | 0.109 | 2.77 |

L2S

LONG WELD 90° ELBOW

| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 1.772 | 45 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 2.362 | 60 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 2.063 | 52.4 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 2.937 | 74.6 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 4.063 | 103.2 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 5.189 | 131.8 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.311 | 160.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 8.311 | 211.1 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.500 | 292.1 | 0.109 | 2.77 |

2WK

| SHORT 45° ELBOW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| 1/2" | 0.500 | 12.7 | 0.311 | 7.9 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.465 | 11.8 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 0.622 | 15.8 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 0.937 | 23.8 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 1.250 | 31.75 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 1.559 | 39.6 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 2.500 | 63.5 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 3.750 | 95.25 | 0.109 | 2.77 |

| LONG 45° ELBOW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| 1/2" | 0.500 | 12.7 | 1.189 | 30.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 1.189 | 30.2 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.189 | 30.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.626 | 41.3 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.311 | 58.7 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.000 | 76.2 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.689 | 93.7 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.811 | 122.2 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.228 | 158.2 | 0.109 | 2.77 |

L2KS

9WWWW

T

ØD

L

SHORT EQUAL WELD CROSS

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 2.252 | 57.2 | 1.126 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 3.315 | 84.2 | 1.657 | 42.1 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 4.126 | 104.8 | 2.063 | 52.4 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 4.685 | 119 | 2.343 | 59.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 5.189 | 131.8 | 2.594 | 65.9 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 6.874 | 174.6 | 3.437 | 87.3 | 0.083 | 2.1 |

9W

T

ØD

L

LONG EQUAL WELD CROSS

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 1.500 | 38.1 | 0.750 | 19.05 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 3.750 | 95.25 | 1.874 | 47.6 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 3.748 | 95.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 4.504 | 114.4 | 2.252 | 57.2 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 6.000 | 152.4 | 3.000 | 76.2 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 6.000 | 152.4 | 3.000 | 76.2 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.504 | 165.2 | 3.252 | 82.6 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 7.748 | 196.8 | 3.874 | 98.4 | 0.083 | 2.1 |

7WWW

T

ØD

SHORT EQUAL WELD TEE

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 1.500 | 38.1 | 0.750 | 19.05 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 2.252 | 57.2 | 1.126 | 28.6 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 2.252 | 57.2 | 1.126 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 3.315 | 84.2 | 1.657 | 42.1 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 4.126 | 104.8 | 2.063 | 52.4 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 4.685 | 119 | 2.343 | 59.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 5.189 | 131.8 | 2.594 | 65.9 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 6.874 | 174.6 | 3.437 | 87.3 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 10.000 | 254 | 5.000 | 127 | 0.109 | 2.77 |

7W

T

ØD

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.748 | 95.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 3.748 | 95.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 3.748 | 95.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 4.504 | 114.4 | 2.252 | 57.2 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 6.000 | 152.4 | 3.000 | 76.2 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 6.000 | 152.4 | 3.000 | 76.2 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.504 | 165.2 | 3.252 | 82.6 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 7.748 | 196.8 | 3.874 | 98.4 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.252 | 285.8 | 5.626 | 142.9 | 0.109 | 2.77 |

LONG EQUAL WELD TEE

T

L

ØD

T

L

L

L

L1

ØD

T

T

CONCENTRIC-31W	ECCENTRIC-32W

L

L

ØD

t

Ød

ØD

t

Ød

T

L1

Ød

t

ØD

L

7RW

LONG REDUCING WELD TEE

WELD REDUCERS

| SIZE | øD in. mm |  | ød in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 3.760 | 95.5 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 3.760 | 95.5 | 1.120 | 28.45 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 4.500 | 114.3 | 1.250 | 31.75 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 4.500 | 114.3 | 1.380 | 35.05 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 4.500 | 114.3 | 2.126 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 0.500 | 12.7 | 6.000 | 152.4 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 0.750 | 19.05 | 6.000 | 152.4 | 1.630 | 41.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 6.000 | 152.4 | 2.374 | 60.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 1.500 | 38.1 | 6.000 | 152.4 | 2.500 | 63.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 1.000 | 25.4 | 6.000 | 152.4 | 2.750 | 69.85 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11/2" | 2.500 | 63.5 | 1.500 | 38.1 | 6.000 | 152.4 | 2.750 | 69.85 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 6.000 | 152.4 | 3.250 | 82.55 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 1.000 | 25.4 | 6.500 | 165.1 | 3.125 | 79.38 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1 1/2" | 3.000 | 76.2 | 1.500 | 38.1 | 6.500 | 165.1 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 6.500 | 165.1 | 3.500 | 88.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2 1/2" | 3.000 | 76.2 | 2.500 | 63.5 | 6.500 | 165.1 | 3.250 | 82.55 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 1.000 | 25.4 | 7.748 | 196.8 | 3.625 | 92.08 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 7.748 | 196.8 | 3.625 | 92.08 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 7.748 | 196.8 | 4.000 | 101.6 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 7.748 | 196.8 | 3.750 | 95.25 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 7.748 | 196.8 | 3.750 | 95.25 | 0.083 | 2.1 | 0.065 | 1.65 |
| 6"*2" | 6.000 | 152.4 | 2.000 | 50.8 | 11.252 | 285.8 | 4.750 | 120.65 | 0.109 | 2.77 | 0.065 | 1.65 |
| 6"X3" | 6.000 | 152.4 | 3.000 | 76.2 | 11.252 | 285.8 | 4.750 | 120.65 | 0.109 | 2.77 | 0.065 | 1.65 |
| 6"X4" | 6.000 | 152.4 | 4.000 | 101.6 | 11.252 | 285.8 | 4.874 | 123.8 | 0.109 | 2.77 | 0.083 | 2.1 |

| SIZE | øD in. mm |  | ød in. mm |  | L in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.500 | 12.7 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 0.500 | 12.7 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 0.750 | 19.05 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/ 2" | 2.000 | 50.8 | 1.500 | 38.1 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 1.000 | 25.4 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11/2" | 2.500 | 63.5 | 1.500 | 38.1 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 1.000 | 25.4 | 8.000 | 203.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 1.500 | 38.1 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 2.500 | 63.5 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 1.000 | 25.4 | 12.000 | 304.8 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 10.000 | 254 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 8.000 | 203.2 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 6.000 | 152.4 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 4.000 | 101.6 | 0.083 | 2.1 | 0.065 | 1.65 |
| 6"*2" | 6.000 | 152.4 | 2.000 | 50.8 | 5.500 | 139.7 | 0.109 | 2.77 | 0.065 | 1.65 |
| 6"*3" | 6.000 | 152.4 | 3.000 | 76.2 | 5.500 | 139.7 | 0.109 | 2.77 | 0.065 | 1.65 |
| 6"*4" | 6.000 | 152.4 | 4.000 | 101.6 | 5.500 | 139.7 | 0.109 | 2.77 | 0.083 | 2.1 |

| SIZE | O.D in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 0.109 | 2.77 |

3A STANDARD SANITARY TUBE

L1

L

OD

T

28WA

1"

1 1/ "

2"

2 1/ "

3"

4"

6"

ØD

T

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | L2 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 6.000 | 152.4 | 1.000 | 25.4 | 5.000 | 127 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 6.000 | 152.4 | 1.000 | 25.4 | 5.000 | 127 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 6.000 | 152.4 | 1.000 | 25.4 | 5.000 | 127 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 7.375 | 187.33 | 1.930 | 49.02 | 6.930 | 176.02 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 8.750 | 222.25 | 1.625 | 41.28 | 7.125 | 180.98 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 10.000 | 254 | 1.500 | 38.1 | 8.500 | 215.9 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 10.750 | 273.05 | 1.875 | 47.63 | 8.875 | 225.43 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 12.812 | 325.43 | 2.015 | 51.18 | 10.750 | 273.05 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 18.000 | 457.2 | 3.500 | 88.9 | 14.500 | 368.3 | 0.109 | 2.77 |

45° LATERAL BW

TH-4

| SIZE | øA in. mm |  | L1 in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.110 | 79 |
| 3/4" | 0.750 | 19.05 | 3.110 | 79 |
| 1" | 1.000 | 25.4 | 3.110 | 79 |
| 1 1/2" | 1.500 | 38.1 | 3.740 | 95 |
| 2" | 2.000 | 50.8 | 4.642 | 117.9 |
| 2 1/2" | 2.500 | 63.5 | 4.724 | 120 |
| 3" | 3.000 | 76.2 | 5.319 | 135.1 |
| 4" | 4.000/4.094 | 101.6/104 | 6.630 | 168.4 |
| 6" | 6.000 | 152.4 | 8.858 | 225 |

Type A 1/2"

ψA

3/4"~6.0" 	L1

ψA

Rubber Grommets

Type B 1/2"

ψA

3/4"~6.0" 	L1

ψA

PP Sleeve

| BPE STANDARD |  |  |  |  |  |  |  |  | 3A STANDARD DIN 11850 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SIZE | in. | O.D |  | mm | in. | T |  | mm | in. | O.D |  | mm | in. | T |  | mm | SIZE | in. | O.D |  | mm | in. | T |  | mm |
| 1/2" | 0.500 |  | 12.7 |  | 0.065 |  | 1.65 |  | 0.500 |  | 12.7 |  | 0.065 |  | 1.65 |  |  |  |  |  |  |  |  |  |  |
| 1" | 1.000 |  | 25.4 |  | 0.065 |  | 1.65 |  | 1.000 |  | 25.4 |  | 0.065 |  | 1.65 |  | 25 | 1.102 |  | 28 |  | 0.039 |  | 1 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.059 |  | 1.5 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 32 | 1.339 |  | 34 |  | 0.039 |  | 1 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.059 |  | 1.5 |  |
| 1 1/2" | 1.500 |  | 38.1 |  | 0.065 |  | 1.65 |  | 1.500 |  | 38.1 |  | 0.065 |  | 1.65 |  | 40 | 1.575 |  | 40 |  | 0.039 |  | 1 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.059 |  | 1.5 |  |
| 2" | 2.000 |  | 50.8 |  | 0.065 |  | 1.65 |  | 2.000 |  | 50.8 |  | 0.065 |  | 1.65 |  | 50 | 2.047 |  | 52 |  | 0.039 |  | 1 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.059 |  | 1.5 |  |
| 2 1/2" | 2.500 |  | 63.5 |  | 0.065 |  | 1.65 |  | 2.500 |  | 63.5 |  | 0.065 |  | 1.65 |  | 65 | 2.756 |  | 70 |  | 0.079 |  | 2 |  |
| 3" | 3.000 |  | 76.2 |  | 0.065 |  | 1.65 |  | 3.000 |  | 76.2 |  | 0.065 |  | 1.65 |  | 80 | 3.346 |  | 85 |  | 0.079 |  | 2 |  |
| 4" | 4.000 |  | 101.6 |  | 0.083 |  | 2.1 |  | 4.000 |  | 101.6 |  | 0.065 |  | 1.65 |  | 100 | 4.094 |  | 104 |  | 0.079 |  | 2 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0.083 |  | 2.1 |  |  |  |  |  |  |  |  |  |  |

28W

1"

2"

3"

4"

T

ØD

L

90° TRUF Y BW

| SIZE | øD in. mm |  | in. L mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 0.866 | 22 | 1.732 | 44 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.220 | 31 | 2.520 | 64 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 1.732 | 44 | 3.504 | 89 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 2.283 | 58 | 4.488 | 114 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 2.638 | 67 | 5.276 | 134 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 3.346 | 85 | 6.850 | 174 | 0.083 | 2.1 |

# SPANNER

A

| SIZE | øA in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- |
| 1" | 2.039 | 51.8 | 9.449 | 240 |
| 1 1/2" | 2.598 | 66 | 11.339 | 288 |
| 2" | 3.165 | 80.4 | 11.811 | 300 |
| 2 1/2" | 3.669 | 93.2 | 12.835 | 326 |
| 3" | 4.185 | 106.3 | 17.323 | 440 |
| 4" | 4.783 | 121.5 | 17.638 | 448 |

HEXAGONAL SPANNER

L

# BEVEL SEAT UNION

13H

1"

2"

3"

4"

ØC

B

ØA

| SIZE | øA in. mm |  | B | C in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.193 | 25.4 | 38.02 ACME 8TPI | 1.811 | 46 | 0.906 | 23 |
| 11/2" | 1.709 | 38.1 | 51.54 ACME 8TPI | 2.406 | 61.1 | 0.969 | 24.6 |
| 2" | 2.224 | 50.8 | 65.05 ACME 8TPI | 3.000 | 76.2 | 1.063 | 27 |
| 21/2" | 2.740 | 63.5 | 78.56 ACME 8TPI | 3.594 | 91.3 | 1.165 | 29.6 |
| 3" | 3.256 | 76.2 | 92.08 ACME 8TPI | 4.189 | 106.4 | 1.280 | 32.5 |
| 4" | 4.287 | 101.6 | 120.14 ACME 6TPI | 5.417 | 137.6 | 1.500 | 38.1 |

HEXAGONAL NUT

L

ØA

ØB

16A CAP

| SIZE | øA in. mm |  | øB in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.161 | 29.5 | 1.311 | 33.3 | 0.469 | 11.9 |
| 1 1/2" | 1.677 | 42.6 | 1.843 | 46.8 | 0.563 | 14.3 |
| 2" | 2.193 | 55.7 | 2.374 | 60.3 | 0.626 | 15.9 |
| 2 1/2" | 2.709 | 68.8 | 2.906 | 73.8 | 0.657 | 16.7 |
| 3" | 3.224 | 81.9 | 3.437 | 87.3 | 0.720 | 18.3 |
| 4" | 4.256 | 108.1 | 4.500 | 114.3 | 0.811 | 20.6 |

L

19	20

L

BEVEL SEAT UNION	DIN 11851 UNIONS

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øF in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 1.161 | 29.5 | 1.311 | 33.3 | 1.374 | 34.9 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 1.677 | 42.6 | 1.842 | 46.8 | 1.500 | 38.1 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 2.193 | 55.7 | 2.374 | 60.3 | 1.500 | 38.1 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 2.709 | 68.8 | 2.906 | 73.8 | 1.752 | 44.5 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 3.224 | 81.9 | 3.437 | 87.3 | 1.752 | 44.5 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | 4.256 | 108.1 | 4.500 | 114.3 | 1.752 | 44.5 |

L

ØF

ØA

ØB

ØC

| DIN SPANNER |  |  |  |  |
| --- | --- | --- | --- | --- |
| SIZE | øA in. mm |  | øB in. mm |  |
| DN36~DN60 | 0.866 | 22 | 6.890 | 175 |
| DN60~DN90 | 1.220 | 31 | 9.724 | 247 |
| DN90~DN155 | 1.929 | 49 | 11.417 | 290 |
| DN155~DN230 | 3.248 | 82.5 | 20.276 | 515 |

14A PLAIN LONG WELD FERRULE

F

15A THREADED LONG WELD FERRULE

| SIZE | øA in. mm |  | øB in. mm |  | F | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 37.13 ACME 8TPI | 1.374 | 34.9 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 50.65 ACME 8TPI | 1.500 | 38.1 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 64.16 ACME 8TPI | 1.500 | 38.1 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 77.67 ACME 8TPI | 1.752 | 44.5 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 91.19 ACME 8TPI | 1.752 | 44.5 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | 119.25 ACME 6TPI | 1.752 | 44.5 |

ØF

14PRF SHORT PLAIN WELD FERRULE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øF in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 1.161 | 29.5 | 1.311 | 33.3 | 0.720 | 18.3 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 1.677 | 42.6 | 1.842 | 46.8 | 0.720 | 18.3 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 2.193 | 55.7 | 2.374 | 60.3 | 0.752 | 19.1 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 2.709 | 68.8 | 2.906 | 73.8 | 0.878 | 22.3 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 3.224 | 81.9 | 3.437 | 87.3 | 0.909 | 23.1 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | 4.256 | 108.1 | 4.500 | 114.3 | 1.031 | 26.2 |

L

F

15TRF SHORT THREADED WELD FERRULE

ROUND NUT

| SIZE | øA in. mm |  | B | øC in. mm |  | D in. mm |  | L in. mm |  | SOLTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | 0.748 | 19 | RD 28*1/8 | 0.059 | 1.496 | 0.591 | 15 | 0.709 | 18 | 4 |
| 15 | 0.984 | 25 | RD 34*1/8 | 0.068 | 1.732 | 0.591 | 15 | 0.709 | 18 | 4 |
| 20 | 1.220 | 31 | RD 44*1/6 | 0.084 | 2.126 | 0.669 | 17 | 0.787 | 20 | 4 |
| 25 | 1.417 | 36 | RD 52*1/6 | 0.098 | 2.480 | 0.709 | 18 | 0.827 | 21 | 4 |
| 32 | 1.654 | 42 | RD 58*1/6 | 0.109 | 2.756 | 0.709 | 18 | 0.827 | 21 | 4 |
| 40 | 1.929 | 49 | RD 65*1/6 | 0.121 | 3.071 | 0.709 | 18 | 0.827 | 21 | 4 |
| 50 | 2.441 | 62 | RD 78*1/6 | 0.143 | 3.622 | 0.748 | 19 | 0.866 | 22 | 4 |
| 65 | 3.150 | 80 | RD 95*1/6 | 0.174 | 4.409 | 0.827 | 21 | 0.984 | 25 | 6 |
| 80 | 3.701 | 94 | RD110*1/4 | 0.197 | 5.000 | 0.984 | 25 | 1.142 | 29 | 6 |
| 100 | 4.528 | 115 | RD130*1/4 | 0.229 | 5.827 | 1.024 | 26 | 1.220 | 31 | 6 |
| 125 | 5.433 | 138 | RD160*1/4 | 0.276 | 7.008 | 1.181 | 30 | 1.378 | 35 | 6 |
| 150 | 6.457 | 164 | RD190*1/4 | 0.326 | 8.268 | 1.339 | 34 | 1.575 | 40 | 6 |

L

L

ØC

B

Ø8

Ø16

ØA

ØB

ØA

ØB

ØC

DIN-13R	DIN-13RBN

ØC

L

D

L

B

2

5

ØA

L

| SIZE | øA in. mm |  | øC in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10 | 0.709 | 18 | 0.886 | 22.5 | 0.354 | 9 |
| 15 | 0.945 | 24 | 1.122 | 28.5 | 0.354 | 9 |
| 20 | 1.181 | 30 | 1.437 | 36.5 | 0.433 | 11 |
| 25 | 1.378 | 35 | 1.732 | 44 | 0.512 | 13 |
| 32 | 1.614 | 41 | 1.969 | 50 | 0.512 | 13 |
| 40 | 1.890 | 48 | 2.205 | 56 | 0.512 | 13 |
| 50 | 2.402 | 61 | 2.697 | 68.5 | 0.551 | 14 |
| 65 | 3.110 | 79 | 3.386 | 86 | 0.630 | 16 |
| 80 | 3.661 | 93 | 3.937 | 100 | 0.630 | 16 |
| 100 | 4.488 | 114 | 4.764 | 121 | 0.787 | 20 |
| 125 | 5.394 | 137 | 5.906 | 150 | 0.866 | 22 |
| 150 | 6.417 | 163 | 6.929 | 176 | 0.945 | 24 |

DIN-14  ROUND  NUTWELDING LINER

1"

2"

3"

4"

L

ØA

ØB

ØA

ØB

| SIZE | øA in. mm |  | øB in. mm |  | F | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 37.13 ACME 8TPI | 0.720 | 18.3 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 50.65 ACME 8TPI | 0.720 | 18.3 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 64.17 ACME 8TPI | 0.752 | 19.1 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 77.67 ACME 8TPI | 0.874 | 22.2 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 91.19 ACME 8TPI | 0.909 | 23.1 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | 119.25 ACME 6TPI | 1.031 | 26.2 |

# DIN 11851 UNIONS	TUBE OD FITTIINGS

DIN-14

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | 0.354/0.394 | 9/10 | 0.472/0.512 | 12/13 | 0.874 | 22.2 | 0.669 | 17 |
| 15 | 0.591/0.630 | 15/16 | 0.709/0.748 | 18/19 | 1.110 | 28.2 | 0.669 | 17 |
| 20 | 0.748/0.787 | 19/20 | 0.866/0.906 | 22/23 | 1.429 | 36.3 | 0.709 | 18 |
| 25 | 0.984/1.024 | 25/26 | 1.102/1.142 | 28/29 | 1.732 | 44 | 0.866 | 22 |
| 32 | 1.220/1.260 | 31/32 | 1.339/1.378 | 34/35 | 1.969 | 50 | 0.984 | 25 |
| 40 | 1.457/1.496 | 37/38 | 1.575/1.614 | 40/41 | 2.205 | 56 | 1.024 | 26 |
| 50 | 1.929/1.969 | 49/50 | 2.047/2.078 | 52/53 | 2.677 | 68 | 1.102 | 28 |
| 65 | 2.598 | 66 | 2.756 | 70 | 3.386 | 86 | 1.260 | 32 |
| 80 | 3.189 | 81 | 3.346 | 85 | 3.937 | 100 | 1.457 | 37 |
| 100 | 3.937 | 100 | 4.094 | 104 | 4.764 | 121 | 1.732 | 44 |

ØC

WELDING LINER

DIN-15

| WELDING MALE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SIZE | øA in. mm |  | øB in. mm |  | C | L in. mm |  |
| 10 | 0.354/0.394 | 9/10 | 0.472/0.512 | 12/13 | RD 28X1/8 | 0.827 | 21 |
| 15 | 0.591/0.630 | 15/16 | 0.709/0.748 | 18/19 | RD 34X1/8 | 0.827 | 21 |
| 20 | 0.748/0.787 | 19/20 | 0.866/0.906 | 22/23 | RD 44X1/6 | 0.945 | 24 |
| 25 | 0.984/1.024 | 25/26 | 1.102/1.142 | 28/29 | RD 52X1/6 | 1.142 | 29 |
| 32 | 1.220/1.260 | 31/32 | 1.339/1.378 | 34/35 | RD 58X1/6 | 1.260 | 32 |
| 40 | 1.457/1.496 | 37/38 | 1.575/1.614 | 40/41 | RD 65X1/6 | 1.299 | 33 |
| 50 | 1.929/1.969 | 49/50 | 2.047/2.078 | 52/53 | RD 78X1/6 | 1.378 | 35 |
| 65 | 2.598 | 66 | 2.756 | 70 | RD 95X1/6 | 1.575 | 40 |
| 80 | 3.189 | 81 | 3.346 | 85 | RD 110X1/4 | 1.772 | 45 |
| 100 | 3.937 | 100 | 4.094 | 104 | RD 130X1/4 | 2.126 | 54 |

DIN-14l

ØC

ØA

ØB

WELDING LINER

14VB STUB END

| SIZE | øA in. mm |  | øB in. mm |  | T in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.000 | 25.4 | 2.000 | 50.8 | 0.065 | 1.65 | 1.626 | 41.3 |
| 11/2" | 1.500 | 38.1 | 2.874 | 73 | 0.065 | 1.65 | 1.626 | 44.5 |
| 2" | 2.000 | 50.8 | 3.626 | 92.1 | 0.065 | 1.65 | 1.626 | 38.1 |
| 21/2" | 2.500 | 63.5 | 4.126 | 104.8 | 0.065 | 1.65 | 2.000 | 50.8 |
| 3" | 3.000 | 76.2 | 5.000 | 127 | 0.065 | 1.65 | 2.252 | 57.2 |
| 4" | 4.000 | 101.6 | 6.189 | 157.2 | 0.083 | 2.1 | 2.626 | 66.7 |
| 6" | 6.000 | 152.4 | 8.500 | 215.9 | 0.109 | 2.77 | 3.000 | 76.2 |

L

L

ØA

T

ØB

ØA

ØA

ØB

L

| SIZE | øD in. mm |  | T in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.065 | 1.65 | 0.252 | 6.4 |
| 3/4" | 0.750 | 19.05 | 0.065 | 1.65 | 0.311 | 7.9 |
| 1" | 1.000 | 25.4 | 0.065 | 1.65 | 0.752 | 19.1 |
| 11/2" | 1.500 | 38.1 | 0.065 | 1.65 | 0.559 | 14.2 |
| 2" | 2.000 | 50.8 | 0.065 | 1.65 | 0.752 | 19.1 |
| 21/2" | 2.500 | 63.5 | 0.065 | 1.65 | 1.000 | 25.4 |
| 3" | 3.000 | 76.2 | 0.065 | 1.65 | 1.252 | 31.8 |
| 4" | 4.000 | 101.6 | 0.083 | 2.1 | 1.500 | 38.1 |
| 6" | 6.000 | 152.4 | 0.109 | 2.77 | 2.252 | 57.2 |

16W CAP

ØB

ØA

L

T

L

L

ØB

ØA

NPT

| SIZE | øA in. mm |  | øB in. mm |  | L in. mm |  | NPT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.500 | 12.7 | 1.626 | 41.3 | 1/2"-14T |
| 3/4" | 0.620 | 15.75 | 0.750 | 19.05 | 1.626 | 41.3 | 3/4"-14T |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 1.752 | 44.5 | 1"-11.5T |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 1.752 | 44.5 | 1.5"-11.5T |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 1.811 | 46 | 2"-11.5T |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 2.311 | 58.7 | 2.5"-8T |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 2.500 | 63.5 | 3"-8T |
| 4" | 3.835 | 97.4 | 4.000 | 101.6 | 2.563 | 65.1 | 4"-8T |
| 6" | 5.783 | 146.9 | 6.000 | 152.4 | 3.000 | 76.2 | 6"-8T |

B19W

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.500 | 12.7 | 0.866 | 22 | 0.669 | 17 |
| 3/4" | 0.620 | 15.75 | 0.750 | 19.05 | 1.417 | 36 | 0.709 | 18 |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 1.732 | 44 | 0.866 | 22 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 2.205 | 56 | 1.024 | 26 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 2.677 | 68 | 1.102 | 28 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 3.386 | 86 | 1.260 | 32 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 3.937 | 100 | 1.457 | 37 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | 4.764 | 121 | 1.732 | 44 |

C

DIN-15l

L

C

ØA

ØB

| SIZE | øA in. mm |  | øB in. mm |  | C | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.500 | 12.7 | RD28*1/8 | 0.827 | 21 |
| 3/4" | 0.620 | 15.75 | 0.750 | 19.05 | RD44*1/6 | 0.945 | 24 |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | RD52*1/6 | 1.142 | 29 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | RD65*1/6 | 1.299 | 33 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | RD78*1/6 | 1.378 | 35 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | RD95*1/6 | 1.575 | 40 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | RD110*1/4 | 1.772 | 45 |
| 4" | 3.843 | 97.6 | 4.000 | 101.6 | RD130*1/4 | 2.126 | 54 |

WELDING MALE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.063 | 27 | 3.126 | 79.4 | 4.252 | 108 | 0.157 - 0.626 | 4-15.9 | 0.374 | 9.5 |
| 11/2" | 1.563 | 39.7 | 3.874 | 98.4 | 5.000 | 127 | 0.157 - 0.626 | 4-15.9 | 0.374 | 9.5 |
| 2" | 2.063 | 52.4 | 4.752 | 120.7 | 6.000 | 152.4 | 0.157 - 0.750 | 4-19.05 | 0.437 | 11.1 |
| 21/2" | 2.563 | 65.1 | 5.500 | 139.7 | 7.000 | 177.8 | 0.157 - 0.750 | 4-19.05 | 0.437 | 11.1 |
| 3" | 3.063 | 77.8 | 6.000 | 152.4 | 7.500 | 190.5 | 0.157 - 0.750 | 4-19.05 | 0.500 | 12.7 |
| 4" | 4.063 | 103.2 | 7.500 | 190.5 | 9.000 | 228.6 | 0.315 - 0.750 | 8-19.05 | 0.500 | 12.7 |
| 6" | 6.063 | 154 | 9.500 | 241.3 | 11.000 | 279.4 | 0.315 - 0.874 | 8-22.2 | 0.563 | 14.3 |

|  |  | ØC |
| --- | --- | --- |
|  | ØB |  |
| L |  |  |

BACK-UP FLANGE

# I-LINE SECTION

14WI

L

ØD

ØC

ØA

ØB

SHORT  FERRULE MALE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.010 | 25.65 | 1.240 | 31.5 | 1.995 | 50.67 | 0.781 | 19.84 |
| 11/2" | 1.370 | 34.8 | 1.510 | 38.35 | 1.740 | 44.2 | 1.995 | 50.67 | 0.937 | 23.8 |
| 2" | 1.870 | 47.5 | 2.010 | 51.05 | 2.240 | 56.9 | 2.640 | 67.05 | 1.031 | 26.19 |
| 21/2" | 2.370 | 60.2 | 2.510 | 63.75 | 2.740 | 69.6 | 3.307 | 84 | 1.156 | 29.36 |
| 3" | 2.870 | 72.89 | 3.010 | 76.45 | 3.300 | 83.82 | 3.870 | 98.3 | 1.218 | 30.94 |
| 4" | 3.834 | 97.38 | 4.010 | 101.85 | 4.297 | 109.14 | 4.870 | 123.7 | 1.343 | 34.11 |

15WI

L

ØD

ØC

ØA

ØB

SHORT  FERRULE FEMALE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.010 | 25.65 | 1.255 | 31.88 | 1.995 | 50.67 | 0.781 | 19.84 |
| 11/2" | 1.370 | 34.8 | 1.510 | 38.35 | 1.755 | 44.58 | 1.995 | 50.67 | 0.937 | 23.8 |
| 2" | 1.870 | 47.5 | 2.010 | 51.05 | 2.255 | 57.28 | 2.640 | 67.05 | 1.031 | 26.19 |
| 21/2" | 2.370 | 60.2 | 2.510 | 63.75 | 2.755 | 69.98 | 3.307 | 84 | 1.156 | 29.36 |
| 3" | 2.870 | 72.89 | 3.010 | 76.45 | 3.315 | 84.2 | 3.870 | 98.3 | 1.218 | 30.94 |
| 4" | 3.834 | 97.38 | 4.010 | 101.85 | 4.315 | 109.6 | 4.870 | 123.7 | 1.343 | 34.11 |

14WLI

L

ØD

ØC

ØA

ØB

LONG FERRULE MALE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.010 | 25.65 | 1.240 | 31.5 | 1.995 | 50.67 | 1.563 | 39.7 |
| 11/2" | 1.370 | 34.8 | 1.510 | 38.35 | 1.740 | 44.2 | 1.995 | 50.67 | 1.843 | 46.8 |
| 2" | 1.870 | 47.5 | 2.010 | 51.05 | 2.240 | 56.9 | 2.640 | 67.05 | 2.063 | 52.4 |
| 21/2" | 2.370 | 60.2 | 2.510 | 63.75 | 2.740 | 69.6 | 3.307 | 84 | 2.189 | 55.6 |
| 3" | 2.870 | 72.89 | 3.010 | 76.45 | 3.300 | 83.82 | 3.870 | 98.3 | 2.374 | 60.3 |
| 4" | 3.834 | 97.38 | 4.010 | 101.85 | 4.297 | 109.14 | 4.870 | 123.7 | 2.689 | 68.3 |

15WLI

L

ØD

ØC

ØA

ØB

LONG FERRULE FEMALE

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.010 | 25.65 | 1.255 | 31.88 | 1.995 | 50.67 | 1.752 | 44.5 |
| 11/2" | 1.370 | 34.8 | 1.510 | 38.35 | 1.755 | 44.58 | 1.995 | 50.67 | 2.031 | 51.6 |
| 2" | 1.870 | 47.5 | 2.010 | 51.05 | 2.255 | 57.28 | 2.640 | 67.05 | 2.311 | 58.7 |
| 21/2" | 2.370 | 60.2 | 2.510 | 63.75 | 2.755 | 69.98 | 3.307 | 84 | 2.500 | 63.5 |
| 3" | 2.870 | 72.89 | 3.010 | 76.45 | 3.315 | 84.2 | 3.870 | 98.3 | 2.689 | 68.3 |
| 4" | 3.834 | 97.38 | 4.010 | 101.85 | 4.315 | 109.6 | 4.870 | 123.7 | 3.000 | 76.2 |

26

25

# I-LINE SECTION

ØA

ØB

| SIZE | øA in. mm |  | øB in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.255 | 31.88 | 1.995 | 50.67 | 0.502 | 12.75 |
| 11/2" | 1.755 | 44.58 | 1.995 | 50.67 | 0.502 | 12.75 |
| 2" | 2.255 | 57.28 | 2.640 | 67.05 | 0.695 | 17.66 |
| 21/2" | 2.755 | 69.98 | 3.307 | 84 | 0.739 | 18.77 |
| 3" | 3.315 | 84.2 | 3.870 | 98.3 | 0.763 | 19.37 |
| 4" | 4.315 | 109.6 | 4.870 | 123.7 | 0.763 | 19.37 |

16AI-15I FEMALE I-LINE END CAP

L

ØA

ØB

| SIZE | øA in. mm |  | øB in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1" | 1.240 | 31.5 | 1.995 | 50.67 | 0.487 | 12.37 |
| 11/2" | 1.740 | 44.2 | 1.995 | 50.67 | 0.487 | 12.37 |
| 2" | 2.240 | 56.9 | 2.640 | 67.05 | 0.556 | 14.11 |
| 21/2" | 2.740 | 69.6 | 3.307 | 84 | 0.737 | 18.72 |
| 3" | 3.300 | 83.82 | 3.870 | 98.3 | 0.761 | 19.32 |
| 4" | 4.297 | 109.14 | 4.870 | 123.7 | 0.761 | 19.32 |

16AI-14I MALE I-LINE END CAP

L

13IU

ØB

BOLTED I-LINE CLAMP

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1"~1/2" | 1.772 | 45 | 2.165 | 55 |
| 2" | 2.480 | 63 | 2.874 | 73 |
| 2 1/2" | 2.913 | 74 | 3.504 | 89 |
| 3" | 3.465 | 88 | 4.016 | 102 |
| 4" | 4.370 | 111 | 5.039 | 128 |

13IS

ØB

I-LINE CLAMP

| SIZE | øA in. mm |  | øB in. mm |  |
| --- | --- | --- | --- | --- |
| 1"~1/2" | 2.102 | 53.4 | 3.299 | 83.8 |
| 2" | 2.843 | 72.2 | 4.370 | 111 |
| 2 1/2" | 3.469 | 88.1 | 4.780 | 121.4 |
| 3" | 4.031 | 102.4 | 5.358 | 136.1 |
| 4" | 5.031 | 127.8 | 6.378 | 162 |
| 6" | 7.689 | 195.3 | 9.531 | 242.1 |

27	28

# CHECK VALVE 3A	SIGHT GLASS

| SIZE | øA in. mm |  | øB in. mm |  | C in. mm |  | D in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.500 | 12.7 | 0.945 | 24 | 1.339 | 34 |
| 3/4" | 0.620 | 15.75 | 0.750 | 19.05 | 0.945 | 24 | 1.339 | 34 |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 1.339 | 34 | 1.890 | 48 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 1.417 | 36 | 1.890 | 48 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 1.417 | 36 | 1.890 | 48 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 1.417 | 36 | 1.890 | 48 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 1.417 | 36 | 1.890 | 48 |
| 4" | 3.835 | 97.4 | 4.000 | 101.6 | 1.850 | 47 | 2.126 | 54 |

D

C

ØA

ØB

CHECK VALVE  MIDDLE CLAMP/WELD END

D

C

ØA

ØB

CHECK VALVE  MIDDLE CLAMP/CLAMP END

| SIZE | øA in. mm |  | øB in. mm |  | C in. mm |  | D in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.992 | 25.2 | 1.122 | 28.5 | 1.555 | 39.5 |
| 3/4" | 0.620 | 15.75 | 0.992 | 25.2 | 1.122 | 28.5 | 1.555 | 39.5 |
| 1" | 0.870 | 22.1 | 1.988 | 50.5 | 1.339 | 34 | 1.890 | 48 |
| 11/2" | 1.370 | 34.8 | 1.988 | 50.5 | 1.417 | 36 | 1.890 | 48 |
| 2" | 1.870 | 47.5 | 2.520 | 64 | 1.417 | 36 | 1.890 | 48 |
| 21/2" | 2.370 | 60.2 | 3.051 | 77.5 | 1.417 | 36 | 1.890 | 48 |
| 3" | 2.870 | 72.9 | 3.583 | 91 | 1.417 | 36 | 1.890 | 48 |
| 4" | 3.835 | 97.4 | 4.685 | 119 | 1.850 | 47 | 2.126 | 54 |

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | Long Body | 1 | St.St 304、316、316L |
| 2 | Short Body | 1 | St.St 304、316、316L |
| 3 | Disc | 1 | St.St 316 |
| 4 | Body Seal | 2 | EPDM/Silicone/Viton |
| 5 | Seal-Ring | 1 | EPDM/Silicone/Viton |
| 6 | Flow Suport Plate | 1 | St.St 316 |
| 7 | St.St Spring | 1 | St.St 316 |
| 8 | St.St Screw | 4 | St.St 304 |

Parts list

WELD END

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | øE in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.500 | 12.7 | 1.850 | 47 | 0.402 | 10.2 | 0.591 | 15 | 4.173 | 106 |
| 3/4" | 0.620 | 15.75 | 0.750 | 19.05 | 1.850 | 47 | 0.669 | 17 | 0.866 | 22 | 4.173 | 106 |
| 1" | 0.870 | 22.1 | 1.000 | 25.4 | 3.110 | 79 | 1.024 | 26 | 1.260 | 32 | 5.827 | 148 |
| 11/2" | 1.370 | 34.8 | 1.500 | 38.1 | 3.346 | 85 | 1.339 | 34 | 1.575 | 40 | 6.142 | 156 |
| 2" | 1.870 | 47.5 | 2.000 | 50.8 | 4.134 | 105 | 1.969 | 50 | 2.362 | 60 | 6.299 | 160 |
| 21/2" | 2.370 | 60.2 | 2.500 | 63.5 | 4.409 | 112 | 2.559 | 65 | 2.953 | 75 | 6.299 | 160 |
| 3" | 2.870 | 72.9 | 3.000 | 76.2 | 4.921 | 125 | 2.969 | 75.4 | 3.346 | 85 | 6.378 | 162 |
| 4" | 3.835 | 97.4 | 4.000 | 101.6 | 6.181 | 157 | 3.937 | 100 | 4.331 | 110 | 6.575 | 167 |

90

80

L

90

80

L

ØC

ØC

ØE

ØE

ØD

ØD

ØA

ØB

ØA

ØB

CLAMP END

| SIZE | øA in. mm |  | øB in. mm |  | øC in. mm |  | øD in. mm |  | øE in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 0.870 | 22.1 | 1.988 | 50.5 | 3.110 | 79 | 1.024 | 26 | 1.260 | 32 | 5.630 | 143 |
| 11/2" | 1.370 | 34.8 | 1.988 | 50.5 | 3.346 | 85 | 1.339 | 34 | 1.575 | 40 | 5.748 | 146 |
| 2" | 1.870 | 47.5 | 2.520 | 64 | 4.134 | 105 | 1.969 | 50 | 2.362 | 60 | 5.906 | 150 |
| 21/2" | 2.370 | 60.2 | 3.051 | 77.5 | 4.409 | 112 | 2.559 | 65 | 2.953 | 75 | 5.906 | 150 |
| 3" | 2.870 | 72.9 | 3.583 | 91 | 4.921 | 125 | 2.969 | 75.4 | 3.346 | 85 | 6.142 | 156 |
| 4" | 3.835 | 97.4 | 4.685 | 119 | 6.181 | 157 | 3.937 | 100 | 4.331 | 110 | 6.142 | 156 |

5

5

4

4

5

5

5

5

5

1

2

3

4

4

2

1

5

Parts list

1

5

3

7

4

6

4

2

8

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | Body-weld | 2 | St.St 304/316(L) |
| 2 | Seal | 2 | TEFLON/EPDM |
| 3 | High press clean glass | 1 | Borosilicate glass |
| 4 | Screw blot | 4 | St.St304 |
| 5 | Nylon lock nut | 8 | St.St304 |

# PNEUMATIC ACTUATOR	BUTTERFLY VALVE W/12 POSITION GRIP HANDLE

PULL HANDLE 4 POSITION-P4	GRIPPER HANDLE 12 POSITION-G12

C3	Assembly valve way

174

11

17

12

22

3	16

31

20 19	20

19

15

18

143

ØE

L

ØA

ØB

D D

167

※PULL HANDLE AVAILABLE UPON REQUEST

18	4

WELD BUTTERFLY VALVE

## C101

Ø120

Ø120

Ø104

8

8  8

189

1

2

189

21

14

13

10

5

8 8

8	9

9

9	9	9	6	6	7

SIZE

1/2"

3/4"

1"

11/2"

2"

21/2"

3"

4"

6"

in.

0.370

0.620

0.870

1.370

1.870

2.370

2.870

3.835

5.782

øA

mm

9.4

15.75

22.1

34.8

47.5

60.2

72.9

97.4

146.86

in.

0.500

0.750

1.000

1.500

2.000

2.500

3.000

4.000

6.000

øB	mm

12.7

19.05

25.4

38.1

50.8

63.5

76.2

101.6

152.4

in.	D	mm

1.339	34

1.339	34

1.339	34

1.496	38

1.575	40

1.575	40

1.614	41

1.732	44

2.244	57

in.	øE

3.110

3.110

3.110

3.346

4.134

4.409

4.921

6.181

8.425

mm

79

79

79

85

105

112

125

157

214

in.

2.402

2.402

2.402

2.531

2.925

3.055

3.339

4.004

5.469

L

mm

61

61

61

64.3

74.3

77.6

84.8

101.7

138.9

L

31

31

Parts list

ØE

ØA ØB

| Item | Parts name | Q'TY | Material | Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | St.St cylinder | 1 | St.St 304 | 12 | Coupling axle piece | 1 | St.St 304 |
| 2 | St.St cylinder cap | 1 | St.St 304 | 13 | Contact seal | 1 | St.St 304 |
| 3 | Piston stem | 1 | Tenac 4010/SH410 | 14 | Circlip | 1 | St.St 304 |
|  |  |  |  | 15 | Mounting bracket | 1 | St.St 304 |
| 4 | Lock wire clip | 1 | St.St 304 | 16 | Connection piece | 1 | St.St 304 |
| 5 | Lower cylinder end | 1 | St.St 304 | 17 | Assembly valve way | 1 | St.St 304/316(L) |
| 6 | Piston guide part | 2 | St.St 304 |  |  |  |  |
| 7 | Piston guide part | 1 | St.St 304 | 18 | M8x12 ST.ST screw | 2 | St.St 304 |
| 8 | Compress spring | 6 | St.St 304 | 19 | M6 Nut | 2 | St.St 304 |
| 9 | Piston guide part | 5 | St.St 304 | 20 | M6x35 ST.ST screw | 2 | St.St 304 |
| 10 | Piston axle O-ring | 1 | Teﬂon | 21 | Air connection | 1 | Copper |
| 11 | Teﬂon gasket | 1 | Teﬂon | 22 | Positioning index | 1 | St.St 304 |

D	D

CLAMP BUTTERFLY VALVE

| SIZE | øA in. mm |  | in. øB mm |  | in. D mm |  | in. øE mm |  | L in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 | 9.4 | 0.992 | 25.2 | 1.339 | 34 | 3.110 | 79 | 2.402 | 61 |
| 3/4" | 0.620 | 15.75 | 0.992 | 25.2 | 1.339 | 34 | 3.110 | 79 | 2.402 | 61 |
| 1" | 0.870 | 22.1 | 1.988 | 50.5 | 1.299 | 33 | 3.110 | 79 | 2.402 | 61 |
| 11/2" | 1.370 | 34.8 | 1.988 | 50.5 | 1.299 | 33 | 3.346 | 85 | 2.531 | 64.3 |
| 2" | 1.870 | 47.5 | 2.520 | 64.0 | 1.378 | 35 | 4.134 | 105 | 2.925 | 74.3 |
| 21/2" | 2.370 | 60.2 | 3.051 | 77.5 | 1.378 | 35 | 4.409 | 112 | 3.055 | 77.6 |
| 3" | 2.870 | 72.9 | 3.583 | 91.0 | 1.496 | 38 | 4.921 | 125 | 3.339 | 84.8 |
| 4" | 3.835 | 97.4 | 4.685 | 119.0 | 1.496 | 38 | 6.181 | 157 | 4.004 | 101.7 |
| 6" | 5.782 | 146.86 | 6.567 | 166.8 | 2.244 | 57 | 8.386 | 213 | 5.469 | 138.9 |

# BUTTERFLY VALVE W/12 POSITION GRIP HANDLE	CONTROL BOX

19

10

11

20

5

7

8

2

9

1

3

4.1

4.2

6

17

14

15

12

18

13

Ø104

16

C3 type

| Parts list |  |  |  |
| --- | --- | --- | --- |
| Item | Parts name | Q'TY | Material |
| 1 | BODY | 2 | St.St 304、316、316L |
| 2 | DISC | 1 | St.St 304、316、316L |
| 3 | EPDM RUBBER SEAT | 1 | EPDM |
| 4 | COVER | 1 | EPDM |
| 5 | SCREW BOLT | 4 | St.St 304 |

5

1

4

2

3

1

5

5

3

2

6

4

1

127

Parts list

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | Hex socket screw | 1 | St.St 304 |
| 2 | Hub | 1 | St.St 304 |
| 3 | Spring | 1 | St.St 304 |
| 4 | Locking bushing | 1 | St.St 304 |
| 5 | Locking rod | 1 | St.St 304 |
| 6 | Button | 1 | Button |

4

1

5

7

6

3

2

Parts list

##### CONTROL BOX CONSTRUCTION ASSEMBLY DRAWING & ITEMS LIST

Parts list

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | Cover | 1 | St.St 304 |
| 2 | LED Light | 1 |  |
| 3 | Switch bracket | 1 | St.St 304 |
| 4.1 | Proximity sensor | 2 | 3A 125VAC. 30VDC |
| 4.2 | Micro switch | 2 | 3A 125VAC. 30VDC |
| 5 | Electrovalve | 1 | DC24 3.0W AC110V AC220V |
| 6 | E/N connect piece | 1 | St.St 304 |
| 7 | Air connection | 1 | Cu |
| 8 | Air manifold | 1 | P.O.M St.St 304 |
| 9 | House | 1 | P.C |
| 10 | Light screen | 1 | PC |
| 11 | Spring | 1 | St.St 304 |
| 12 | Sensor pin | 1 | St.St 304 |
| 13 | Plate | 1 | St.St 304 |
| 14 | O-Ring | 1 | NBR |
| 15 | O-Ring | 1 | NBR |
| 16 | Adapter (3/8" NPT) | 1 | St.St 304 |
| 17 | O-Ring | 1 | NBR |
| 18 | Set screw | 3 | St.St 304 |
| 19 | Top cover | 1 | St.St 304 |
| 20 | PCB board | 6 |  |

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | Body | 1 | St.St 304 |
| 2 | Sprocket | 1 | St.St 304 |
| 3 | Metall-inlay | 1 | St.St 304 |
| 4 | Screw | 1 | St.St 304 |
| 5 | PIN | 1 | St.St 304 |
| 6 | Spring | 1 | St.St 304 |
| 7 | Trigger | 1 | St.St 304 |

# PNEUMATIC DIVERT VALVE

F type construction assembly drawing & items list

PNEUMATIC DIVERT VALVE

| Parts list |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Parts name | Q'TY | Material | Item | Parts name | Q'TY | Material | Item | Parts name | Q'TY | Material |
| 1 | Piston | 1 | St.St 304 | 10 | Valve body-lower | 1 | St.St 316 | 19 | X-ring | 1 | NBR |
| 2 | Cylinder | 1 | St.St 304 | 11 | Valve body-upper | 1 | St.St 316 | 20 | Clamp | 4 | St.St 304 |
| 3 | Spring assembly | 1 | St.St 304 | 12 | Middle piece | 1 | St.St 316 | 21 | M6 screws | 4 | St.St 304 |
| 4 | Air connect | 1 | Coupler | 13 | Lip seal-EPDM | 1 | 304/EPDM | 22 | Valve body se-al ring | 1 | EPDM |
| 5 | Air connect | 1 | Coupler | 14 | Clip complete | 1 | St.St 304 |  |  |  |  |
| 6 | Screws | 1 | St.St. 316 | 15 | Seal ring lower | 2 | EPDM | 23 | O-ring | 1 | NBR |
| 7 | O-ring | 1 | Rubber,NBR | 16 | Lock wire clip | 1 | St.St 304 | 24 | O-ring | 1 | NBR |
| 8 | Stem | 1 | St.St 316 | 17 | Bracket | 1 | St.St 304 | 25 | O-ring | 1 | NBR |
| 9 | Washer | 1 | St.St 316 | 18 | Stop ring | 1 | Tecﬂo |  |  |  |  |

2	16	3

4

23

19	1

18	14

25 24

17	5

13	21 20

20 21

| SIZE | in. 1" mm |  | 11/2" in. mm |  | in. 2" mm |  | 21/2" in. mm |  | in. 3" mm |  | in. 4" mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ØA | 0.870 | 22.1 | 1.370 | 34.8 | 1.870 | 47.5 | 2.370 | 60.2 | 2.870 | 72.9 | 3.835 | 97.4 |
| ØB | 1.000 | 25.4 | 1.500 | 38.1 | 2.000 | 50.8 | 2.500 | 63.5 | 3.000 | 76.2 | 4.000 | 101.6 |
| C | 2.232 | 56.7 | 3.150 | 80 | 3.638 | 92.4 | 4.724 | 120 | 5.039 | 128 | 5.937 | 150.8 |
| C1 | 2.303 | 58.5 | 3.197 | 81.2 | 3.374 | 85.7 | 4.059 | 103.1 | 4.583 | 116.4 | 4.500 | 114.3 |
| C2 | 1.992 | 50.6 | 2.402 | 61 | 2.575 | 65.4 | 2.839 | 72.1 | 3.138 | 79.7 | 4.500 | 114.3 |
| C3 | 3.205 | 81.4 |  |  |  |  |  |  |  |  |  |  |
| W | 2.000 | 59.9 | 2.697 | 68.5 | 2.874 | 73 | 3.559 | 90.4 | 4.083 | 103.7 | 3.878 | 98.5 |
| W1 | 2.000 | 52 | 2.260 | 57.4 | 2.630 | 66.8 | 3.130 | 79.5 | 3.783 | 96.1 | 3.878 | 98.5 |
| ØD | 2.362 | 60 | 3.346 | 85 | 3.346 | 85 | 5.236 | 133 | 5.236 | 133 | 5.236 | 133 |
| L | 6.047 | 153.6 | 11.417 | 290 | 11.665 | 296.3 | 14.402 | 365.8 | 14.524 | 368.9 | 25.421 | 645.7 |
| L1 | 0.669 | 17 | 0.984 | 25 | 0.984 | 25 | 1.260 | 32 | 1.417 | 36 | 1.496 | 38 |
| Y | 3.783 | 96.1 | 5.602 | 142.3 | 6.638 | 168.6 | 8.331 | 211.6 | 9.634 | 244.7 | 11.933 | 303.1 |
| Y1 | 4.783 | 121.5 | 6.602 | 167.7 | 7.638 | 194 | 9.331 | 237 | 10.634 | 270.1 | 13.177 | 334.7 |

| L | T | Y | F |
| --- | --- | --- | --- |
| L/L | T/L | L/T | T/T |

Type : L , T , Y and L/L , T/L , L/T , T/T

11	8

15	12	15	9	7	6

21 20

20 21

22	10

Max. ﬂow tube pressure without leakage valve seat.

If over table Max. pressure suggestion add proof Max. valve

Actuator type / function:

10. SA. Pneumatic downward movement, spring return  (NO-lower seat)	ØD

20. AS. Pneumatic upward movement, spring return (NC-lower seat)

L1

30. AA. Pneumatic upward and downward movement (A/A)

L

| Actuator/Valve Body combination and direction of pressure NO : Normal open NC : Normal close A/A : Air/Air double action Stop and change-over valves- Max. pressure without leakage at the valve seat = Max. air input pressure as 8 bar = Tube-Line ﬂow Pressure |  | Spring closes | Air Air closes |  | Air Air closes | Spring closes | Air Air closes |  | Air Air closes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air pressure (bar) Actuator Type/Function |  | 10 (NO) | 5 10 | 8 (NO) | 5 20 (NC) | 20 (NC) | 5 30 | 8 30 | 5 30 | 6 30 |
| Valve size (Max. Pressure) | 1" | 9.5 | 10 | 10 | 9.5 | 10 | 10 | 10 | 10 | 10 |
|  | 11/ 2" | 4.5 | 7.0 | 10 | 4.5 | 7.0 | 9.0 | 10 | 10 | 10 |
|  | 2" | 4.5 | 4.0 | 5.0 | 4.5 | 4.0 | 9.0 | 10 | 9.0 | 10 |
|  | 2 1/ 2" | 3.0 | 3.0 | 4.0 | 3.0 | 2.5 | 8.0 | 9.0 | 6.0 | 7.0 |
|  | 3" | 5.0 | 4.0 | 6.0 | 4.5 | 5.0 | 10 | 10 | 10 | 10 |

Y

Y1

Y Type

ØB ØA

C

ØB ØA

C

C1

W1

C2

W1

C2

W	W

C3	C1

SIZE:1.0"	SIZE:1.5"~4.0"

BALL VALVE

BALL VALVE

| SIZE |  | 1/2" DN15 | 3/4" DN20 | 1" DN25 | 11/2" DN40 | 2" DN50 | 21/ 2" DN65 | 3" DN80 | 4" DN100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ISO-5211 |  | F03 | F03 | F04 | F05 | F05 | F07 | F07 | F10 |
| C | in. mm | 2.165 | 2.362 | 2.717 | 3.307 | 3.622 | 4.922 | 5.354 | 6.252 |
|  |  | 55 | 60 | 69 | 84 | 92 | 126.8 | 136 | 158.8 |
| L | in. mm | 3.504 | 3.976 | 4.488 | 5.512 | 6.142 | 7.756 | 9.016 | 9.555 |
|  |  | 89 | 101 | 114 | 140 | 156 | 197 | 229 | 242.7 |
| W | in. mm | 5.197 | 5.177 | 6.496 | 7.650 | 7.650 | 9.921 | 9.921 | 13.071 |
|  |  | 132 | 131.5 | 165 | 194.3 | 194.3 | 252 | 252 | 332 |
| ød | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.870 | 2.370 | 2.870 | 3.835 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 47.5 | 60.2 | 72.9 | 97.4 |
| øD | in. mm | 0.984 | 0.984 | 1.984 | 1.984 | 2.516 | 3.047 | 3.579 | 4.681 |
|  |  | 25 | 25 | 50.4 | 50.4 | 63.9 | 77.4 | 90.9 | 118.9 |
| øD1 | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 | 2.500 | 3.000 | 4.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 | 63.5 | 76.2 | 101.6 |
| R | in. mm | 0.197 | 0.197 | 0.256 | 0.335 | 0.335 | 0.472 | 0.472 | 0.630 |
|  |  | 5 | 5 | 6.5 | 8.5 | 8.5 | 12 | 12 | 16 |
| L1 | in. mm | 1.289 | 1.437 | 1.575 | 1.713 | 1.801 | 2.205 | 2.539 | 2.386 |
|  |  | 32.75 | 36.5 | 40 | 43.5 | 45.75 | 56 | 64.5 | 60.6 |

2WAY SPECIFICATIONS FOR CLAMP & WELD END

D

D

R

F	 H

K	 F	 H	K

ØA ØB

ØA ØC

C	B

L		L

E

G

C

Bracket

DIN 3337

ISO 5211

W

Ød ØD,D1

HIGH MOUNT PLATE DESIGN	LOW MOUNT PLATE DESIGN

ØD

Ød

3WAY SPECIFICATIONS FOR CLAMP & WELD END

L

DIN 3337

ISO 5211

| SIZE |  | 1/2" C-125 | 3/4" C-125 | 1" C-250 | 11/2" C-450 | 2" C-1000 | 11/2" C-1000 | 3" C-2250 | 4" C-2250 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ISO-5211 |  | F03/F04 | F03/F04 | F04/F05 | F05/F07 | F05/F07 | F07/F10 | F07/F10 | F10/F12 |
| INCH/LBS TORQUE | in. mm | 3.543 | 3.937 | 5.512 | 9.449 | 18.898 | 25.591 | 45.276 | 55.118 |
|  |  | 90 | 100 | 140 | 240 | 480 | 650 | 1150 | 1400 |
| øA | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.909 | 2.370 | 2.870 | 3.835 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 48.5 | 60.2 | 72.9 | 97.4 |
| øB | in. mm | 0.984 | 0.984 | 1.984 | 1.984 | 2.516 | 3.047 | 3.579 | 4.681 |
|  |  | 25 | 25 | 50.4 | 50.4 | 63.9 | 77.4 | 90.9 | 118.9 |
| C | in. mm | 1.457 | 1.457 | 1.654 | 1.969 | 1.969 | 2.835 | 2.835 | 3.740 |
|  |  | 37 | 37 | 42 | 50 | 50 | 72 | 72 | 95 |
| D | in. mm | 0.787 | 0.787 | 0.787 | 0.787 | 0.787 | 0.787 | 0.787 | 1.181 |
|  |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 30 |
| E | in. mm | 1.457 | 1.850 | 2.252 | 3.079 | 3.394 | 4.299 | 4.634 | 5.559 |
|  |  | 37 | 47 | 57.2 | 78.2 | 86.2 | 109.2 | 117.7 | 141.2 |
| F | in. mm | 1.122 | 1.122 | 1.323 | 1.713 | 2.146 | 2.146 | 2.559 | 2.559 |
|  |  | 28.5 | 28.5 | 33.6 | 43.5 | 54.5 | 54.5 | 65 | 65 |
| G | in. mm | 4.764 | 5.157 | 6.150 | 7.724 | 8.945 | 9.850 | 10.972 | 11.898 |
|  |  | 121 | 131 | 156.2 | 196.2 | 227.2 | 250.2 | 278.7 | 302.2 |
| H | in. mm | 1.327 | 1.327 | 1.882 | 2.028 | 2.539 | 2.539 | 2.972 | 2.972 |
|  |  | 33.7 | 33.7 | 47.8 | 51.5 | 64.5 | 64.5 | 75.5 | 75.5 |
| K | in. mm | 4.724 | 4.724 | 5.681 | 5.874 | 7.205 | 7.205 | 10.220 | 10.220 |
|  |  | 120 | 120 | 144.3 | 149.2 | 183 | 183 | 259.6 | 259.6 |
| L | in. mm | 3.504 | 3.976 | 4.488 | 5.512 | 6.142 | 7.756 | 9.016 | 9.488 |
|  |  | 89 | 101 | 114 | 140 | 156 | 197 | 229 | 241 |

| SIZE |  | 1/2" DN15 | 3/4" DN20 | 1" DN25 | 11/2" DN40 | 2" DN50 | 21/ 2" DN65 | 3" DN80 | 4" DN100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ISO-5211 |  | F03 | F03 | F04 | F05 | F05 | F07 | F10 | F10 |
| ød | in. mm | 0.374 | 0.622 | 0.874 | 1.378 | 1.874 | 2.370 | 2.874 | 3.835 |
|  |  | 9.5 | 15.8 | 22.2 | 35 | 47.6 | 60.2 | 73 | 97.4 |
| øD | in. mm | 1.000 | 1.000 | 1.984 | 1.984 | 2.516 | 3.051 | 3.579 | 4.681 |
|  |  | 25.4 | 25.4 | 50.4 | 50.4 | 63.9 | 77.5 | 90.9 | 118.9 |
| R | in. mm | 0.354 | 0.354 | 0.433 | 0.551 | 0.551 | 0.669 | 0.866 | 0.866 |
|  |  | 9 | 9 | 11 | 14 | 14 | 17 | 22 | 22 |
| L | in. mm | 4.646 | 5.000 | 6.008 | 6.890 | 7.480 | 8.976 | 10.260 | 11.417 |
|  |  | 118 | 127 | 152.6 | 175 | 190 | 228 | 260.6 | 290 |

L

L PORT

T PORT

D

C

| SIZE |  | 1" | 11/2" | 2" | 21/2" | 3" |
| --- | --- | --- | --- | --- | --- | --- |
| A | in. mm | 3.752 | 4.252 | 4.685 | 5.315 | 6.500 |
|  |  | 95.3 | 108 | 119 | 135 | 165.1 |
| B | in. mm | 2.311 | 3.063 | 3.689 | 4.189 | 4.937 |
|  |  | 58.7 | 77.8 | 93.7 | 106.4 | 125.4 |
| C | in. mm | 2.374 | 2.811 | 3.126 | 3.374 | 3.752 |
|  |  | 60.3 | 71.4 | 79.4 | 85.7 | 95.3 |
| D | in. mm | 6.437 | 6.437 | 6.437 | 6.437 | 6.437 |
|  |  | 163.5 | 163.5 | 163.5 | 163.5 | 163.5 |

HIGH PURITY BALL VALVE

B

A

# BALL VALVE ACTUATOR	DIAPHRAGM VALVE PARTS LIST

| Item | Parts name | Q'TY | Material |
| --- | --- | --- | --- |
| 1 | BODY | 1 | ST.ST 316L |
| 2 | SEAL | 1 | EPDM+PTFE |
| 3 | Seat | 1 | ST.ST 304 |
| 4 | Screw | 1 | ST.ST 304 |
| 5 | Bonnet | 1 | POBOM/CASTING |
| 6 | Handwheel | 1 | NYLON 66+30% GF |
| 7 | Cover | 1 | NYLON 66+30% GF |
| 8 | M6 SCREW BOLT | 1 | ST.ST304 |

7

6

9

9

9

5

9

4

3

2

1

8

8

8

8

Construction Assembly & Parts List

SIZING CHART (INCH)

Speciﬁcations

| Material | Body：Forged/316L |
| --- | --- |
|  | Diaphragm：EPDM+PTFE/ NC or NO：EPDM+PTFE |
| Connection | Clamp End/Weld End |
| Body Type | Direct Connection (Two Way)/Equal T/ Reducing T/U-Point‧‧‧ |
| Operation | Normal Open/Normal Close |
| Work Temp. | Diaphragm：EPDM+PTFE(-10°C~150°C) |
| Work Pressure | Max：10 Bar |
| Surface | SF1：ID Polished to Ra≦0.5µm/ SF4：EP Finished to Ra≦0.38µm |
|  | ID/OD Mirror Polished & ID Ra≦0.5µm/OD Sand Blasted‧‧‧ |

| SIZE | A | B | C | L | E | F | P | øZ | N | I | FLANGE | Q | Q1 | W | W1 | Ch | T |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VT032 | 1.457 | 1.850 | 1.969 | 4.331 | 1.063 | 1.969 | 0.787 | 1.575 | 0.394 | 0.394 | F03 |  | 1.417 |  | M5*9 | 9*9 | G1/8" |
| VT050 | 1.772 | 2.776 | 2.756 | 6.063 | 1.634 | 3.150 | 0.787 | 1.575 | 0.394 | 0.472 | F03/05 | 1.417 | 1.969 | M5*7.5 | M6*9 | 11*11 | G1/4" |
| VT065 | 2.441 | 3.524 | 3.504 | 7.441 | 2.028 | 3.150 | 0.787 | 1.575 | 0.394 | 0.630 | F05/07 | 1.969 | 2.756 | M6*9 | M8*12 | 14*14 | G1/4" |
| VT075 | 2.677 | 4.035 | 3.937 | 8.268 | 2.323 | 3.150 | 0.787 | 1.575 | 0.551 | 0.630 | F05/07 | 1.969 | 2.756 | M6*9 | M8*12 | 14*14 | G1/4" |
| VT085 | 2.677 | 4.429 | 4.449 | 9.016 | 2.500 | 3.150 | 0.787 | 1.575 | 0.551 | 0.748 | F05/07 | 1.969 | 2.756 | M6*9 | M8*12 | 17*17 | G1/4" |
| VT095 | 3.622 | 4.961 | 4.843 | 10.394 | 2.795 | 3.150 | 0.787 | 1.575 | 0.551 | 0.748 | F05/07 | 1.969 | 2.756 | M6*9 | M8*12 | 17*17 | G1/4" |
| VT110 | 3.661 | 5.453 | 5.354 | 10.472 | 3.012 | 3.150 | 0.787 | 1.575 | 0.551 | 0.748 | F07/10 | 2.756 | 4.016 | M8*12 | M10*15 | 17*17 | G1/4" |
| VT125 | 3.780 | 6.181 | 6.339 | 13.268 | 3.346 | 3.150 | 1.181 | 2.205 | 0.866 | 0.984 | F07/10 | 2.756 | 4.016 | M8*12 | M10*15 | 22*22 | G1/4" |
| VT140 | 4.331 | 7.008 | 7.008 | 14.843 | 3.819 | 3.150/5.118 | 1.181 | 2.205 | 0.866 | 1.220 | F10/12 | 4.016 | 4.921 | M10*15 | M12*18 | 27*27 | G1/4" |
| VT160 | 4.409 | 7.717 | 7.874 | 16.220 | 4.173 | 3.150/5.118 | 1.181 | 2.205 | 0.866 | 1.220 | F10/12 | 4.016 | 4.921 | M10*15 | M12*18 | 27*27 | G1/4" |
| VT190 | 5.354 | 8.524 | 9.134 | 19.213 | 4.409 | 5.118 | 1.181 | 3.150 | 1.260 | 1.614 | F10/14 | 4.016 | 5.512 | M10*15 | M16*24 | 36*36 | G1/4" |
| VT210 | 5.512 | 9.272 | 10.039 | 21.654 | 4.724 | 5.118 | 1.181 | 3.150 | 1.260 | 1.575 | F14 |  | 5.512 |  | M16*24 | 36*36 | G1/4" |
| VT240 | 6.260 | 10.315 | 11.496 | 23.701 | 5.157 | 5.118 | 1.181 | 3.150 | 1.260 | 1.969 | F16 |  | 6.496 |  | M20*28 | 46*46 | G1/2" |
| VT270 | 6.260 | 11.614 | 13.031 | 26.457 | 5.807 | 5.118 | 1.181 | 3.150 | 1.260 | 1.969 | F16 |  | 6.496 |  | M20*28 | 46*46 | G1/2" |
| VT300 | 7.087 | 13.189 | 13.937 | 30.866 | 6.811 | 5.118 | 1.181 | 3.150 | 1.260 | 1.969 | F16 |  | 6.496 |  | M20*28 | 46*46 | G1/2" |
| VT350 | 10.630 | 15.157 | 16.142 | 33.268 | 7.677 | 5.118 | 1.181 | 3.150 | 1.260 | 1.969 | F16/25 | 6.496 | 10.000 | M20*28 | M16*30 | 46*46 | G1/2" |
| VT400 | 11.417 | 20.472 | 18.346 | 37.638 | 10.236 | 5.118 | 1.181 | 3.150 | 1.260 | 2.362 | F25 |  | 10.000 |  | M16*30 | 55*55 | G1/2" |

PNEUMATIC/MANUAL DIAPHRAGM VALVE	PNEUMATIC/MANUAL DIAPHRAGM VALVE

2WAY VALVE

3WAY/U-BEND VALVE

L

L1 L2

G1;G2

ØE

ØD

ØC ØB ØA

F1

ØC ØB ØA

K

M1

M

H

ØE

L

L1 L2

L L1

| SIZE |  | 1/2" | 3/4" | 1" | 11/2" | 2" |
| --- | --- | --- | --- | --- | --- | --- |
| øA | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.870 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 47.5 |
| øB | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 |
| øC | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 |
|  |  | 25.2 | 25.2 | 50.5 | 50.5 | 64 |
| øD | in. mm | 2.362 | 2.362 | 3.740 | 3.740 | 4.646 |
|  |  | 60 | 60 | 95 | 95 | 118 |
| øE | in. mm | 2.362 | 2.362 | 3.346 | 3.346 | 5.236 |
|  |  | 60 | 60 | 85 | 85 | 133 |
| F1 | in. mm | 4.803 | 4.803 | 8.346 | 8.543 | 12.402 |
|  |  | 122 | 122 | 212 | 217 | 315 |
| F2 | in. mm | 5.157 | 5.157 | 8.858 | 9.134 | 13.110 |
|  |  | 131 | 131 | 225 | 232 | 333 |
| G1 | in. mm | 2.913 | 2.913 | 3.937 | 4.685 | 5.315 |
|  |  | 74 | 74 | 100 | 119 | 135 |
| G2 | in. mm | 3.268 | 3.268 | 4.449 | 5.276 | 6.024 |
|  |  | 83 | 83 | 113 | 134 | 153 |
| L1 | in. mm | 3.717 | 3.717 | 4.921 | 6.260 | 7.559 |
|  |  | 94.4 | 94.4 | 125 | 159 | 192 |

N

ØC ØB ØA

F1,F2

ØC1

ØD

K

M1 M

ØA1 ØB1

F2

G2 G1

| SIZE |  | 1/2"*1/2" | 1/2"*3/4" | 1/2"*1" | 1/2"*11/2" | 1/2"*2" | 3/4"*3/4" | 3/4"*1" | 3/4"*11/2" | 3/4"*2" | 1"*1" | 1"*11/2" | 1"*2" | 11/2"*11/2" | 11/2"*2" | 2"*2" |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| øA | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.870 | 0.620 | 0.870 | 1.370 | 1.870 | 0.870 | 1.370 | 1.870 | 1.370 | 1.870 | 1.870 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 47.5 | 15.75 | 22.1 | 34.8 | 47.5 | 22.1 | 34.8 | 47.5 | 34.8 | 47.5 | 47.5 |
| øB | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 | 0.750 | 1.000 | 1.500 | 2.000 | 1.000 | 1.500 | 2.000 | 1.500 | 2.000 | 2.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 | 19.05 | 25.4 | 38.1 | 50.8 | 25.4 | 38.1 | 50.8 | 38.1 | 50.8 | 50.8 |
| øC | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 | 0.992 | 1.988 | 1.988 | 2.520 | 1.988 | 1.988 | 2.520 | 1.988 | 2.520 | 2.520 |
|  |  | 25.2 | 25.2 | 50.5 | 50.5 | 64 | 25.2 | 50.5 | 50.5 | 64 | 50.5 | 50.5 | 64 | 50.5 | 64 | 64 |
| øA1 | in. mm | 0.370 | 0.370 | 0.370 | 0.370 | 0.370 | 0.620 | 0.620 | 0.620 | 0.620 | 0.870 | 0.870 | 0.870 | 1.370 | 1.370 | 1.870 |
|  |  | 9.4 | 9.4 | 9.4 | 9.4 | 9.4 | 15.75 | 15.75 | 15.75 | 15.75 | 22.1 | 22.1 | 22.1 | 34.8 | 34.8 | 47.5 |
| øB1 | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 | 0.750 | 1.000 | 1.500 | 2.000 | 1.000 | 1.500 | 2.000 | 1.500 | 2.000 | 2.000 |
|  |  | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 19.05 | 19.05 | 19.05 | 19.05 | 25.4 | 25.4 | 25.4 | 38.1 | 38.1 | 50.8 |
| øC1 | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 | 0.992 | 1.988 | 1.988 | 2.520 | 1.988 | 1.988 | 2.520 | 1.988 | 2.520 | 2.520 |
|  |  | 25.2 | 25.2 | 25.2 | 25.2 | 25.2 | 25.2 | 25.2 | 25.2 | 25.2 | 50.5 | 50.5 | 50.5 | 50.5 | 64 | 64 |
| øD | in. mm | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 3.740 | 3.740 | 3.740 | 3.740 | 3.740 | 4.646 |
|  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 95 | 95 | 95 | 95 | 95 | 118 |
| øE | in. mm | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 3.346 | 3.346 | 3.346 | 3.346 | 3.346 | 5.236 |
|  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 85 | 85 | 85 | 85 | 85 | 133 |
| F1 | in. mm | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 8.346 | 8.346 | 8.346 | 8.543 | 8.543 | 12.402 |
|  |  | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 212 | 212 | 212 | 217 | 217 | 315 |
| F2 | in. mm | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 8.858 | 8.858 | 8.858 | 9.134 | 9.134 | 13.110 |
|  |  | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 225 | 225 | 225 | 232 | 232 | 333 |
| G1 | in. mm | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 3.937 | 3.937 | 3.937 | 4.685 | 4.685 | 5.315 |
|  |  | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 100 | 100 | 100 | 119 | 119 | 135 |
| G2 | in. mm | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 4.449 | 4.449 | 4.449 | 5.276 | 5.276 | 6.024 |
|  |  | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 113 | 113 | 113 | 134 | 134 | 153 |
| H | in. mm |  | 0.243 | 0.520 | 0.768 | 0.768 | 0.177 | 0.421 | 0.689 | 0.689 | 0.244 | 0.571 | 0.724 | 0.244 | 0.539 |  |
|  |  |  | 6.18 | 13.44 | 19.5 | 19.5 | 4.5 | 10.7 | 17.5 | 17.5 | 6.2 | 14.5 | 18.4 | 6.2 | 13.7 |  |
| K | in. mm | 0.268 | 0.393 | 0.518 | 0.768 | 1.018 | 0.393 | 0.518 | 0.768 | 1.018 | 0.632 | 0.882 | 1.132 | 0.882 | 1.132 | 1.132 |
|  |  | 6.8 | 9.98 | 13.15 | 19.5 | 25.85 | 9.98 | 13.15 | 19.5 | 25.85 | 16.05 | 22.4 | 28.75 | 22.4 | 28.75 | 28.75 |
| L | in. mm | 2.250 | 2.625 | 3.000 | 3.752 | 4.752 | 2.625 | 3.000 | 3.752 | 4.752 | 3.000 | 3.752 | 4.752 | 3.752 | 4.752 | 4.752 |
|  |  | 57.15 | 66.68 | 76.2 | 95.3 | 120.7 | 66.68 | 76.2 | 95.3 | 120.7 | 76.2 | 95.3 | 120.7 | 95.3 | 120.7 | 120.7 |
| L1 | in. mm | 1.250 | 1.624 | 2.000 | 2.752 | 3.500 | 1.625 | 2.000 | 2.752 | 3.500 | 2.000 | 2.752 | 3.500 | 2.752 | 3.500 | 3.500 |
|  |  | 31.75 | 41.25 | 50.8 | 69.9 | 88.9 | 41.28 | 50.8 | 69.9 | 88.9 | 50.8 | 69.9 | 88.9 | 69.9 | 88.9 | 88.9 |
| M | in. mm | 2.732 | 2.868 | 2.982 | 3.232 | 3.482 | 2.857 | 2.982 | 3.232 | 3.482 | 3.411 | 3.661 | 3.911 | 4.134 | 4.384 | 4.872 |
|  |  | 69.4 | 72.85 | 75.75 | 82.1 | 88.45 | 72.58 | 72.75 | 82.1 | 88.45 | 70.6 | 93 | 99.35 | 105 | 111.35 | 123.75 |
| M1 | in. mm | 2.008 | 2.133 | 2.258 | 2.508 | 2.758 | 2.133 | 2.258 | 2.508 | 2.758 | 2.780 | 2.937 | 3.187 | 3.409 | 3.659 | 3.896 |
|  |  | 51 | 54.18 | 57.35 | 63.7 | 70.05 | 54.18 | 57.35 | 63.7 | 70.05 | 68.25 | 74.6 | 80.95 | 86.6 | 92.95 | 98.95 |

ØD		ØD

| SIZE |  | 1/2" | 3/4" | 1" | 11/2" | 2" |
| --- | --- | --- | --- | --- | --- | --- |
| øA | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.870 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 47.5 |
| øB | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 |
| øC | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 |
|  |  | 25.2 | 25.2 | 50.5 | 50.5 | 64 |
| øD | in. mm | 4.724 | 4.724 | 4.724 | 6.299 | 6.299 |
|  |  | 120 | 120 | 120 | 160 | 160 |
| L | in. mm | 8.346 | 8.346 | 8.346 | 8.543 | 12.402 |
|  |  | 212 | 212 | 212 | 217 | 315 |
| L1 | in. mm | 8.858 | 8.858 | 8.858 | 9.134 | 13.110 |
|  |  | 225 | 225 | 225 | 232 | 333 |
| L2 | in. mm | 3.937 | 3.937 | 3.937 | 4.685 | 5.315 |
|  |  | 100 | 100 | 100 | 119 | 135 |
| L3 | in. mm | 4.449 | 4.449 | 4.449 | 5.276 | 6.024 |
|  |  | 113 | 113 | 113 | 134 | 153 |

# PNEUMATIC/MANUAL DIAPHRAGM VALVE	SAMPLE COCK VALVE

3WAY VALVE

G1

G2

ØD

ØC ØB ØA

L1

L

ØE

ØC1

ØB1

ØA1

H

F1

F2

K

M1	 M

##### A Type

B Type

Ø4

55

C Type

75

NPT 1/2 NPT 3/8-18 NPT 1/4-8

NPT 1/2 NPT 3/8-18 NPT 1/4-8

75

| SIZE |  | 1/2"*1/2" | 1/2"*3/4" | 1/2"*1" | 1/2"*11/2" | 1/2"*2" | 3/4"*3/4" | 3/4"*1" | 3/4"*11/2" | 3/4"*2" | 1"*1" | 1"*11/2" | 1"*2" | 11/2"*11/2" | 11/2"*2" | 2"*2" |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| øA | in. mm | 0.370 | 0.620 | 0.870 | 1.370 | 1.870 | 0.620 | 0.870 | 1.370 | 1.870 | 0.870 | 1.370 | 1.870 | 1.370 | 1.870 | 1.870 |
|  |  | 9.4 | 15.75 | 22.1 | 34.8 | 47.5 | 15.75 | 22.1 | 34.8 | 47.5 | 22.1 | 34.8 | 47.5 | 34.8 | 47.5 | 47.5 |
| øB | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 | 0.750 | 1.000 | 1.500 | 2.000 | 1.000 | 1.500 | 2.000 | 1.500 | 2.000 | 2.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 | 19.05 | 25.4 | 38.1 | 50.8 | 25.4 | 38.1 | 50.8 | 38.1 | 50.8 | 50.8 |
| øC | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 | 0.992 | 1.988 | 1.988 | 2.520 | 1.988 | 1.988 | 2.520 | 1.988 | 2.520 | 2.520 |
|  |  | 25.2 | 25.2 | 50.5 | 50.5 | 64 | 25.2 | 50.5 | 50.5 | 64 | 50.5 | 50.5 | 64 | 50.5 | 64 | 64 |
| øA1 | in. mm | 0.370 | 0.370 | 0.370 | 0.370 | 0.370 | 0.620 | 0.620 | 0.620 | 0.620 | 0.870 | 0.870 | 0.870 | 1.370 | 1.370 | 1.870 |
|  |  | 9.4 | 9.4 | 9.4 | 9.4 | 9.4 | 15.75 | 15.75 | 15.75 | 15.75 | 22.1 | 22.1 | 22.1 | 34.8 | 34.8 | 47.5 |
| øB1 | in. mm | 0.500 | 0.750 | 1.000 | 1.500 | 2.000 | 0.750 | 1.000 | 1.500 | 2.000 | 1.000 | 1.500 | 2.000 | 1.500 | 2.000 | 2.000 |
|  |  | 12.7 | 19.05 | 25.4 | 38.1 | 50.8 | 19.05 | 25.4 | 38.1 | 50.8 | 25.4 | 38.1 | 50.8 | 38.1 | 50.8 | 50.8 |
| øC1 | in. mm | 0.992 | 0.992 | 1.988 | 1.988 | 2.520 | 0.992 | 1.988 | 1.988 | 2.520 | 1.988 | 1.988 | 2.520 | 1.988 | 2.520 | 2.520 |
|  |  | 25.2 | 25.2 | 50.5 | 50.5 | 64 | 25.2 | 50.5 | 50.5 | 64 | 50.5 | 50.5 | 64 | 50.5 | 64 | 64 |
| øD | in. mm | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 3.740 | 3.740 | 3.740 | 3.740 | 3.740 | 4.646 |
|  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 95 | 95 | 95 | 95 | 95 | 118 |
| øE | in. mm | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 2.362 | 3.346 | 3.346 | 3.346 | 3.346 | 3.346 | 5.236 |
|  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 85 | 85 | 85 | 85 | 85 | 133 |
| F1 | in. mm | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 4.803 | 8.346 | 8.346 | 8.346 | 8.543 | 8.543 | 12.402 |
|  |  | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 212 | 212 | 212 | 217 | 217 | 315 |
| F2 | in. mm | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 5.157 | 8.858 | 8.858 | 8.858 | 9.134 | 9.134 | 13.110 |
|  |  | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 225 | 225 | 225 | 232 | 232 | 333 |
| G1 | in. mm | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 2.913 | 3.937 | 3.937 | 3.937 | 4.685 | 4.685 | 5.315 |
|  |  | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 100 | 100 | 100 | 119 | 119 | 135 |
| G2 | in. mm | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 3.268 | 4.449 | 4.449 | 4.449 | 5.276 | 5.276 | 6.024 |
|  |  | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 113 | 113 | 113 | 134 | 134 | 153 |
| H | in. mm |  | 0.243 | 0.520 | 0.768 | 0.768 | 0.177 | 0.421 | 0.689 | 0.689 | 0.244 | 0.571 | 0.724 | 0.244 | 0.539 |  |
|  |  |  | 6.18 | 13.2 | 19.5 | 19.5 | 4.5 | 10.7 | 17.5 | 17.5 | 6.2 | 14.5 | 18.4 | 6.2 | 13.7 |  |
| K | in. mm | 0.268 | 0.393 | 0.518 | 0.768 | 1.018 | 0.393 | 0.518 | 0.768 | 1.018 | 0.632 | 0.882 | 1.132 | 0.882 | 1.132 | 1.132 |
|  |  | 6.8 | 9.98 | 13.15 | 19.5 | 25.85 | 9.98 | 13.15 | 19.5 | 25.85 | 16.05 | 22.4 | 28.75 | 22.4 | 28.75 | 28.75 |
| L | in. mm | 5.500 | 5.500 | 6.063 | 6.047 | 6.047 | 5.500 | 6.047 | 6.047 | 6.047 | 6.795 | 6.795 | 6.795 | 7.780 | 7.780 | 8.331 |
|  |  | 139.7 | 139.7 | 154 | 153.6 | 153.6 | 139.7 | 153.6 | 153.6 | 153.6 | 172.6 | 172.6 | 172.6 | 197.6 | 197.6 | 211.6 |
| L1 | in. mm | 3.500 | 3.500 | 4.500 | 4.500 | 4.500 | 3.500 | 4.500 | 4.500 | 4.500 | 4.500 | 4.500 | 4.500 | 5.500 | 5.500 | 6.252 |
|  |  | 88.9 | 88.9 | 114.3 | 114.3 | 114.3 | 88.9 | 114.3 | 114.3 | 114.3 | 114.3 | 114.3 | 114.3 | 139.7 | 139.7 | 158.8 |
| M | in. mm | 2.732 | 2.857 | 2.982 | 3.232 | 3.482 | 2.857 | 2.982 | 3.232 | 3.482 | 3.411 | 3.661 | 3.911 | 4.134 | 4.384 | 4.872 |
|  |  | 69.4 | 72.58 | 75.75 | 82.1 | 88.45 | 72.58 | 75.75 | 82.1 | 88.45 | 86.65 | 93 | 99.35 | 105 | 111.35 | 123.75 |
| M1 | in. mm | 2.008 | 2.133 | 2.258 | 2.508 | 2.758 | 2.133 | 2.258 | 2.508 | 2.758 | 2.780 | 2.937 | 3.187 | 3.409 | 3.659 | 3.896 |
|  |  | 51 | 54.18 | 57.35 | 63.7 | 70.05 | 54.18 | 57.35 | 63.7 | 70.05 | 70.6 | 74.6 | 80.95 | 86.6 | 92.95 | 98.95 |

62

Ø25.2

##### D Type

F Type

Ø25.2

Ø6

55

Ø4

Ø25.2

# PLUG VALVE

A		 C

L

ØA ØB

C

ØA

ØB

E TYPE

STRAINERS

L

L1

INLINE STRAINER	SIDE OUTLET STRAINER

B

| STRAINER INLINE TYPE (I) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SIZE |  | 1" | 11/2" | 2" | 21/2" | 3" |
| øA | in. mm | 0.870 | 1.370 | 1.870 | 2.370 | 2.870 |
|  |  | 22.1 | 34.8 | 47.5 | 60.2 | 72.9 |
| øB | in. mm | 1.988 | 1.988 | 2.520 | 3.051 | 3.583 |
|  |  | 50.5 | 50.5 | 64 | 77.5 | 91 |
| øC | in. mm | 4.000 | 4.000 | 4.000 | 4.000 | 4.000 |
|  |  | 101.6 | 101.6 | 101.6 | 101.6 | 101.6 |
| øD | in. mm | 4.685 | 4.685 | 4.685 | 4.685 | 4.685 |
|  |  | 119 | 119 | 119 | 119 | 119 |
| L | in. mm | 14.961 | 14.961 | 14.961 | 17.717 | 21.654 |
|  |  | 380 | 380 | 380 | 450 | 550 |

| STRAINER SIDE OUTLET TYPE (L) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SIZE |  | 1" | 11/2" | 2" | 21/2" | 3" |
| øA | in. mm | 0.870 | 1.370 | 1.870 | 2.370 | 2.870 |
|  |  | 22.1 | 34.8 | 47.5 | 60.2 | 72.9 |
| øB | in. mm | 1.988 | 1.988 | 2.520 | 3.051 | 3.583 |
|  |  | 50.5 | 50.5 | 64 | 77.5 | 91 |
| øC | in. mm | 4.126 | 4.126 | 4.500 | 4.252 | 4.252 |
|  |  | 104.8 | 104.8 | 114.3 | 108 | 108 |
| øD | in. mm | 4.331 | 4.331 | 4.331 | 4.331 | 4.331 |
|  |  | 110 | 110 | 110 | 110 | 110 |
| L | in. mm | 12.205 | 12.205 | 12.205 | 16.142 | 19.291 |
|  |  | 310 | 310 | 310 | 410 | 490 |

2WAY & 3WAY-PLUG VALVE FOR	 WELD / MALE / FEMALE / CLAMP

| SIZE (TUBE O.D) | WELD A in. mm |  | MALE in. A mm |  | CLAMP in. A mm |  | in. B mm |  | C in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DN25/1" | 2.610 | 66.3 | 3.752 | 95.3 | 3.736 | 94.9 | 1.024 | 26 | 5.480 | 139.19 |
| DN4011 /2" | 3.350 | 85.1 | 4.650 | 118.1 | 4.476 | 113.7 | 1.378 | 35 | 5.480 | 139.19 |
| DN50/2" | 4.496 | 114.2 | 5.874 | 149.2 | 5.622 | 142.8 | 1.772 | 45 | 5.630 | 143.01 |
| DN65 1/2 | 5.197 | 132 | 6.772 | 172 | 6.323 | 160.6 | 2.165 | 55 | 5.657 | 143.69 |
| DN80/3" | 6.638 | 168.6 | 8.409 | 213.6 | 7.764 | 197.2 | 2.756 | 70 | 5.662 | 143.81 |
| DN100/4" | 8.122 | 206.3 | 10.248 | 260.3 | 9.248 | 234.9 | 2.953 | 75 | 6.859 | 174.21 |

A

L

H

A TYPE	B

C

ØB ØA

| STRAINER Y TYPE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SIZE |  | 1" | 11/2" | 2" | 21/ 2" | 3" |
| øA | in. mm | 0.870 | 1.370 | 1.870 | 2.370 | 2.870 |
|  |  | 22.1 | 34.8 | 47.5 | 60.2 | 72.9 |
| øB | in. mm | 1.988 | 1.988 | 2.520 | 3.051 | 3.583 |
|  |  | 50.5 | 50.5 | 64 | 77.5 | 91 |
| L | in. mm | 6.102 | 7.559 | 8.189 | 9.921 | 11.811 |
|  |  | 155 | 192 | 208 | 252 | 300 |

2WAY & 3WAY-PLUG VALVE FOR	 WELD / MALE / FEMALE / CLAMP

| SIZE (TUBE O.D) | WELD A in. mm |  | CLAMP in. A mm |  | in. B mm |  | in. C mm |  | H in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | 7.252 | 184.2 | 4.563 | 115.9 | 4.606 | 117 | 2.295 | 58.3 | 5.055 | 128.4 |
| 11/2" | 7.811 | 198.4 | 5.811 | 147.6 | 5.618 | 142.7 | 2.402 | 61 | 6.472 | 164.4 |
| 2" | 8.811 | 223.8 | 6.811 | 173 | 5.677 | 144.2 | 2.850 | 72.4 | 7.008 | 178 |
| 21/2" | 10.252 | 260.4 | 8.252 | 209.6 | 5.929 | 150.6 | 3.394 | 86.2 | 8.795 | 223.4 |
| 3" | 11.437 | 290.5 | 9.437 | 239.7 | 7.114 | 180.7 | 3.567 | 90.6 | 9.504 | 241.4 |

# TECHNICAL INFORMATION

Optimum Flow Rate and Pipe Size Selection

Ø Sanitary Pipe Size Selection and Optimum Flow Rate

The optimum size pipe for a process pipeline depends on the relationship between the following factors:

Pump capacity Pipe pressure loss

In sanitary piping,the cleanability of the pipeline serves as another important factor.

The following are typical

requirements for implementing suﬃcient cleanability:

The ﬂow velocity must be 0.6m/sec or higher

(to prevent retention of air in the upper portion of the pipe interior). The ﬂow rate must be such that turbulent ﬂow is formed.

Table 1 shows recommended ﬂow rate ranges and other data useful for size selection.

| Nominal Pipe size | Sanitary Pipe Volume per meter ﹝L/m﹞ | Recommended ﬂow rate range for proess pipeline ﹝L/h﹞ | Flow rate at pressure ﹝L/h﹞ |  |  | Flow rate at pressure loss ﹝0.008kgf/cm2﹞/m per meter﹝L/h﹞ |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Velocity 0.6m/sec | Velocity 1.0m/sec | Velocity 1.5m/sec |  |
| 1.0s | 0.415 | 800~2200 | 896 | 1490 | 2241 | 1500 |
| 1.5s | 1.00 | 3600~6000 | 2160 | 3600 | 5400 | 6000 |
| 2s | 1.80 | 6000~13000 | 3877 | 6460 | 9693 | 12900 |
| 11/2s | 2.78 | 13000~24000 | 6007 | 1000 | 15017 | 24000 |
| 3s | 4.11 | 24000~38000 | 8869 | 14800 | 22172 | 38700 |
| 31/2s | 5.69 | 38000~60000 | 12286 | 20500 | 30715 | 60000 |
| 4s | 7.48 | 60000~88000 | 16161 | 26900 | 40403 | 88200 |
| 41/2s | 9.21 | 88000~120000 | 19920 | 33200 | 49800 | 120000 |

2000

1500

1000

500

400

300

200

150

100

50

40

30

# TECHNICAL INFORMATION

| Pressure | Pa | kPa | MPa | bar | kgf/cm2 | atm | mmH2O | mmHg |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Torr |
|  | 1 | 1*10 -3 | 1*10-6 | 1*10-5 | 1.01972*10 -5 | 9.86923*10 -6 | 1.01972*10-1 | 7.50062*10 -3 |
|  | 1*103 | 1 | 1*10-3 | 1*10-2 | 1.01972*10 -2 | 9.86923*10 -3 | 1.01972*102 | 7.50062 |
|  | 1*106 | 1*106 | 1 | 1*10 | 1.01972*10 | 9.86923 | 1.01972*105 | 7.50062*10 3 |
|  | 1*105 | 1*102 | 1*10-1 | 1 | 1.01972 | 9.86923*10 -1 | 1.01972*104 | 7.50062*10 2 |
|  | 9.80665*104 | 9.80665*10 | 9.80665*10 -2 | 9.80665*10 -1 | 1 | 9.67841*10 -1 | 1*104 | 7.35559*10 2 |
|  | 1.01325*105 | 1.01325*102 | 1.01325*10 -1 | 1.01325 | 1.03323 | 1 | 1.03323*104 | 7.60000*10 2 |
|  | 9.80665 | 9.80665*10 -3 | 9.80665*10 -6 | 9.80665*10 -5 | 1*10 -4 | 9.67841*10 -5 | 1 | 7.35559*10 -2 |
|  | 1.33322*102 | 1.33322*10 -1 | 1.33322*10 -4 | 1.33322*10 -3 | 1.35951*10 -3 | 1.31579*10 -3 | 1.35951*10 | 1 |

SI Unit Conversion Table

PS.)1Pa=1N/m2

| Force | N | dyn | kgf |
| --- | --- | --- | --- |
|  | 1 | 1*10-5 | 1.01972*10 -1 |
|  | 1*10-5 | 1 | 1.01972*10 -6 |
|  | 9.80665 | 9.80665*105 | 1 |

| Viscosity | Pa.s | cP | P |
| --- | --- | --- | --- |
|  | 1 | 1*10 3 | 1*10 |
|  | 1*10 -3 | 1 | 1*10 -2 |
|  | 1*10 -1 | 1*10 2 | 1 |

PS.)1P=1dyn.s/cm2=1g/cm.s , 1Pa.s=1N.S/m2,1cP=1mPa.s

20

0.01

0.02

0.05

0.1

0.2

0.5

1.0

Head(m)

1627 ﬂexible rubber symbol

PFA Perﬂuoroalkoxy polymer P

| Ratings: A=High suitability B=Normal suitability C=Limited suitability D=Unsuitable -=Not recommended Product or Process: | ISO Designation of Abbreviation | NBR Nitrile rubber N | EPDM Ethylene E | Q Silicon rubber Q | VITON Fluorinated rubber F | PTFE/ Polytetraﬂour ethylene P |
| --- | --- | --- | --- | --- | --- | --- |
| Abrassive products |  | D | D | D | D | A |
| Dairy products (milk,cream) |  | B | A | A | - | A |
| Dairy products (sour milk products) |  | B | A | A | - | A |
| Brewery products (bear, hops etc.) |  | B | A | C | C | A |
| Wine and yeast |  | B | A | A | C | A |
| Aminal and vegetable fats | 100°C | B | D | B | A | A |
| Water and water solutions | <70°C | B | A | B | B | A |
| Hot water and steam | <130°C | D | A | C | - | A |
| Concentrated fruit juices and etheral oils | <100°C | D | D | D | B | A |
| Non-oxidation acids | <80°C | D | B | D | C | A |
| Oxidation acids | <80°C | - | B | D | C | A |
| Weak concentrate of lye | <100°C | C | A | C | C | A |
| Strong concentrate of lye | <100°C | D | B | D | D | A |
| Mineral oils | <100°C | B | - | - | A | A |
| Aliphatic carburetted hydrogen (hexane) |  | B | D | D | A | A |
| Aromatic carbuetted hydrogen (benzole) |  | D | D | D | B | A |
| Alcohols |  | C | B | A | A | A |
| Ester and ketones |  | D | D | D | A | A |
| Ether |  | D | D | B | A | A |
| Methylene chloride |  | D | D | B | A | A |
| Ozyne and almospheric condittions |  | C | A | A | A | A |

1mmH2 O=9.80665Pa

Friction Head Loss-meter fo pipe

|  | 90EL | TEE | TEE | TEE |
| --- | --- | --- | --- | --- |
| 1" | 0.5 | 1.1 | 1.3 | 0.4 |
| 1 1/2" | 0.5 | 2.3 | 2.0 | 0.4 |
| 2" | 1.0 | 2.6 | 2.6 | 0.6 |
| 2 1/2" | 1.5 | 3.8 | 3.8 | 0.8 |
| 3" | 2.0 | 4.0 | 4.5 | 1.2 |
| 4" | 1.5 | 6.0 | 6.0 | 1.2 |

Pipe Run-Length of Fittings(m)

1kPa=103 Pa 1MPa=106Pa

| Kineniatic Viscosity | Pa or N/m2 | MPa or N/mm2 | kgf/mm2 | kgf/cm2 |
| --- | --- | --- | --- | --- |
|  | 1 | 1*10-6 | 1.01972*10 -7 | 1.01972*10 -5 |
|  | 1*10 6 | 1 | 1.01972*10 -1 | 1.01972*10 |
|  | 9.80665*106 | 9.80665 | 1 | 1*10 2 |
|  | 9.80665*104 | 9.80665*10 -2 | 1*10 -2 | 1 |

PS.)1Pa=1N/m2,1MPa=1N/mm2

Propylene rubber

Viscosity

| Kineniatic | m2/s | cSt | St |
| --- | --- | --- | --- |
|  | 1 | 1*10 6 | 1*10 4 |
|  | 1*10-6 | 1 | 1*10 -2 |
|  | 1*10-4 | 1*10 2 | 1 |

PS.)1St=1cm2/s , 1cSt=1mm2/s

| thermal conductivity | W/(m‧K) | kcal(h‧m‧°C) |
| --- | --- | --- |
|  | 1 1.16279 | 8.6000*10 -1 1 |

| TYPE | mu | um |
| --- | --- | --- |
| 36 | 142 | 3.61 |
| 60 | 87 | 2.21 |
| 80 | 71 | 1.80 |
| 120 | 52 | 1.32 |
| 180 | 30 | 0.76 |
| 240 | 15 | 0.38 |
| 320 | 12 | 0.31 |

Micro-inch Finish

PS.)1cal=4.186 05J

| coeﬃcient on heat transfer | W/(m2‧K) | kcal(h‧m2‧°C) |
| --- | --- | --- |
|  | 1 1.16279 | 8.6000*10 -1 1 |

capacity

PS.)1cal=4.186 05J

| speciﬁc heat | J/(kg‧K) | kcal(h‧m2‧°C) |
| --- | --- | --- |
|  | 1 4.18605*10 3 | 2.38889*10 -4 1 |

PS.)1cal=4.186 05J

| power | W/(m‧K) | kcal(h‧m‧°C) | PS | kcal/h |
| --- | --- | --- | --- | --- |
|  | 1 | 1.01972*10 -1 | 1.35962*10 -3 | 8.6000*10 -1 |
|  | 9.80665 | 1 | 1.33333*10 -2 | 8.43371 |
|  | 7.355*10 2 | 7.5*10 | 1 | 6.32529*102 |
|  | 1.16279 | 1.18572*10 -1 | 1.58095*10 -3 | 1 |

PS.)1W=1J/S

1PS=0.735kW

1cal=4.186 05J

| work,energy | J | kW‧h | kgf‧m | kcal/h |
| --- | --- | --- | --- | --- |
|  | 1 | 2.77778*10 -7 | 1.01972*10 -1 | 2.38889*10 -4 |
|  | 3.600*10 6 | 1 | 3.67098*10 5 | 8.6000*102 |
|  | 9.80665 | 2.72407*10 -6 | 1 | 2.34270*10 -3 |
|  | 4.18605*10 3 | 1.16279*10 -3 | 4.26858*10 2 | 1 |

PS.)1J=1W‧1J=1N‧m 1cal=4.186 05J

# TECHNICAL INFORMATION

| SERVICE PRESSURE RATINGS (PSI) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SIZE Product | 1/2" | A37 DN10 | 1"~11/2" DN25 | 2" DN50 | 21/2" DN65 | 3" DN80 | 4" DN100 | DN115 | DN125 | 6" DN150 | 8" DN200 | 10" DN250 | 12" DN300 |

13MHH-Heavy Duty Single Pin Clamp

| 70F/21°C | 1500 |  | 500 | 150 | 400 | 350 | 200 |  |  | 200 | 180 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250F/121°C | 1200 |  | 250 | 250 | 200 | 150 | 125 |  |  | 125 | 100 |  |  |

13MHHM-Heavy Duty Double Pin Clamp

| 70F/21°C | 1500 | 1200 | 500 | 150 | 400 | 350 | 200 |  |  | 150 | 100 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250F/121°C | 1200 | 900 | 250 | 250 | 200 | 150 | 125 |  |  | 75 | 50 |  |  |

13MHP-High Pressure Clamp With Screw Bolt Brass Nut

# PNEUMATIC DIVERT VALVE

| 70F/21°C | 2000 |  | 1500 | 1000 | 1000 | 1000 | 1000 |  |  | 300 |  | 200 | 200 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250F/121°C | 1500 |  | 1200 | 800 | 800 | 800 | 800 |  |  | 200 |  | 100 | 100 |

F	T	L	Y	T/T

| 70F/21°C |  |  | 600 | 550 | 450 | 350 | 350 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250F/121°C |  |  | 300 | 275 | 225 | 175 | 150 |  |  |  |  |  |  |

13MHHS-3 Segments Clamp

| 70F/21°C | 1500 | 1200 | 500 | 450 | 400 | 350 | 300 | 250 | 250 | 200 | 200 | 100 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250F/121°C | 1200 | 900 | 300 | 250 | 200 | 150 | 120 | 100 | 100 | 75 | 50 | 30 | 20 |

13CS-Double Pin With Link Clamp

13IS & 13IU SERVICE PRESSURE RATING

| SIZE | SERVICE PRESSURE RATING AT 70°F* |  |
| --- | --- | --- |
| 1"~ 11/2" | 700PSI | 250PSI |
| 2" | 450PSI | 250PSI |
| 21/2" | 450PSI | 200PSI |
| 3" | 350PSI | 150PSI |
| 4" | 200PSI | 125PSI |
| 6" | 150PSI | 100PSI |

*Wing nuts tightened to 25 inch 1bs of torque.

1 psi=0.07kg/cm 2

1 psi=6.895kPa

1 bar=14.503psi

Operating Instructions

- The CSE pneumatic valve can be assembled with diﬀerent types of ﬂow designs , (as drawing A) to get various ﬂow control.

- You can choose SMS, DIN, IDF, RJT, 3A, Ferrule....., Welding; Clamp; Unions......connect end.

- Material:

3-1. All products being used with ﬂuid are made of stainless steel AISI 316/316L(1.4401/1.4571).

3-2. The other parts in AISI 304 (1.4301).

3-3. The valve stem is sealed by a FDA EPDM/Silicone/Viton seat and according international standard for use on food or pharmaceutical.

- Operating air pressure: 5bar-8bar compressed air.

- Control ways:

  - Designed to control diﬀerent types of various ﬂow, as type L; T; F...etc.

  - Choose appropriate dimensions of end, as 2".......clamp or welding.

  - Choose appropriate control ways (manual or pneumatic):

c-1. Manual control valve are equipped with a rapid pitch screw for protection against unscrewing.

c-2. Choose air/spring(simple eﬀect); or air/air (double eﬀect) for pneumatic control.

c-3. You can use CSE automatic control box to get signal transfer and complete individual valve control. c-3-1. Signal transfer:

    - with 10-30VDC proximity switch contact:1 or 2pcs (PNP OR NPN)

    - Or 3A 125VAC,30VDC micro switch contact: 2pcs c-3-2. Complete individual valve control:

Choose (a) or (b) +DC24 3.0W electric valve:1pc & air maniﬂod (for complete control box).

#### Range of Check valve:

- Make sure the valve is in correct ﬂow position.

- Be sure the valve surface is clean.

- Open to clean inner valve; do not loose all of gasket and spring.

- Please tighten up the valve clamp when the valve is used on pipe line.

- Be sure to check the stem gasket or change gasket on schedule to avoid leaking.

#### NOTICE:

  - PRECAUTION BEFORE USING:

    - Please always stock check valve in a dry and safe area.

    - Handle with care to avoid the surface of the screw of the check valve from damage.

  - ASSEMBLY ON THE PIPE LINE:

- Weld end:

  - Please disassemble all of weld ﬂange for weld jobs to avoid damage the gasket.

  - When you try re-assembly please clean all of inner surface.

  - Please tigthen all screw bolts and clamp.

- Clamp end & Male end

  - Please re-check the correct size clamp(ferrule) or thread on valve.

  - Please re-check correct clamp(ferrule)/thread on connect piece.

  - Need to tighten valve with connect piece or clamp-ring.

  - OPEN PRESSURE:

| Valve Size | 1/2" | 3/4" | 1" | 1 1/2" | 2" | 2 1/2" | 3" | 4" |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pressure(PSI) | 0.5 | 0.5 | 3.0 | 1.6 | 0.6 | 1.3 | 0.8 | 0.9 |

#### Special note of Check valve:

Body & Stem & Disk: 304,316,316L.Full Precision Machined. Angle Design For Precision Open and Closed.

And Can be Use On level/vertical, and Sticky Liquid. Spring: Stainless Steel Material Sanitary Both End Design. O-ring & Seal Ring: EPDM,SILICON and Vition Material.

PTFE Can be Required (Need Min Q,ty)

Complete Valve: Open By 0.45bar.Max Work 10bar.

Design Can be Use On Food, Pharmaceutical and I.C Industry.

Valve connector end: 3A,BS,SMS,DIN Weld end, Male end, Clamp End.

Middle ﬂange: Can be choice clamp design or 4 screw bolt ﬂange design.

#### Sanitary Butterﬂy Valve:

###### Instructions:

- The butterﬂy valves are designed using for diﬀerent standards and low torque. And the valve can use for diﬀerent handle or actuator.(as actuator manual)

- Make sure the valve is set in correct position on or oﬀ

- The screws on the body must be locked.

- Need to check the valve on-oﬀ in the correct position need to check the on-oﬀ position of the valve.

- The handle which connecting with the valve is not tight.

- Need to keep the valve surface clean and to prevent it being damaged by strong acid

- Disassemble the valve for cleaning inner parts and surface from all screws and gasket.

- Screws loose or bolt shorted on valves will not allow valve to work properly.

- Make sure to check gasket (depends on type of operation) or to replace with a new gasket on schedule to avoid leaking.

#### Notice:

  - PRECAUTION BEFORE USING:

    - Please keep butterﬂy valve dry and always in a safe area.

    - Stocking in right location avoids handle and the butterﬂy valve damage.

  - CLEAN MODLE:

The butterﬂy valve can only be cleaned in mannal position.

  - ASSEMBLY ON THE PIPE LINE:

    - Weld end:

      - Please disassemble the weld ﬂanges for welding to avoid the gasket damaged.

      - Please clean all inner surface while assembling after welding.

      - Please make sure to tighten all screws and bolts.

      - Please turn on-oﬀ position a few times to make sure it works smoothly.

    - Clamp end & Screw end:

      - Please re-check the correct size clamp (ferrule) or thread on valve.

      - Please re-check correct clamp (ferrule) / thread on the piece that are going to be connected.

      - Need to tighten up valve with connecting piece or clamp-ring.

  - ASSEMBLY OF A DIFFERENT HANDLE:

- Please check the dimension of disk to assemble the correct handle

- Please check handle on-oﬀ in correct position after assembling the valve

  - WORK TEMPERATURE & PRESSURE:

- Work pressure for valve: -0.9bar~10bar on water temperature 20°C

- Work temperature(water):-50°C~210°C depend on Rubber seat:

Silicon: -50°C~210°C, EPDM: -40°C~110°C, Viton: -10°C~210°C

| Torque for full open/close(SIZE) | 1" | 11/2" | 2" | 21/2" | 3" | 4" |
| --- | --- | --- | --- | --- | --- | --- |
| H/M | <13 | <13 | <16 | <18 | <23 | <34 |

#### Special note of CSE Butterﬂy valve:

Body: SS304, 316, 316L Material made from precision CNC milling machined

Body connection can be changed and lower torque is available (Standards: BS,

SMS, DIN, 3A, Weld and Male end, Clamp end……ect.

Disk: Out from full machined & high level polished, the surface is less than Ra 0.6μm Disk assembling with the handle or actuator is square 9.5mm or 8 × 12mm or 12 × 12mm, Connection part is meeting USA and Europe requirement

(Electric polished and PTFE coating can be required)

Handle: Diﬀerent Nylon re-force and stainless steel handle in gripper, pull, press type.

From 2 Position up to 12 position, design for your width range and maximum options

#### Range of Diaphragm-Type Valve:

###### Diaphragm valve Aspect design:

- Control mode: Manual Type & Pneumatic Type

- Connection Type: Clamp & Weld

- Body Material: 316L, Forged, Or Casting

- Connection: INCH :1/2”~2”, DIN/ISO: DN10-DN50 other sizes available upon request.

- Work temp: Assembling Diaphragm: EPDM (-40°~150°C), PTFE/EPDM(-10°~150°C)

- Work pressure: MAX 10 Bar

- Surface: Standard: OD/ID mirror polished. ID Ra<0.5μm OD-Sand Blasted or E/P

ID-Polish to Ra<0.5μm(SF1) or E/P Finished Ra,0.38μm(SF4) can be requested.

- Clean model: CIP & Manual.

###### NOTICE:

- Make sure the valve is in the correct position on or oﬀ.

- Opening for cleaning in manual & CIP, Note: DO NOT loose seal /bolts.

- All bolts must be tightened for good operation.

- Be sure when checking the seal to change the seal when product leakage is detected.

#### Compression Valve Ranges:

- Pneumatic valve can be equipped with diﬀerent types of ﬂow design,(as drawing A)

- Can choose SMS, DIN, IDF, RJT, 3A, Ferrule......, Welding; Clamp; Unions.........connect end.

- Material:

3-1. All products being used with ﬂuid are made of stainless steel

AISI 316/316L(1.4401/1.4571).

3-2. The other parts in AISI 304 (1.4301).

3-3. The valve stem is sealed by a special PTFE/EPDM/Silicon/Viton seat and

according to international standard to use in food or pharmaceutical applications.

- Operating air pressure: 5bar-9bar compressed air.

- Control ways:

  - Designed diﬀerent type to control various ﬂow, as type F; T; L...etc.

  - Choose appropriate dimensions of end, as 2".......clamp or welding.

  - Choose appropriate control ways (manual or pneumatic):

c-1. Manual control valve are equipped with a rapid pitch screw to prevent unscrewing. c-2. Or choose air/spring(simple eﬀect); or air/air (double eﬀect) for pneumatic control.

c-3. Can use CSE automatic control box to get signal transfer and complete individual valve control. c-3-1. Signal transfer:

    - with 10-30VDC proximity switch contact:1 or 2pcs (PNP OR NPN).

    - Or 3A 125VAC,30VDC micro switch contact: 2pcs. c-3-2. Complete individual valve control:

Choose (a) or (b) +DC24 3.0W electric valve:1pc & air manifold

(for complete control box).

# BPE FITTINGS

(DT7) DT-4.1.1-1

| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.000 | 76.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 3.000 | 76.2 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 3.000 | 76.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 3.750 | 95.3 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 4.750 | 120.7 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 5.500 | 139.7 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.250 | 158.8 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 8.000 | 203.2 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.500 | 203.2 | 0.109 | 2.77 |

90° WELDING LONG ELBOW

(DT8) DT-4.1.1-4

45° WELDING LONG ELBOW

| SIZE | øD in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 2.252 | 57.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 2.252 | 57.2 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 2.252 | 57.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 2.500 | 63.5 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 3.000 | 76.2 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.374 | 85.7 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.626 | 92.1 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.500 | 114.3 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.250 | 158.8 | 0.109 | 2.77 |

(DT13) DT-4.1.1-5

45° CLAMP/WELD ELBOW

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 2.252 | 57.2 | 1.000 | 25.4 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 2.252 | 57.2 | 1.000 | 25.4 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 2.252 | 57.2 | 1.125 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 2.500 | 63.5 | 1.438 | 36.5 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 3.000 | 76.2 | 1.750 | 44.5 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.374 | 85.7 | 2.063 | 52.4 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.626 | 92.1 | 2.375 | 60.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.500 | 114.3 | 3.125 | 79.4 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.250 | 158.8 | 5.250 | 133.4 | 0.109 | 2.77 |

(DT17) DT-4.1.1-6

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 1.000 | 25.4 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 1.000 | 25.4 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 1.125 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 1.438 | 36.5 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.750 | 44.5 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.063 | 52.4 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 2.375 | 60.3 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 3.125 | 79.4 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 146.86 | 5.250 | 133.4 | 0.109 | 2.77 |

45° CLAMP ELBOW

L

T

ØD

L

T

ØD

L

T

ØD

L

T

ØD

ØD1

55	56

(DT12) DT-4.1.1-2

L

L1

T

ØD

ØD1

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 1.626 | 41.3 | 3.000 | 76.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 1.626 | 41.3 | 3.000 | 76.2 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 2.000 | 50.8 | 3.000 | 76.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 2.752 | 69.9 | 3.752 | 95.3 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 3.500 | 88.9 | 4.752 | 120.7 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 4.252 | 108 | 5.500 | 139.7 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 5.000 | 127 | 6.252 | 158.8 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 6.626 | 168.3 | 8.000 | 203.2 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 166.9 | 10.500 | 266.7 | 11.500 | 292.1 | 0.109 | 2.77 |

90° CLAMP/WELD ELBOW

(DT9) DT-4.1.2-1T

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.750 | 95.2 | 1.875 | 47.6 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 4.000 | 101.6 | 2.000 | 50.8 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 4.250 | 108 | 2.125 | 54 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 4.750 | 120.6 | 2.375 | 60.3 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 5.748 | 146 | 2.875 | 73 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 6.250 | 158.8 | 3.125 | 97.4 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.750 | 171.4 | 3.375 | 85.7 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 8.250 | 209.6 | 4.125 | 104.8 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.250 | 285.8 | 5.625 | 142.9 | 0.109 | 2.77 |

WELDING TEE

ØD

L1

T

L

(DT16) DT-4.1.4-3

90° CLAMP ELBOW

(DT15) DT-4.1.2-2

EQUAL OUTLET WELD/CLAMP TEE

ØD1

ØD

T

ØD

ØD1

L

L1

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 1.626 | 41.3 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 1.626 | 41.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 2.000 | 50.8 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 2.752 | 69.9 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 3.500 | 88.9 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 4.252 | 108 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 5.000 | 127 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 6.626 | 168.3 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 166.9 | 10.500 | 266.7 | 0.109 | 2.77 |

T

(DT23) DT-4.1.1-7

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.000 | 76.2 | 4.500 | 114.3 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 3.000 | 76.2 | 4.500 | 144.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 3.000 | 76.2 | 3.000 | 76.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 4.500 | 114.3 | 3.000 | 76.2 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 5.000 | 127 | 6.000 | 152.4 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 5.752 | 146.1 | 7.500 | 190.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.500 | 165.1 | 9.000 | 228.6 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 8.500 | 215.9 | 12.000 | 304.8 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.500 | 292.1 | 18.000 | 457.2 | 0.109 | 2.77 |

ØD

T

L1

L

180° WELD ELBOW

ØD1

ØD	T

L1

(DT24) DT-4.1.1-8

L	 L1

L

L

T

ØD

ØD1

180° CLAMP ELBOW

L

(DT18) DT-4.1.2-4T

ØD1

ØD

T

L

L1

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 3.750 | 95.2 | 1.000 | 25.4 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 4.000 | 101.6 | 1.125 | 28.6 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 4.250 | 108 | 1.125 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 4.750 | 120.6 | 1.375 | 34.9 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 5.270 | 146 | 1.625 | 41.3 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 6.250 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 6.750 | 171.4 | 2.125 | 54 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 8.250 | 209.6 | 2.750 | 69.9 | 0.083 | 2.1 |

CLAMP TEE

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 4.500 | 114.4 | 4.500 | 57.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 4.750 | 120.6 | 4.750 | 60.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.250 | 133.4 | 5.250 | 66.7 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 5.750 | 146 | 5.750 | 73 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 6.750 | 171.4 | 6.750 | 85.7 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 7.250 | 182.2 | 7.250 | 92.1 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 7.750 | 196.8 | 7.750 | 98.4 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 9.500 | 241.4 | 9.500 | 120.7 | 0.083 | 2.1 |

(DT25) DT-4.1.2-3

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 1.875 | 47.6 | 0.87 | 22.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 2.000 | 50.8 | 1.000 | 25.4 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 2.125 | 54 | 1.125 | 28.6 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 2.375 | 60.3 | 1.375 | 34.9 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 2.875 | 73 | 1.625 | 41.3 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 3.125 | 79.4 | 1.875 | 47.6 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 3.375 | 85.7 | 2.125 | 54 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 4.125 | 104.8 | 2.750 | 69.9 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 166.9 | 5.625 | 142.9 | 4.625 | 117.5 | 0.109 | 2.77 |

SHORT OUTLET RUN WELD/CLAMP TEE

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 3.500 | 88.9 | 4.500 | 114.3 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 3.500 | 88.9 | 4.500 | 144.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 3.500 | 88.9 | 3.000 | 76.2 | 0.065 | 1.65 |
| 11/2" | 1.500 | 38.1 | 1.984 | 50.4 | 5.000 | 127 | 3.000 | 76.2 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 5.000 | 139.7 | 6.000 | 152.4 | 0.065 | 1.65 |
| 21/2" | 2.500 | 63.5 | 3.047 | 77.4 | 6.252 | 158.8 | 7.500 | 190.5 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 7.000 | 177.8 | 9.000 | 228.6 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 9.126 | 231.8 | 12.000 | 304.8 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 166.9 | 13.000 | 330.2 | 18.000 | 457.2 | 0.109 | 2.77 |

Ød1 Ød

t

L

Ød

ØD

T

L1

T

L1

t

ØD

L

(DT10) DT-4.1.2-6

REDUCING TEE

(DT14) DT-4.1.2-7

SHORT OUTLET W/C REDUCING TEE

| SIZE | øD in. mm |  | ød in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.500 | 12.7 | 4.000 | 101.6 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 4.250 | 108 | 2.126 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 4.250 | 108 | 2.126 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 4.748 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 4.748 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 4.748 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 0.500 | 12.7 | 5.740 | 145.8 | 2.626 | 66.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 0.750 | 19.05 | 5.740 | 145.8 | 2.626 | 66.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 5.740 | 145.8 | 2.626 | 66.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/2" | 2.000 | 50.8 | 1.500 | 38.1 | 6.252 | 158.8 | 2.784 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1/2" | 2.500 | 63.5 | 0.500 | 12.7 | 6.252 | 158.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*3/4" | 2.500 | 63.5 | 0.750 | 19.05 | 6.252 | 158.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 1.000 | 25.4 | 6.252 | 158.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11 /2" | 2.500 | 63.5 | 1.500 | 38.1 | 6.252 | 158.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 6.252 | 158.8 | 2.874 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1/2" | 3.000 | 76.2 | 0.500 | 12.7 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*3/4" | 3.000 | 76.2 | 0.750 | 19.05 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 1.000 | 25.4 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 1.500 | 38.1 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 2.500 | 63.5 | 6.740 | 171.2 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 1.000 | 25.4 | 8.240 | 209.3 | 3.626 | 92.1 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 8.240 | 209.3 | 3.626 | 92.1 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 8.240 | 209.3 | 3.874 | 98.4 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 8.240 | 209.3 | 3.874 | 98.4 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 8.240 | 209.3 | 3.874 | 98.4 | 0.083 | 2.1 | 0.065 | 1.65 |

| SIZE | øD in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.500 | 12.7 | 0.984 | 25 | 4.00 | 101.6 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 0.984 | 25 | 4.252 | 108 | 1.125 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 0.984 | 25 | 4.252 | 108 | 1.125 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 0.984 | 25 | 4.748 | 120.6 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 0.984 | 25 | 4.748 | 120.6 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 4.748 | 120.6 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 12.7 | 0.500 | 12.7 | 0.984 | 25 | 5.748 | 146 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 19.05 | 0.750 | 19.05 | 0.984 | 25 | 5.748 | 146 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.748 | 146 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/2" | 2.000 | 50.8 | 1.500 | 38.1 | 1.984 | 50.4 | 5.748 | 146 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1/2" | 2.500 | 12.7 | 0.500 | 12.7 | 0.984 | 25 | 6.252 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*3/4" | 2.500 | 19.05 | 0.750 | 19.05 | 0.984 | 25 | 6.252 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.252 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11 /2" | 2.500 | 63.5 | 1.500 | 38.1 | 1.984 | 50.4 | 6.252 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 2.516 | 63.9 | 6.252 | 158.8 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1/2" | 3.000 | 12.7 | 0.500 | 12.7 | 0.984 | 25 | 6.748 | 171.4 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*3/4" | 3.000 | 19.05 | 0.750 | 19.05 | 0.984 | 25 | 6.748 | 171.4 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.748 | 171.4 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 1.500 | 38.1 | 1.984 | 50.4 | 6.748 | 171.7 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 2.516 | 63.9 | 6.748 | 171.4 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 2.500 | 63.5 | 3.047 | 77.4 | 6.748 | 171.4 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 8.252 | 209.6 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 1.984 | 50.4 | 8.252 | 209.6 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 2.516 | 63.9 | 8.252 | 209.6 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 3.047 | 77.4 | 8.252 | 209.6 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 3.579 | 90.9 | 8.252 | 209.6 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |

# BPE FITTINGS

(DT27) DT-4.1.2-5

ØD1

ØD

L1

T

L

# BPE FITTINGS

Ød

T

L

Ød1

SIZE

1/2"

3/4"

1"

11/ 2"

2"

21/ 2"

3"

4"

øD

in.

0.500

0.750

1.000

1.500

2.000

2.500

3.000

4.000

mm

12.7

19.05

25.4

38.1

50.8

63.5

76.2

101.6

øD1

in.

0.984

0.984

1.339/1.984

1.984

2.516

3.047

3.579

4.681

mm

25

25

34/50.4

50.4

63.9

77.4

90.9

118.9

L

in.	mm

4.504	114.4

4.748	120.6

5.252	133.4

5.748	146

6.748	171.4

7.252	184.2

7.748	196.8

9.504	241.4

L1

in.

1.000

1.126

1.126

1.374

1.626

1.874

2.126

2.752

mm

25.4

28.6

28.6

34.9

41.3

47.6

54

69.9

T

in.	mm

0.065	1.65

0.065	1.65

0.065	1.65

0.065	1.65

0.065	1.65

0.065	1.65

0.065	1.65

0.083	2.1

ØD1

ØD

T

L1

SHORT OUTLET TEE CLAMP END

Ød1 Ød

T

T

ØD1

ØD

L

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.984 | 25 | 0.500 | 12.7 | 0.984 | 25 | 5.000 | 127 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 0.984 | 25 | 5.252 | 133.4 | 1.125 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 0.984 | 25 | 5.252 | 133.4 | 1.125 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 0.984 | 25 | 5.748 | 146 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 0.984 | 25 | 5.748 | 146 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.748 | 146 | 1.375 | 34.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.748 | 171.4 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/ 2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 1.984 | 50.4 | 6.748 | 171.4 | 1.625 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 3.047 | 77.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 7.252 | 184.2 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 1.984 | 50.4 | 7.252 | 184.2 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 2.516 | 63.9 | 7.252 | 184.2 | 1.875 | 47.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 3.579 | 90.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 7.748 | 196.8 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 1.984 | 50.4 | 7.748 | 196.8 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 2.516 | 63.9 | 7.748 | 196.8 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 3.047 | 77.4 | 7.748 | 196.8 | 2.125 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 4.681 | 118.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 9.504 | 241.4 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 1.984 | 50.4 | 9.504 | 241.4 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 2.516 | 63.9 | 9.504 | 241.4 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 3.047 | 77.4 | 9.504 | 241.4 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 3.579 | 90.9 | 9.504 | 241.4 | 2.625 | 66.7 | 0.083 | 2.1 | 0.065 | 1.65 |

(DT19) DT-4.1.2-8

L1

(DT20) DT-4.1.2-9

7RMP REDUCING TEE

REDUCING TEE CLAMP END

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.984 | 25 | 0.500 | 12.7 | 0.984 | 25 | 5.000 | 127 | 2.500 | 63.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 0.984 | 25 | 5.252 | 133.4 | 2.625 | 66.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 0.984 | 25 | 5.252 | 133.4 | 2.625 | 66.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 0.984 | 25 | 5.748 | 146 | 2.875 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 0.984 | 25 | 5.748 | 146 | 2.875 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.748 | 146 | 2.875 | 73 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.748 | 171.4 | 3.125 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*11/ 2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 1.984 | 50.4 | 6.748 | 171.4 | 3.125 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 3.047 | 77.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 7.252 | 184.2 | 3.375 | 85.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*11/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 1.984 | 50.4 | 7.252 | 184.2 | 3.375 | 85.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 2.516 | 63.9 | 7.252 | 184.2 | 3.375 | 85.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 3.579 | 90.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 7.748 | 196.8 | 3.625 | 92.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 1.984 | 50.4 | 7.748 | 196.8 | 3.625 | 92.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 2.516 | 63.9 | 7.748 | 196.8 | 3.625 | 92.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 3.047 | 77.4 | 7.748 | 196.8 | 3.625 | 92.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 4.681 | 118.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 9.504 | 241.4 | 4.125 | 104.8 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 1.984 | 50.4 | 9.504 | 241.4 | 4.125 | 104.8 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 2.516 | 63.9 | 9.504 | 241.4 | 4.375 | 111.1 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 3.047 | 77.4 | 9.504 | 241.4 | 4.375 | 111.1 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 3.579 | 90.9 | 9.504 | 241.4 | 4.375 | 111.1 | 0.083 | 2.1 | 0.065 | 1.65 |

t

L1

(DT18) DT-4.1.2-4C

ØD1

ØD

L1

T

L

ØD1

Ød

| SIZE | øD in. mm |  | øD1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 0.984 | 25 | 4.500 | 114.4 | 2.252 | 57.2 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 0.984 | 25 | 4.750 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.250 | 133.4 | 2.626 | 66.7 | 0.065 | 1.65 |
| 1 1/2" | 1.500 | 38.1 | 1.339/1.984 | 34/50.4 | 5.750 | 146 | 2.874 | 73 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 2.516 | 63.9 | 6.750 | 171.4 | 3.374 | 85.7 | 0.065 | 1.65 |
| 2 1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 7.250 | 182.2 | 3.626 | 92.1 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 3.579 | 90.9 | 7.750 | 196.8 | 3.874 | 98.4 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 4.681 | 118.9 | 9.500 | 241.4 | 4.752 | 120.7 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 6.571 | 166.9 | 14.250 | 362 | 7.126 | 181 | 0.083 | 2.1 |

9MP CROSS CLAMP END

ØD

T

L

(DT28) DT-4.1.2-10

INSTRUMENT TEE WELD/CLAMP

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 5.00 | 127 | 0.074 | 22.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 5.00 | 127 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 5.00 | 127 | 0.074 | 22.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 5.00 | 127 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 5.00 | 127 | 1.126 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 0.500 | 12.7 | 5.504 | 139.8 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 2.516 | 63.9 | 0.750 | 19.05 | 5.504 | 139.8 | 1.126 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 5.504 | 139.8 | 1.252 | 31.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 5.504 | 139.8 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 0.500 | 12.7 | 6.693 | 170 | 1.378 | 35 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*3/4" | 2.500 | 63.5 | 3.047 | 77.4 | 0.750 | 19.05 | 6.693 | 170 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 3.047 | 77.4 | 1.000 | 25.4 | 6.693 | 170 | 1.626 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1 1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 6.693 | 170 | 1.752 | 44.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 6.693 | 170 | 1.890 | 48 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 0.500 | 12.7 | 7.087 | 180 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*3/4" | 3.000 | 76.2 | 3.579 | 90.9 | 0.750 | 19.05 | 7.087 | 180 | 1.626 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 3.579 | 90.9 | 1.000 | 25.4 | 7.087 | 180 | 1.752 | 44.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1 1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 7.087 | 180 | 1.890 | 48 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 7.087 | 180 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2 1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 7.087 | 180 | 2.126 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1/2" | 4.000 | 101.6 | 4.681 | 118.9 | 0.500 | 12.7 | 8.661 | 220 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*3/4" | 4.000 | 101.6 | 4.681 | 118.9 | 0.750 | 19.05 | 8.661 | 220 | 3.252 | 82.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 4.681 | 118.9 | 1.000 | 25.4 | 8.661 | 220 | 3.374 | 85.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 8.661 | 220 | 3.500 | 88.9 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 8.661 | 220 | 3.748 | 95.2 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 8.661 | 220 | 3.874 | 98.4 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 8.661 | 220 | 4.000 | 101.6 | 0.083 | 2.1 | 0.065 | 1.65 |

ØD

L1

T

(DT9) DT-4.1.2-1C

9W CROSS WELD END

| SIZE | øD in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.500 | 12.7 | 3.748 | 95.2 | 1.874 | 47.6 | 0.065 | 1.65 |
| 3/4" | 0.750 | 19.05 | 4.000 | 101.6 | 2.000 | 50.8 | 0.065 | 1.65 |
| 1" | 1.000 | 25.4 | 4.252 | 108 | 2.126 | 54 | 0.065 | 1.65 |
| 1 1/2" | 1.500 | 38.1 | 4.748 | 120.6 | 2.374 | 60.3 | 0.065 | 1.65 |
| 2" | 2.000 | 50.8 | 5.748 | 146 | 2.874 | 73 | 0.065 | 1.65 |
| 2 1/2" | 2.500 | 63.5 | 6.252 | 158.8 | 3.126 | 79.4 | 0.065 | 1.65 |
| 3" | 3.000 | 76.2 | 6.748 | 171.4 | 3.374 | 85.7 | 0.065 | 1.65 |
| 4" | 4.000 | 101.6 | 8.252 | 209.6 | 4.126 | 104.8 | 0.083 | 2.1 |
| 6" | 6.000 | 152.4 | 11.252 | 285.8 | 5.625 | 142.9 | 0.109 | 2.77 |

ØD1

ØD

T

L

Ød1

Ød

t

L1

(DT29) DT-4.1.2-11

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | L1 in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 0.984 | 25 | 5.00 | 154 | 0.074 | 22.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 0.984 | 25 | 5.00 | 154 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 0.984 | 25 | 6.000 | 152.4 | 0.074 | 22.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 0.984 | 25 | 6.000 | 152.4 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1 1/2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.000 | 152.4 | 1.126 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 0.500 | 12.7 | 0.984 | 25 | 6.504 | 165.2 | 1.000 | 25.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 2.516 | 63.9 | 0.750 | 19.05 | 0.984 | 25 | 6.504 | 165.2 | 1.126 | 28.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 6.504 | 165.2 | 1.252 | 31.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 1.984 | 50.4 | 6.504 | 165.2 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 0.500 | 12.7 | 0.984 | 25 | 7.638 | 194 | 1.378 | 35 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*3/4" | 2.500 | 63.5 | 3.047 | 77.4 | 0.750 | 19.05 | 0.984 | 25 | 7.638 | 194 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1" | 2.500 | 63.5 | 3.047 | 77.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 7.638 | 194 | 1.626 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*1 1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 1.984 | 50.4 | 7.638 | 194 | 1.752 | 44.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2 1/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 2.516 | 63.9 | 7.638 | 194 | 1.890 | 48 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 0.500 | 12.7 | 0.984 | 25 | 8.031 | 204 | 1.500 | 38.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*3/4" | 3.000 | 76.2 | 3.579 | 90.9 | 0.750 | 19.05 | 0.984 | 25 | 8.031 | 204 | 1.626 | 41.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1" | 3.000 | 76.2 | 3.579 | 90.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 8.031 | 204 | 1.752 | 44.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*1 1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 1.984 | 50.4 | 8.031 | 204 | 1.890 | 48 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 2.516 | 63.9 | 8.031 | 204 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2 1/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 3.047 | 77.4 | 8.031 | 204 | 2.126 | 54 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1/2" | 4.000 | 101.6 | 4.681 | 118.9 | 0.500 | 12.7 | 0.984 | 25 | 9.606 | 244 | 3.126 | 79.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*3/4" | 4.000 | 101.6 | 4.681 | 118.9 | 0.750 | 19.05 | 0.984 | 25 | 9.606 | 244 | 3.252 | 82.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*1" | 4.000 | 101.6 | 4.681 | 118.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 9.606 | 244 | 3.374 | 85.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 1.984 | 50.4 | 9.606 | 244 | 3.500 | 88.9 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 2.516 | 63.9 | 9.606 | 244 | 3.748 | 95.2 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 3.047 | 77.4 | 9.606 | 244 | 3.874 | 98.4 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 3.579 | 90.9 | 9.606 | 244 | 4.000 | 101.6 | 0.083 | 2.1 | 0.065 | 1.65 |

INSTRUMENT TEE CLAMP END

L

ØD

T

t

Ød

(DT11) DT-4.1.3-1AC

SIZE

3/4"*1/2"

1"*1/2"

1"*3/4"

11/2"*1/2"

11/2"*3/4"

11 /2"*1"

2"*1/2"

2"*3/4"

2"*1"

2"*1 1/2"

21/2"*1 1/2"

21/2"*2"

3"*11/2"

3"*2"

3"*21/2"

4"*11/2"

4"*2"

4"*21/2"

4"*3"

in.

0.750

1.000

1.000

1.500

1.500

1.500

2.000

2.000

2.000

2.000

2.500

2.500

3.000

3.000

3.000

4.000

4.000

4.000

4.000

øD

mm

19.05

25.4

25.4

38.1

38.1

38.1

50.8

50.8

50.8

50.8

63.5

63.5

76.2

76.2

76.2

101.6

101.6

101.6

101.6

in.

0.500

0.500

0.750

0.500

0.750

1.000

0.500

0.750

1.000

1.500

1.500

2.000

1.500

2.000

2.500

1.500

2.000

2.500

3.000

ød

mm

12.7

12.7

19.05

12.7

19.05

25.4

12.7

19.05

25.4

38.1

38.1

50.8

38.1

50.8

63.5

38.1

50.8

63.5

76.2

in.

4.000

4.500

4.000

5.500

5.000

5.000

7.752

7.252

7.252

5.252

7.252

5.000

9.252

7.500

5.500

13.500

11.752

9.634

7.752

L

mm

101.6

114.3

101.6

139.7

127

127

196.9

184.2

184.2

133.4

184.2

139.7

235

190.5

139.7

342.9

298.5

247.7

196.9

in.

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

0.083

0.083

0.083

T

mm

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

2.1

2.1

2.1

in.

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

t

mm

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

CONCENTRIC  REDUCER

L

ØD1

ØD

T

t

Ød

Ød1

(DT21) DT-4.1.3-3AE

14MP

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | ød1 in. mm |  | L in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.984 | 25 | 0.500 | 12.7 | 0.984 | 25 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 0.984 | 25 | 2.500 | 63.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 0.984 | 25 | 2.000 | 50.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 0.984 | 25 | 3.500 | 88.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 0.984 | 25 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11 /2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 0.500 | 12.7 | 0.984 | 25 | 5.500 | 139.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 2.516 | 63.9 | 0.750 | 19.05 | 0.984 | 25 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 1.984 | 50.4 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*1 1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 1.984 | 50.4 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 2.516 | 63.9 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 1.984 | 50.4 | 7.000 | 117.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 2.516 | 63.9 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 3.047 | 77.4 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 1.984 | 50.4 | 11.126 | 282.6 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 2.516 | 63.9 | 9.126 | 231.8 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 3.047 | 77.4 | 7.126 | 181 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 3.579 | 90.9 | 5.126 | 130.2 | 0.083 | 2.1 | 0.083 | 2.1 |

T

t

T

t

BPE FITTINGS	BPE FITTINGS

ØD1

ØD

Ød

L

(DT26) DT-4.1.3-2AC

ØD1

ØD

Ød

Ød1

L

(DT21) DT-4.1.3-3AE

CONCENTRIC REDUCER		14MP ECCENTRIC REDUCER

SIZE

3/4"*1/2"

in.

0.750

øD

mm

19.05

in.

0.984

øD1

mm

25

in.

0.500

ød

mm

12.7

in.

3.000

L

mm

76.2

in.

0.065

T

mm

1.65

in.

0.065

t

mm

1.65

SIZE

3/4"*1/2"

øD

in.

0.750

mm

19.05

in.

0.984

øD1

mm

25

in.

0.500

ød

mm

12.7

in.

ød1

mm

in.

2.000

L

mm

50.8

T

in.

0.065

mm

1.65

in.

0.065

t

mm

1.65

1"*1/2"

1"*3/4"

11/2"*1/2"

11/2"*3/4"

11 /2"*1"

2"*1/2"

2"*3/4"

2"*1"

2"*1 1/2"

21/2"*1 1/2"

21/2"*2"

3"*11/2"

3"*2"

3"*21/2"

4"*11/2"

4"*2"

4"*21/2"

T

4"*3"

1.000

1.000

1.500

1.500

1.500

2.000

2.000

2.000

2.000

2.500

2.500

3.000

3.000

3.000

4.000

4.000

4.000

4.000

25.4

25.4

38.1

38.1

38.1

50.8

50.8

50.8

50.8

63.5

63.5

76.2

76.2

76.2

101.6

101.6

101.6

101.6

1.339/1.984

1.339/1.984

1.984

1.984

1.984

2.516

2.516

2.516

2.516

3.047

3.047

3.579

3.579

3.579

4.681

4.681

4.681

4.681

34/50.4

34/50.4

50.4

50.4

50.4

63.9

63.9

63.9

63.9

77.4

77.4

90.9

90.9

90.9

118.9

118.9

118.9

118.9

0.500

0.750

0.500

0.750

1.000

0.500

0.750

1.000

1.500

1.500

2.000

1.500

2.000

2.500

1.500

2.000

2.500

3.000

12.7

19.05

12.7

19.05

25.4

12.7

19.05

25.4

38.1

38.1

50.8

38.1

50.8

63.5

38.1

50.8

63.5

76.2

3.500

3.000

4.500

4.000

4.000

6.500

6.000

6.000

4.000

6.000

4.248

8.000

6.252

4.252

12.126

10.374

8.374

6.374

88.9

76.2

114.3

101.6

101.6

165.1

152.4

152.4

101.6

152.4

107.9

203.2

158.8

108

308

263.5

212.7

161.9

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

0.083

0.083

0.083

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

2.1

2.1

2.1

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

1"*1/2"

1"*3/4"

11/2"*1/2"

11/2"*3/4"

11 /2"*1"

2"*1/2"

2"*3/4"

2"*1"

2"*1 1/2"

21/2"*1 1/2"

21/2"*2"

3"*11/2"

3"*2"

3"*21/2"

4"*11/2"

4"*2"

4"*21/2"

4"*3"

1.000

1.000

1.500

1.500

1.500

2.000

2.000

2.000

2.000

2.500

2.500

3.000

3.000

3.000

4.000

4.000

4.000

4.000

25.4

25.4

38.1

38.1

38.1

50.8

50.8

50.8

50.8

63.5

63.5

76.2

76.2

76.2

101.6

101.6

101.6

T

101.6

1.339/1.984

1.339/1.984

1.984

1.984

1.984

2.516

2.516

2.516

2.516

3.047

3.047

3.579

3.579

3.579

4.681

4.681

4.681

4.681

34/50.4

34/50.4

50.4

50.4

50.4

63.9

63.9

63.9

63.9

77.4

77.4

90.9

90.9

90.9

118.9

118.9

118.9

118.9

0.500

0.750

0.500

0.750

1.000

0.500

0.750

1.000

1.500

1.500

2.000

1.500

2.000

2.500

1.500

2.000

2.500

3.000

12.7

19.05

12.7

19.05

25.4

12.7

19.05

25.4

38.1

38.1

50.8

38.1

50.8

63.5

38.1

50.8

63.5

76.2

0.984

0.984

0.984

0.984

1.339/1.984

0.984

0.984

1.339/1.984

1.984

1.984

2.516

1.984

2.516

3.047

1.984

2.516

3.047

3.579

25

25

25

25

34/50.4

25

25

34/50.4

50.4

50.4

63.9

50.4

63.9

77.4

50.4

63.9

77.4

90.9

2.500

2.000

3.500

3.000

3.000

5.500

5.000

5.000

3.000

5.000

3.000

7.000

5.000

3.000

11.126

9.126

7.126

5.126

63.5

50.8

88.9

76.2

76.2

139.7

127

127

76.2

127

76.2

117.8

127

76.2

282.6

231.8

181

130.2

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

0.083

0.083

0.083

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

2.1

2.1

2.1

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.065

0.083

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

1.65

2.1

ØD

t

Ød

ØD1

ØD

t

Ød

L

(DT11) DT-4.1.3-1AE

L

(DT26) DT-4.1.3-2AE

| SIZE | øD in. mm |  | ød in. mm |  | L in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.500 | 12.7 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 0.500 | 12.7 | 4.500 | 114.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 0.750 | 19.05 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1/2" | 1.500 | 38.1 | 0.500 | 12.7 | 5.500 | 139.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*3/4" | 1.500 | 38.1 | 0.750 | 19.05 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11 /2"*1" | 1.500 | 38.1 | 1.000 | 25.4 | 5.000 | 127 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 0.500 | 12.7 | 7.752 | 196.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 0.750 | 19.05 | 7.252 | 184.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 1.000 | 25.4 | 7.252 | 184.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 1.500 | 38.1 | 5.252 | 133.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*1 1/2" | 2.500 | 63.5 | 1.500 | 38.1 | 7.252 | 184.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*2" | 2.500 | 63.5 | 2.000 | 50.8 | 5.000 | 139.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 1.500 | 38.1 | 9.252 | 235 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 2.000 | 50.8 | 7.500 | 190.5 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 2.500 | 63.5 | 5.500 | 139.7 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 1.500 | 38.1 | 13.500 | 342.9 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 2.000 | 50.8 | 11.752 | 298.5 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 2.500 | 63.5 | 9.634 | 247.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 3.000 | 76.2 | 7.752 | 196.9 | 0.083 | 2.1 | 0.083 | 2.1 |

| SIZE | øD in. mm |  | øD1 in. mm |  | ød in. mm |  | L in. mm |  | T in. mm |  | t in. mm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3/4"*1/2" | 0.750 | 19.05 | 0.984 | 25 | 0.500 | 12.7 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*1/2" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.500 | 12.7 | 3.500 | 88.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 1"*3/4" | 1.000 | 25.4 | 1.339/1.984 | 34/50.4 | 0.750 | 19.05 | 3.000 | 76.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*1/2" | 1.500 | 38.1 | 1.984 | 50.4 | 0.500 | 12.7 | 4.500 | 114.3 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11/2"*3/4" | 1.500 | 38.1 | 1.984 | 50.4 | 0.750 | 19.05 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 11 /2"*1" | 1.500 | 38.1 | 1.984 | 50.4 | 1.000 | 25.4 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 0.500 | 12.7 | 6.500 | 165.1 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*3/4" | 2.000 | 50.8 | 2.516 | 63.9 | 0.750 | 19.05 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1" | 2.000 | 50.8 | 2.516 | 63.9 | 1.000 | 25.4 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 2"*1 1/2" | 2.000 | 50.8 | 2.516 | 63.9 | 1.500 | 38.1 | 4.000 | 101.6 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*1 1/2" | 2.500 | 63.5 | 3.047 | 77.4 | 1.500 | 38.1 | 6.000 | 152.4 | 0.065 | 1.65 | 0.065 | 1.65 |
| 21/2"*2" | 2.500 | 63.5 | 3.047 | 77.4 | 2.000 | 50.8 | 4.248 | 107.9 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*11/2" | 3.000 | 76.2 | 3.579 | 90.9 | 1.500 | 38.1 | 8.000 | 203.2 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.000 | 50.8 | 6.252 | 158.8 | 0.065 | 1.65 | 0.065 | 1.65 |
| 3"*21/2" | 3.000 | 76.2 | 3.579 | 90.9 | 2.500 | 63.5 | 4.252 | 108 | 0.065 | 1.65 | 0.065 | 1.65 |
| 4"*11/2" | 4.000 | 101.6 | 4.681 | 118.9 | 1.500 | 38.1 | 12.126 | 308 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.000 | 50.8 | 10.374 | 263.5 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*21/2" | 4.000 | 101.6 | 4.681 | 118.9 | 2.500 | 63.5 | 8.374 | 212.7 | 0.083 | 2.1 | 0.065 | 1.65 |
| 4"*3" | 4.000 | 101.6 | 4.681 | 118.9 | 3.000 | 76.2 | 6.374 | 161.9 | 0.083 | 2.1 | 0.083 | 2.1 |

ECCENTRIC REDUCER		ECCENTRIC REDUCER

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 1 | A270S2.SF1-.50 | 1/2" 1.65mm | Auto Welded Tube L=6.1M SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 2 | A270S2.SF1-.75 | 3/4" 1.65mm |  |
| 3 | A270S2.SF1-1 | 1" 1.65mm |  |
| 4 | A270S2.SF1-15 | 1.5" 1.65mm |  |
| 5 | A270S2.SF1-2 | 2" 1.65mm |  |
| 6 | A270S2.SF1-25 | 2.5" 1.65mm |  |
| 7 | A270S2.SF1-3 | 3" 1.65mm |  |
| 8 | A270S2.SF1-4 | 4" 2.1mm |  |
| 9 | A270S2.SF4-.50 | 1/2" 1.65mm | Auto Welded Tube L=6.1M SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 10 | A270S2.SF4-.75 | 3/4" 1.65mm |  |
| 11 | A270S2.SF4-1 | 1" 1.65mm |  |
| 12 | A270S2.SF4-15 | 1.5" 1.65mm |  |
| 13 | A270S2.SF4-2 | 2" 1.65mm |  |
| 14 | A270S2.SF4-25 | 2.5" 1.65mm |  |
| 15 | A270S2.SF4-3 | 3" 1.65mm |  |
| 16 | A270S2.SF4-4 | 4" 2.1mm |  |
| 17 | 4111.SF1-.50 | 1/2" 1.65mm | DT7 Elbow 90° Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 18 | 4111.SF1-.75 | 3/4" 1.65mm |  |
| 19 | 4111.SF1-1 | 1" 1.65mm |  |
| 20 | 4111.SF1-15 | 1.5" 1.65mm |  |
| 21 | 4111.SF1-2 | 2" 1.65mm |  |
| 22 | 4111.SF1-25 | 2.5" 1.65mm |  |
| 23 | 4111.SF1-3 | 3" 1.65mm |  |
| 24 | 4111.SF1-4 | 4" 2.1mm |  |
| 25 | 4111.SF4-.50 | 1/2" 1.65mm | DT7 Elbow 90° Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 26 | 4111.SF4-.75 | 3/4" 1.65mm |  |
| 27 | 4111.SF4-1 | 1" 1.65mm |  |
| 28 | 4111.SF4-15 | 1.5" 1.65mm |  |
| 29 | 4111.SF4-2 | 2" 1.65mm |  |
| 30 | 4111.SF4-25 | 2.5" 1.65mm |  |
| 31 | 4111.SF4-3 | 3" 1.65mm |  |
| 32 | 4111.SF4-4 | 4" 2.1mm |  |
| 33 | 4114.SF1-.50 | 1/2" 1.65mm | DT8 Elbow 45° Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 34 | 4114.SF1-.75 | 3/4" 1.65mm |  |
| 35 | 4114.SF1-1 | 1" 1.65mm |  |
| 36 | 4114.SF1-15 | 1.5" 1.65mm |  |
| 37 | 4114.SF1-2 | 2" 1.65mm |  |
| 38 | 4114.SF1-25 | 2.5" 1.65mm |  |
| 39 | 4114.SF1-3 | 3" 1.65mm |  |
| 40 | 4114.SF1-4 | 4" 2.1mm |  |
| 41 | 4114.SF4-.50 | 1/2" 1.65mm | DT8 Elbow 45° Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 42 | 4114.SF4-.75 | 3/4" 1.65mm |  |
| 43 | 4114.SF4-1 | 1" 1.65mm |  |
| 44 | 4114.SF4-15 | 1.5" 1.65mm |  |
| 45 | 4114.SF4-2 | 2" 1.65mm |  |
| 46 | 4114.SF4-25 | 2.5" 1.65mm |  |
| 47 | 4114.SF4-3 | 3" 1.65mm |  |
| 48 | 4114.SF4-4 | 4" 2.1mm |  |
| 49 | 4121T.SF1-.50 | 1/2" 1.65mm | DT9 Tee Equal Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 50 | 4121T.SF1-.75 | 3/4" 1.65mm |  |
| 51 | 4121T.SF1-1 | 1" 1.65mm |  |
| 52 | 4121T.SF1-15 | 1.5" 1.65mm |  |
| 53 | 4121T.SF1-2 | 2" 1.65mm |  |
| 54 | 4121T.SF1-25 | 2.5" 1.65mm |  |
| 55 | 4121T.SF1-3 | 3" 1.65mm |  |
| 56 | 4121T.SF1-4 | 4" 2.1mm |  |
| 57 | 4121T.SF4-.50 | 1/2" 1.65mm | DT9 Tee Equal Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 58 | 4121T.SF4-.75 | 3/4" 1.65mm |  |
| 59 | 4121T.SF4-1 | 1" 1.65mm |  |
| 60 | 4121T.SF4-15 | 1.5" 1.65mm |  |
| 61 | 4121T.SF4-2 | 2" 1.65mm |  |
| 62 | 4121T.SF4-25 | 2.5" 1.65mm |  |
| 63 | 4121T.SF4-3 | 3" 1.65mm |  |
| 64 | 4121T.SF4-4 | 4" 2.1mm |  |
| 65 | 4121C.SF1-.50 | 1/2" 1.65mm | DT9 Cross Equal Long Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 66 | 4121C.SF1-.75 | 3/4" 1.65mm |  |
| 67 | 4121C.SF1-1 | 1" 1.65mm |  |
| 68 | 4121C.SF1-15 | 1.5" 1.65mm |  |
| 69 | 4121C.SF1-2 | 2" 1.65mm |  |
| 70 | 4121C.SF1-25 | 2.5" 1.65mm |  |
| 71 | 4121C.SF1-3 | 3" 1.65mm |  |
| 72 | 4121C.SF1-4 | 4" 2.1mm |  |
| 73 | 4121C.SF4-.50 | 1/2" 1.65mm | DT9 Cross Equal Long Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 74 | 4121C.SF4-.75 | 3/4" 1.65mm |  |
| 75 | 4121C.SF4-1 | 1" 1.65mm |  |
| 76 | 4121C.SF4-15 | 1.5" 1.65mm |  |
| 77 | 4121C.SF4-2 | 2" 1.65mm |  |
| 78 | 4121C.SF4-25 | 2.5" 1.65mm |  |
| 79 | 4121C.SF4-3 | 3" 1.65mm |  |
| 80 | 4121C.SF4-4 | 4" 2.1mm |  |
| 81 | 4126.SF1-7550 | 3/4"*1/2" 1.65mm | DT10 Tee Reducing Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 82 | 4126.SF1-1050 | 1"*1/2" 1.65mm |  |
| 83 | 4126.SF1-1075 | 1"*3/4" 1.65mm |  |
| 84 | 4126.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 85 | 4126.SF1-1575 | 1.5"*3/4" 1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 86 | 4126.SF1-1510 | 1.5"*1" 1.65mm | DT10 Tee Reducing Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 87 | 4126.SF1-2050 | 2"*1/2" 1.65mm |  |
| 88 | 4126.SF1-2075 | 2"*3/4" 1.65mm |  |
| 89 | 4126.SF1-2010 | 2"*1" 1.65mm |  |
| 90 | 4126.SF1-2015 | 2"*1.5" 1.65mm |  |
| 91 | 4126.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 92 | 4126.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 93 | 4126.SF1-2510 | 2.5"*1" 1.65mm |  |
| 94 | 4126.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 95 | 4126.SF1-2520 | 2.5"*2" 1.65mm |  |
| 96 | 4126.SF1-3050 | 3"*1/2" 1.65mm |  |
| 97 | 4126.SF1-3075 | 3"*3/4" 1.65mm |  |
| 98 | 4126.SF1-3010 | 3"*1" 1.65mm |  |
| 99 | 4126.SF1-3015 | 3"*1.5" 1.65mm |  |
| 100 | 4126.SF1-3020 | 3"*2" 1.65mm |  |
| 101 | 4126.SF1-3025 | 3"*2.5" 1.65mm |  |
| 102 | 4126.SF1-4050 | 4"*1/2" 2.1*1.65mm |  |
| 103 | 4126.SF1-4075 | 4"*3/4" 2.1*1.65mm |  |
| 104 | 4126.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 105 | 4126.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 106 | 4126.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 107 | 4126.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 108 | 4126.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 109 | 4126.SF4-7550 | 3/4"*1/2" 1.65mm | DT10 Tee Reducing Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 110 | 4126.SF4-1050 | 1"*1/2" 1.65mm |  |
| 111 | 4126.SF4-1075 | 1"*3/4" 1.65mm |  |
| 112 | 4126.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 113 | 4126.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 114 | 4126.SF4-1510 | 1.5"*1" 1.65mm |  |
| 115 | 4126.SF4-2050 | 2"*1/2" 1.65mm |  |
| 116 | 4126.SF4-2075 | 2"*3/4" 1.65mm |  |
| 117 | 4126.SF4-2010 | 2"*1" 1.65mm |  |
| 118 | 4126.SF4-2015 | 2"*1.5" 1.65mm |  |
| 119 | 4126.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 120 | 4126.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 121 | 4126.SF4-2510 | 2.5"*1" 1.65mm |  |
| 122 | 4126.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 123 | 4126.SF4-2520 | 2.5"*2" 1.65mm |  |
| 124 | 4126.SF4-3050 | 3"*1/2" 1.65mm |  |
| 125 | 4126.SF4-3075 | 3"*3/4" 1.65mm |  |
| 126 | 4126.SF4-3010 | 3"*1" 1.65mm |  |
| 127 | 4126.SF4-3015 | 3"*1.5" 1.65mm |  |
| 128 | 4126.SF4-3020 | 3"*2" 1.65mm |  |
| 129 | 4126.SF4-3025 | 3"*2.5" 1.65mm |  |
| 130 | 4126.SF4-4050 | 4"*1/2" 2.1*1.65mm |  |
| 131 | 4126.SF4-4075 | 4"*3/4" 2.1*1.65mm |  |
| 132 | 4126.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 133 | 4126.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 134 | 4126.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 135 | 4126.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 136 | 4126.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 137 | 4131AC.SF1-7550 | 3/4"*1/2" 1.65mm | DT11 Concentric Reducer Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 138 | 4131AC.SF1-1050 | 1"*1/2" 1.65mm |  |
| 139 | 4131AC.SF1-1075 | 1"*3/4" 1.65mm |  |
| 140 | 4131AC.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 141 | 4131AC.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 142 | 4131AC.SF1-1510 | 1.5"*1" 1.65mm |  |
| 143 | 4131AC.SF1-2050 | 2"*1/2" 1.65mm |  |
| 144 | 4131AC.SF1-2075 | 2"*3/4" 1.65mm |  |
| 145 | 4131AC.SF1-2010 | 2"*1" 1.65mm |  |
| 146 | 4131AC.SF1-2015 | 2"*1.5" 1.65mm |  |
| 147 | 4131AC.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 148 | 4131AC.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 149 | 4131AC.SF1-2510 | 2.5"*1" 1.65mm |  |
| 150 | 4131AC.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 151 | 4131AC.SF1-2520 | 2.5"*2" 1.65mm |  |
| 152 | 4131AC.SF1-3010 | 3"*1" 1.65mm |  |
| 153 | 4131AC.SF1-3015 | 3"*1.5" 1.65mm |  |
| 154 | 4131AC.SF1-3020 | 3"*2" 1.65mm |  |
| 155 | 4131AC.SF1-3025 | 3"*2.5" 1.65mm |  |
| 156 | 4131AC.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 157 | 4131AC.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 158 | 4131AC.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 159 | 4131AC.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 160 | 4131AC.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 161 | 4131AC.SF4-7550 | 3/4"*1/2" 1.65mm | DT11 Concentric Reducer Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 162 | 4131AC.SF4-1050 | 1"*1/2" 1.65mm |  |
| 163 | 4131AC.SF4-1075 | 1"*3/4" 1.65mm |  |
| 164 | 4131AC.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 165 | 4131AC.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 166 | 4131AC.SF4-1510 | 1.5"*1" 1.65mm |  |
| 167 | 4131AC.SF4-2050 | 2"*1/2" 1.65mm |  |
| 168 | 4131AC.SF4-2075 | 2"*3/4" 1.65mm |  |
| 169 | 4131AC.SF4-2010 | 2"*1" 1.65mm |  |
| 170 | 4131AC.SF4-2015 | 2"*1.5" 1.65mm |  |

BPE Items

# BPE FITTINGS

TYPE A	TYPE B

1/2" & 3/4" & 1.0"	1.0"~6.0"

ØA

ØD

L,L1,L2

|  | ØA |  |  |
| --- | --- | --- | --- |
|  |  |  | L,L1,L2 |
| ØD |  |  |  |

ØB	 ØB

(DT22) DT-4.1.4-1

| SIZE | in. | øA |  | mm | in. | øB |  | mm | in. | øD |  | mm | in. | L |  | mm | in. | L1 |  | mm | in. | L2 |  | mm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/2" | 0.370 |  | 9.4 |  | 0.500 |  | 12.7 |  | 0.984 |  | 25 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 1.752 |  | 44.5 |  |
| 3/4" | 0.618 |  | 15.75 |  | 0.750 |  | 19.05 |  | 0.984 |  | 25 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 1.752 |  | 44.5 |  |
| 1" | 0.870 |  | 22.1 |  | 1.000 |  | 1.000 |  | 1.339/1.984 |  | 34/50.4 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 1.752 |  | 44.5 |  |
| 1 1/2" | 1.370 |  | 34.8 |  | 1.500 |  | 38.1 |  | 1.339/1.984 |  | 34/50.4 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 1.752 |  | 44.5 |  |
| 2" | 1.870 |  | 47.5 |  | 2.000 |  | 50.8 |  | 2.516 |  | 63.9 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 2.252 |  | 57.2 |  |
| 2 1/2" | 2.370 |  | 60.2 |  | 2.500 |  | 63.5 |  | 3.047 |  | 77.4 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 2.252 |  | 57.2 |  |
| 3" | 2.870 |  | 72.9 |  | 3.000 |  | 76.2 |  | 3.579 |  | 90.9 |  | 0.500 |  | 12.7 |  | 1.130 |  | 28.7 |  | 2.252 |  | 57.2 |  |
| 4" | 3.835 |  | 97.4 |  | 4.000 |  | 101.6 |  | 4.681 |  | 118.9 |  | 0.626 |  | 15.9 |  | 1.130 |  | 28.7 |  | 2.252 |  | 57.2 |  |
| 6" | 5.780 |  | 146.9 |  | 5.000 |  | 152.4 |  | 6.571 |  | 166.9 |  | 0.752 |  | 19.1 |  | 1.500 |  | 38.1 |  | 3.000 |  | 76.2 |  |

AWF WELD FERRULE

(DT31) DT-4.1.5-2

L

ØD

| SIZE | øD in. mm |  | L in. mm |  |
| --- | --- | --- | --- | --- |
| 1/2" | 0.984 | 25 | 0.187 | 4.7 |
| 3/4" | 0.984 | 25 | 0.187 | 4.7 |
| 1" | 1.339/1.984 | 34/50.4 | 0.250 | 6.4 |
| 1 1/2" | 1.339/1.984 | 34/50.4 | 0.250 | 6.4 |
| 2" | 2.516 | 63.9 | 0.250 | 6.4 |
| 2 1/2" | 3.047 | 77.4 | 0.250 | 6.4 |
| 3" | 3.579 | 90.9 | 0.250 | 6.4 |
| 4" | 4.681 | 118.9 | 0.312 | 7.9 |
| 6" | 6.571 | 166.9 | 0.437 | 11.1 |

SOLID END CAP

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 171 | 4131AC.SF4-2550 | 2.5"*1/2" 1.65mm | DT11 Concentric Reducer Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 172 | 4131AC.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 173 | 4131AC.SF4-2510 | 2.5"*1" 1.65mm |  |
| 174 | 4131AC.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 175 | 4131AC.SF4-2520 | 2.5"*2" 1.65mm |  |
| 176 | 4131AC.SF4-3010 | 3"*1" 1.65mm |  |
| 177 | 4131AC.SF4-3015 | 3"*1.5" 1.65mm |  |
| 178 | 4131AC.SF4-3020 | 3"*2" 1.65mm |  |
| 179 | 4131AC.SF4-3025 | 3"*2.5" 1.65mm |  |
| 180 | 4131AC.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 181 | 4131AC.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 182 | 4131AC.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 183 | 4131AC.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 184 | 4131AC.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 185 | 4131AE.SF1-7550 | 3/4"*1/2" 1.65mm | DT11 Eccentric Reducer Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 186 | 4131AE.SF1-1050 | 1"*1/2" 1.65mm |  |
| 187 | 4131AE.SF1-1075 | 1"*3/4" 1.65mm |  |
| 188 | 4131AE.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 189 | 4131AE.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 190 | 4131AE.SF1-1510 | 1.5"*1" 1.65mm |  |
| 191 | 4131AE.SF1-2050 | 2"*1/2" 1.65mm |  |
| 192 | 4131AE.SF1-2075 | 2"*3/4" 1.65mm |  |
| 193 | 4131AE.SF1-2010 | 2"*1" 1.65mm |  |
| 194 | 4131AE.SF1-2015 | 2"*1.5" 1.65mm |  |
| 195 | 4131AE.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 196 | 4131AE.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 197 | 4131AE.SF1-2510 | 2.5"*1" 1.65mm |  |
| 198 | 4131AE.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 199 | 4131AE.SF1-2520 | 2.5"*2" 1.65mm |  |
| 200 | 4131AE.SF1-3010 | 3"*1" 1.65mm |  |
| 201 | 4131AE.SF1-3015 | 3"*1.5" 1.65mm |  |
| 202 | 4131AE.SF1-3020 | 3"*2" 1.65mm |  |
| 203 | 4131AE.SF1-3025 | 3"*2.5" 1.65mm |  |
| 204 | 4131AE.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 205 | 4131AE.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 206 | 4131AE.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 207 | 4131AE.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 208 | 4131AE.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 209 | 4131AE.SF4-7550 | 3/4"*1/2" 1.65mm | DT11 Eccentric Reducer Weld Ends SF4 ID EP Finished Ra<0.38 μm/ OD Pol. Ra<0.8μm |
| 210 | 4131AE.SF4-1050 | 1"*1/2" 1.65mm |  |
| 211 | 4131AE.SF4-1075 | 1"*3/4" 1.65mm |  |
| 212 | 4131AE.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 213 | 4131AE.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 214 | 4131AE.SF4-1510 | 1.5"*1" 1.65mm |  |
| 215 | 4131AE.SF4-2050 | 2"*1/2" 1.65mm |  |
| 216 | 4131AE.SF4-2075 | 2"*3/4" 1.65mm |  |
| 217 | 4131AE.SF4-2010 | 2"*1" 1.65mm |  |
| 218 | 4131AE.SF4-2015 | 2"*1.5" 1.65mm |  |
| 219 | 4131AE.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 220 | 4131AE.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 221 | 4131AE.SF4-2510 | 2.5"*1" 1.65mm |  |
| 222 | 4131AE.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 223 | 4131AE.SF4-2520 | 2.5"*2" 1.65mm |  |
| 224 | 4131AE.SF4-3010 | 3"*1" 1.65mm |  |
| 225 | 4131AE.SF4-3015 | 3"*1.5" 1.65mm |  |
| 226 | 4131AE.SF4-3020 | 3"*2" 1.65mm |  |
| 227 | 4131AE.SF4-3025 | 3"*2.5" 1.65mm |  |
| 228 | 4131AE.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 229 | 4131AE.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 230 | 4131AE.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 231 | 4131AE.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 232 | 4131AE.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 233 | 4112.SF1-.50 | 1/2" 1.65mm | DT12 Elbow 90° Clamp/Weld End SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 234 | 4112.SF1-.75 | 3/4" 1.65mm |  |
| 235 | 4112.SF1-1 | 1" 1.65mm |  |
| 236 | 4112.SF1-15 | 1.5" 1.65mm |  |
| 237 | 4112.SF1-2 | 2" 1.65mm |  |
| 238 | 4112.SF1-25 | 2.5" 1.65mm |  |
| 239 | 4112.SF1-3 | 3" 1.65mm |  |
| 240 | 4112.SF1-4 | 4" 2.1mm |  |
| 241 | 4112.SF4-.50 | 1/2" 1.65mm | DT12 Elbow 90° Clamp/ Weld End SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 242 | 4112.SF4-.75 | 3/4" 1.65mm |  |
| 243 | 4112.SF4-1 | 1" 1.65mm |  |
| 244 | 4112.SF4-15 | 1.5" 1.65mm |  |
| 245 | 4112.SF4-2 | 2" 1.65mm |  |
| 246 | 4112.SF4-25 | 2.5" 1.65mm |  |
| 247 | 4112.SF4-3 | 3" 1.65mm |  |
| 248 | 4112.SF4-4 | 4" 2.1mm |  |
| 249 | 4115.SF1-.50 | 1/2" 1.65mm | DT13 Elbow 45° Clamp/ Weld End SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 250 | 4115.SF1-.75 | 3/4" 1.65mm |  |
| 251 | 4115.SF1-1 | 1" 1.65mm |  |
| 252 | 4115.SF1-15 | 1.5" 1.65mm |  |
| 253 | 4115.SF1-2 | 2" 1.65mm |  |
| 254 | 4115.SF1-25 | 2.5" 1.65mm |  |
| 255 | 4115.SF1-3 | 3" 1.65mm |  |
| 256 | 4115.SF1-4 | 4" 2.1mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 257 | 4115.SF4-.50 | 1/2" 1.65mm | DT13 Elbow 45° Clamp/Weld End SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 258 | 4115.SF4-.75 | 3/4" 1.65mm |  |
| 259 | 4115.SF4-1 | 1" 1.65mm |  |
| 260 | 4115.SF4-15 | 1.5" 1.65mm |  |
| 261 | 4115.SF4-2 | 2" 1.65mm |  |
| 262 | 4115.SF4-25 | 2.5" 1.65mm |  |
| 263 | 4115.SF4-3 | 3" 1.65mm |  |
| 264 | 4115.SF4-4 | 4" 2.1mm |  |
| 265 | 4127.SF1-7550 | 3/4"*1/2" 1.65mm | DT14 Tee Reducing Short Outlet Clamp/ Run Body Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 266 | 4127.SF1-1050 | 1"*1/2" 1.65mm |  |
| 267 | 4127.SF1-1075 | 1"*3/4" 1.65mm |  |
| 268 | 4127.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 269 | 4127.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 270 | 4127.SF1-1510 | 1.5"*1" 1.65mm |  |
| 271 | 4127.SF1-2050 | 2"*1/2" 1.65mm |  |
| 272 | 4127.SF1-2075 | 2"*3/4" 1.65mm |  |
| 273 | 4127.SF1-2010 | 2"*1" 1.65mm |  |
| 274 | 4127.SF1-2015 | 2"*1.5" 1.65mm |  |
| 275 | 4127.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 276 | 4127.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 277 | 4127.SF1-2510 | 2.5"*1" 1.65mm |  |
| 278 | 4127.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 279 | 4127.SF1-2520 | 2.5"*2" 1.65mm |  |
| 280 | 4127.SF1-3050 | 3"*1/2" 1.65mm |  |
| 281 | 4127.SF1-3075 | 3"*3/4" 1.65mm |  |
| 282 | 4127.SF1-3010 | 3"*1" 1.65mm |  |
| 283 | 4127.SF1-3015 | 3"*1.5" 1.65mm |  |
| 284 | 4127.SF1-3020 | 3"*2" 1.65mm |  |
| 285 | 4127.SF1-3025 | 3"*2.5" 1.65mm |  |
| 286 | 4127.SF1-4050 | 4"*1/2" 2.1*1.65mm |  |
| 287 | 4127.SF1-4075 | 4"*3/4" 2.1*1.65mm |  |
| 288 | 4127.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 289 | 4127.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 290 | 4127.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 291 | 4127.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 292 | 4127.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 293 | 4127.SF4-7550 | 3/4"*1/2" 1.65mm | DT14 Tee Reducing Short Outlet Clamp/ Run Body Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 294 | 4127.SF4-1050 | 1"*1/2" 1.65mm |  |
| 295 | 4127.SF4-1075 | 1"*3/4" 1.65mm |  |
| 296 | 4127.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 297 | 4127.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 298 | 4127.SF4-1510 | 1.5"*1" 1.65mm |  |
| 299 | 4127.SF4-2050 | 2"*1/2" 1.65mm |  |
| 300 | 4127.SF4-2075 | 2"*3/4" 1.65mm |  |
| 301 | 4127.SF4-2010 | 2"*1" 1.65mm |  |
| 302 | 4127.SF4-2015 | 2"*1.5" 1.65mm |  |
| 303 | 4127.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 304 | 4127.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 305 | 4127.SF4-2510 | 2.5"*1" 1.65mm |  |
| 306 | 4127.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 307 | 4127.SF4-2520 | 2.5"*2" 1.65mm |  |
| 308 | 4127.SF4-3050 | 3"*1/2" 1.65mm |  |
| 309 | 4127.SF4-3075 | 3"*3/4" 1.65mm |  |
| 310 | 4127.SF4-3010 | 3"*1" 1.65mm |  |
| 311 | 4127.SF4-3015 | 3"*1.5" 1.65mm |  |
| 312 | 4127.SF4-3020 | 3"*2" 1.65mm |  |
| 313 | 4127.SF4-3025 | 3"*2.5" 1.65mm |  |
| 314 | 4127.SF4-4050 | 4"*1/2" 2.1*1.65mm |  |
| 315 | 4127.SF4-4075 | 4"*3/4" 2.1*1.65mm |  |
| 316 | 4127.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 317 | 4127.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 318 | 4127.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 319 | 4127.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 320 | 4127.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 321 | 4122.SF1-.50 | 1/2" 1.65mm | DT15 Tee Equal Outlet Short Clamp End/ Run Body Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 322 | 4122.SF1-.75 | 3/4" 1.65mm |  |
| 323 | 4122.SF1-1 | 1" 1.65mm |  |
| 324 | 4122.SF1-15 | 1.5" 1.65mm |  |
| 325 | 4122.SF1-2 | 2" 1.65mm |  |
| 326 | 4122.SF1-25 | 2.5" 1.65mm |  |
| 327 | 4122.SF1-3 | 3" 1.65mm |  |
| 328 | 4122.SF1-4 | 4" 2.1mm |  |
| 329 | 4122.SF4-.50 | 1/2" 1.65mm | DT15 Tee Equal Outlet Short Clamp End/ Run Body Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 330 | 4122.SF4-.75 | 3/4" 1.65mm |  |
| 331 | 4122.SF4-1 | 1" 1.65mm |  |
| 332 | 4122.SF4-15 | 1.5" 1.65mm |  |
| 333 | 4122.SF4-2 | 2" 1.65mm |  |
| 334 | 4122.SF4-25 | 2.5" 1.65mm |  |
| 335 | 4122.SF4-3 | 3" 1.65mm |  |
| 336 | 4122.SF4-4 | 4" 2.1mm |  |
| 337 | 4113.SF1-.50 | 1/2" 1.65mm | DT16 Elbow 90° Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 338 | 4113.SF1-.75 | 3/4" 1.65mm |  |
| 339 | 4113.SF1-1 | 1" 1.65mm |  |
| 340 | 4113.SF1-15 | 1.5" 1.65mm |  |
| 341 | 4113.SF1-2 | 2" 1.65mm |  |
| 342 | 4113.SF1-25 | 2.5" 1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 343 | 4113.SF1-3 | 3" 1.65mm | DT16 Elbow 90° Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 344 | 4113.SF1-4 | 4" 2.1mm |  |
| 345 | 4113.SF4-.50 | 1/2" 1.65mm | DT16 Elbow 90° Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 346 | 4113.SF4-.75 | 3/4" 1.65mm |  |
| 347 | 4113.SF4-1 | 1" 1.65mm |  |
| 348 | 4113.SF4-15 | 1.5" 1.65mm |  |
| 349 | 4113.SF4-2 | 2" 1.65mm |  |
| 350 | 4113.SF4-25 | 2.5" 1.65mm |  |
| 351 | 4113.SF4-3 | 3" 1.65mm |  |
| 352 | 4113.SF4-4 | 4" 2.1mm |  |
| 353 | 4116.SF1-.50 | 1/2" 1.65mm | DT17 Elbow 45° Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 354 | 4116.SF1-.75 | 3/4" 1.65mm |  |
| 355 | 4116.SF1-1 | 1" 1.65mm |  |
| 356 | 4116.SF1-15 | 1.5" 1.65mm |  |
| 357 | 4116.SF1-2 | 2" 1.65mm |  |
| 358 | 4116.SF1-25 | 2.5" 1.65mm |  |
| 359 | 4116.SF1-3 | 3" 1.65mm |  |
| 360 | 4116.SF1-4 | 4" 2.1mm |  |
| 361 | 4116.SF4-.50 | 1/2" 1.65mm | DT17 Elbow 45° Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 362 | 4116.SF4-.75 | 3/4" 1.65mm |  |
| 363 | 4116.SF4-1 | 1" 1.65mm |  |
| 364 | 4116.SF4-15 | 1.5" 1.65mm |  |
| 365 | 4116.SF4-2 | 2" 1.65mm |  |
| 366 | 4116.SF4-25 | 2.5" 1.65mm |  |
| 367 | 4116.SF4-3 | 3" 1.65mm |  |
| 368 | 4116.SF4-4 | 4" 2.1mm |  |
| 369 | 4124T.SF1-.50 | 1/2" 1.65mm | DT18 Tee Equal Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 370 | 4124T.SF1-.75 | 3/4" 1.65mm |  |
| 371 | 4124T.SF1-1 | 1" 1.65mm |  |
| 372 | 4124T.SF1-15 | 1.5" 1.65mm |  |
| 373 | 4124T.SF1-2 | 2" 1.65mm |  |
| 374 | 4124T.SF1-25 | 2.5" 1.65mm |  |
| 375 | 4124T.SF1-3 | 3" 1.65mm |  |
| 376 | 4124T.SF1-4 | 4" 2.1mm |  |
| 377 | 4124T.SF4-.50 | 1/2" 1.65mm | DT18 Tee Equal Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 378 | 4124T.SF4-.75 | 3/4" 1.65mm |  |
| 379 | 4124T.SF4-1 | 1" 1.65mm |  |
| 380 | 4124T.SF4-15 | 1.5" 1.65mm |  |
| 381 | 4124T.SF4-2 | 2" 1.65mm |  |
| 382 | 4124T.SF4-25 | 2.5" 1.65mm |  |
| 383 | 4124T.SF4-3 | 3" 1.65mm |  |
| 384 | 4124T.SF4-4 | 4" 2.1mm |  |
| 385 | 4124C.SF1-.50 | 1/2" 1.65mm | DT18 Cross Equal Long Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 386 | 4124C.SF1-.75 | 3/4" 1.65mm |  |
| 387 | 4124C.SF1-1 | 1" 1.65mm |  |
| 388 | 4124C.SF1-15 | 1.5" 1.65mm |  |
| 389 | 4124C.SF1-2 | 2" 1.65mm |  |
| 390 | 4124C.SF1-25 | 2.5" 1.65mm |  |
| 391 | 4124C.SF1-3 | 3" 1.65mm |  |
| 392 | 4124C.SF1-4 | 4" 2.1mm |  |
| 393 | 4124C.SF4-.50 | 1/2" 1.65mm | DT18 Cross Equal Long Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 394 | 4124C.SF4-.75 | 3/4" 1.65mm |  |
| 395 | 4124C.SF4-1 | 1" 1.65mm |  |
| 396 | 4124C.SF4-15 | 1.5" 1.65mm |  |
| 397 | 4124C.SF4-2 | 2" 1.65mm |  |
| 398 | 4124C.SF4-25 | 2.5" 1.65mm |  |
| 399 | 4124C.SF4-3 | 3" 1.65mm |  |
| 400 | 4124C.SF4-4 | 4" 2.1mm |  |
| 401 | 4128.SF1-7550 | 3/4"*1/2" 1.65mm | DT19 Tee Reducing Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 402 | 4128.SF1-1050 | 1"*1/2" 1.65mm |  |
| 403 | 4128.SF1-1075 | 1"*3/4" 1.65mm |  |
| 404 | 4128.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 405 | 4128.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 406 | 4128.SF1-1510 | 1.5"*1" 1.65mm |  |
| 407 | 4128.SF1-2050 | 2"*1/2" 1.65mm |  |
| 408 | 4128.SF1-2075 | 2"*3/4" 1.65mm |  |
| 409 | 4128.SF1-2010 | 2"*1" 1.65mm |  |
| 410 | 4128.SF1-2015 | 2"*1.5" 1.65mm |  |
| 411 | 4128.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 412 | 4128.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 413 | 4128.SF1-2510 | 2.5"*1" 1.65mm |  |
| 414 | 4128.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 415 | 4128.SF1-2520 | 2.5"*2" 1.65mm |  |
| 416 | 4128.SF1-3050 | 3"*1/2" 1.65mm |  |
| 417 | 4128.SF1-3075 | 3"*3/4" 1.65mm |  |
| 418 | 4128.SF1-3010 | 3"*1" 1.65mm |  |
| 419 | 4128.SF1-3015 | 3"*1.5" 1.65mm |  |
| 420 | 4128.SF1-3020 | 3"*2" 1.65mm |  |
| 421 | 4128.SF1-3025 | 3"*2.5" 1.65mm |  |
| 422 | 4128.SF1-4050 | 4"*1/2" 2.1*1.65mm |  |
| 423 | 4128.SF1-4075 | 4"*3/4" 2.1*1.65mm |  |
| 424 | 4128.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 425 | 4128.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 426 | 4128.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 427 | 4128.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 428 | 4128.SF1-4030 | 4"*3" 2.1*1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 429 | 4128.SF4-7550 | 3/4"*1/2" 1.65mm | DT19 Tee Reducing Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 430 | 4128.SF4-1050 | 1"*1/2" 1.65mm |  |
| 431 | 4128.SF4-1075 | 1"*3/4" 1.65mm |  |
| 432 | 4128.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 433 | 4128.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 434 | 4128.SF4-1510 | 1.5"*1" 1.65mm |  |
| 435 | 4128.SF4-2050 | 2"*1/2" 1.65mm |  |
| 436 | 4128.SF4-2075 | 2"*3/4" 1.65mm |  |
| 437 | 4128.SF4-2010 | 2"*1" 1.65mm |  |
| 438 | 4128.SF4-2015 | 2"*1.5" 1.65mm |  |
| 439 | 4128.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 440 | 4128.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 441 | 4128.SF4-2510 | 2.5"*1" 1.65mm |  |
| 442 | 4128.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 443 | 4128.SF4-2520 | 2.5"*2" 1.65mm |  |
| 444 | 4128.SF4-3050 | 3"*1/2" 1.65mm |  |
| 445 | 4128.SF4-3075 | 3"*3/4" 1.65mm |  |
| 446 | 4128.SF4-3010 | 3"*1" 1.65mm |  |
| 447 | 4128.SF4-3015 | 3"*1.5" 1.65mm |  |
| 448 | 4128.SF4-3020 | 3"*2" 1.65mm |  |
| 449 | 4128.SF4-3025 | 3"*2.5" 1.65mm |  |
| 450 | 4128.SF4-4050 | 4"*1/2" 2.1*1.65mm |  |
| 451 | 4128.SF4-4075 | 4"*3/4" 2.1*1.65mm |  |
| 452 | 4128.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 453 | 4128.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 454 | 4128.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 455 | 4128.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 456 | 4128.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 457 | 4129.SF1-7550 | 3/4"*1/2" 1.65mm | DT20 Tee Reducing Short Outlet Clamp Ends SF1 ID Pol. Ra<0.5μ m/ OD Pol. Ra<0.8μm |
| 458 | 4129.SF1-1050 | 1"*1/2" 1.65mm |  |
| 459 | 4129.SF1-1075 | 1"*3/4" 1.65mm |  |
| 460 | 4129.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 461 | 4129.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 462 | 4129.SF1-1510 | 1.5"*1" 1.65mm |  |
| 463 | 4129.SF1-2050 | 2"*1/2" 1.65mm |  |
| 464 | 4129.SF1-2075 | 2"*3/4" 1.65mm |  |
| 465 | 4129.SF1-2010 | 2"*1" 1.65mm |  |
| 466 | 4129.SF1-2015 | 2"*1.5" 1.65mm |  |
| 467 | 4129.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 468 | 4129.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 469 | 4129.SF1-2510 | 2.5"*1" 1.65mm |  |
| 470 | 4129.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 471 | 4129.SF1-2520 | 2.5"*2" 1.65mm |  |
| 472 | 4129.SF1-3050 | 3"*1/2" 1.65mm |  |
| 473 | 4129.SF1-3075 | 3"*3/4" 1.65mm |  |
| 474 | 4129.SF1-3010 | 3"*1" 1.65mm |  |
| 475 | 4129.SF1-3015 | 3"*1.5" 1.65mm |  |
| 476 | 4129.SF1-3020 | 3"*2" 1.65mm |  |
| 477 | 4129.SF1-3025 | 3"*2.5" 1.65mm |  |
| 478 | 4129.SF1-4050 | 4"*1/2" 2.1*1.65mm |  |
| 479 | 4129.SF1-4075 | 4"*3/4" 2.1*1.65mm |  |
| 480 | 4129.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 481 | 4129.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 482 | 4129.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 483 | 4129.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 484 | 4129.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 485 | 4129.SF4-7550 | 3/4"*1/2" 1.65mm | DT20 Tee Reducing Short Outlet Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 486 | 4129.SF4-1050 | 1"*1/2" 1.65mm |  |
| 487 | 4129.SF4-1075 | 1"*3/4" 1.65mm |  |
| 488 | 4129.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 489 | 4129.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 490 | 4129.SF4-1510 | 1.5"*1" 1.65mm |  |
| 491 | 4129.SF4-2050 | 2"*1/2" 1.65mm |  |
| 492 | 4129.SF4-2075 | 2"*3/4" 1.65mm |  |
| 493 | 4129.SF4-2010 | 2"*1" 1.65mm |  |
| 494 | 4129.SF4-2015 | 2"*1.5" 1.65mm |  |
| 495 | 4129.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 496 | 4129.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 497 | 4129.SF4-2510 | 2.5"*1" 1.65mm |  |
| 498 | 4129.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 499 | 4129.SF4-2520 | 2.5"*2" 1.65mm |  |
| 500 | 4129.SF4-3050 | 3"*1/2" 1.65mm |  |
| 501 | 4129.SF4-3075 | 3"*3/4" 1.65mm |  |
| 502 | 4129.SF4-3010 | 3"*1" 1.65mm |  |
| 503 | 4129.SF4-3015 | 3"*1.5" 1.65mm |  |
| 504 | 4129.SF4-3020 | 3"*2" 1.65mm |  |
| 505 | 4129.SF4-3025 | 3"*2.5" 1.65mm |  |
| 506 | 4129.SF4-4050 | 4"*1/2" 2.1*1.65mm |  |
| 507 | 4129.SF4-4075 | 4"*3/4" 2.1*1.65mm |  |
| 508 | 4129.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 509 | 4129.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 510 | 4129.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 511 | 4129.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 512 | 4129.SF4-4030 | 4"*3" 2.1*1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 513 | 4133AC.SF1-7550 | 3/4"*1/2" 1.65mm | DT21 Concentric Reducer Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 514 | 4133AC.SF1-1050 | 1"*1/2" 1.65mm |  |
| 515 | 4133AC.SF1-1075 | 1"*3/4" 1.65mm |  |
| 516 | 4133AC.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 517 | 4133AC.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 518 | 4133AC.SF1-1510 | 1.5"*1" 1.65mm |  |
| 519 | 4133AC.SF1-2050 | 2"*1/2" 1.65mm |  |
| 520 | 4133AC.SF1-2075 | 2"*3/4" 1.65mm |  |
| 521 | 4133AC.SF1-2010 | 2"*1" 1.65mm |  |
| 522 | 4133AC.SF1-2015 | 2"*1.5" 1.65mm |  |
| 523 | 4133AC.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 524 | 4133AC.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 525 | 4133AC.SF1-2510 | 2.5"*1" 1.65mm |  |
| 526 | 4133AC.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 527 | 4133AC.SF1-2520 | 2.5"*2" 1.65mm |  |
| 528 | 4133AC.SF1-3010 | 3"*1" 1.65mm |  |
| 529 | 4133AC.SF1-3015 | 3"*1.5" 1.65mm |  |
| 530 | 4133AC.SF1-3020 | 3"*2" 1.65mm |  |
| 531 | 4133AC.SF1-3025 | 3"*2.5" 1.65mm |  |
| 532 | 4133AC.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 533 | 4133AC.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 534 | 4133AC.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 535 | 4133AC.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 536 | 4133AC.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 537 | 4133AC.SF4-7550 | 3/4"*1/2" 1.65mm | DT21 Concentric Reducer Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 538 | 4133AC.SF4-1050 | 1"*1/2" 1.65mm |  |
| 539 | 4133AC.SF4-1075 | 1"*3/4" 1.65mm |  |
| 540 | 4133AC.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 541 | 4133AC.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 542 | 4133AC.SF4-1510 | 1.5"*1" 1.65mm |  |
| 543 | 4133AC.SF4-2050 | 2"*1/2" 1.65mm |  |
| 544 | 4133AC.SF4-2075 | 2"*3/4" 1.65mm |  |
| 545 | 4133AC.SF4-2010 | 2"*1" 1.65mm |  |
| 546 | 4133AC.SF4-2015 | 2"*1.5" 1.65mm |  |
| 547 | 4133AC.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 548 | 4133AC.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 549 | 4133AC.SF4-2510 | 2.5"*1" 1.65mm |  |
| 550 | 4133AC.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 551 | 4133AC.SF4-2520 | 2.5"*2" 1.65mm |  |
| 552 | 4133AC.SF4-3010 | 3"*1" 1.65mm |  |
| 553 | 4133AC.SF4-3015 | 3"*1.5" 1.65mm |  |
| 554 | 4133AC.SF4-3020 | 3"*2" 1.65mm |  |
| 555 | 4133AC.SF4-3025 | 3"*2.5" 1.65mm |  |
| 556 | 4133AC.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 557 | 4133AC.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 558 | 4133AC.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 559 | 4133AC.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 560 | 4133AC.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 561 | 4133AE.SF1-7550 | 3/4"*1/2" 1.65mm | DT21 Eccentric Reducer Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 562 | 4133AE.SF1-1050 | 1"*1/2" 1.65mm |  |
| 563 | 4133AE.SF1-1075 | 1"*3/4" 1.65mm |  |
| 564 | 4133AE.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 565 | 4133AE.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 566 | 4133AE.SF1-1510 | 1.5"*1" 1.65mm |  |
| 567 | 4133AE.SF1-2050 | 2"*1/2" 1.65mm |  |
| 568 | 4133AE.SF1-2075 | 2"*3/4" 1.65mm |  |
| 569 | 4133AE.SF1-2010 | 2"*1" 1.65mm |  |
| 570 | 4133AE.SF1-2015 | 2"*1.5" 1.65mm |  |
| 571 | 4133AE.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 572 | 4133AE.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 573 | 4133AE.SF1-2510 | 2.5"*1" 1.65mm |  |
| 574 | 4133AE.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 575 | 4133AE.SF1-2520 | 2.5"*2" 1.65mm |  |
| 576 | 4133AE.SF1-3010 | 3"*1" 1.65mm |  |
| 577 | 4133AE.SF1-3015 | 3"*1.5" 1.65mm |  |
| 578 | 4133AE.SF1-3020 | 3"*2" 1.65mm |  |
| 579 | 4133AE.SF1-3025 | 3"*2.5" 1.65mm |  |
| 580 | 4133AE.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 581 | 4133AE.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 582 | 4133AE.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 583 | 4133AE.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 584 | 4133AE.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 585 | 4133AE.SF4-7550 | 3/4"*1/2" 1.65mm | DT21 Eccentric Reducer Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 586 | 4133AE.SF4-1050 | 1"*1/2" 1.65mm |  |
| 587 | 4133AE.SF4-1075 | 1"*3/4" 1.65mm |  |
| 588 | 4133AE.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 589 | 4133AE.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 590 | 4133AE.SF4-1510 | 1.5"*1" 1.65mm |  |
| 591 | 4133AE.SF4-2050 | 2"*1/2" 1.65mm |  |
| 592 | 4133AE.SF4-2075 | 2"*3/4" 1.65mm |  |
| 593 | 4133AE.SF4-2010 | 2"*1" 1.65mm |  |
| 594 | 4133AE.SF4-2015 | 2"*1.5" 1.65mm |  |
| 595 | 4133AE.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 596 | 4133AE.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 597 | 4133AE.SF4-2510 | 2.5"*1" 1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 598 | 4133AE.SF4-2515 | 2.5"*1.5" 1.65mm | DT21 Eccentric Reducer Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 599 | 4133AE.SF4-2520 | 2.5"*2" 1.65mm |  |
| 600 | 4133AE.SF4-3010 | 3"*1" 1.65mm |  |
| 601 | 4133AE.SF4-3015 | 3"*1.5" 1.65mm |  |
| 602 | 4133AE.SF4-3020 | 3"*2" 1.65mm |  |
| 603 | 4133AE.SF4-3025 | 3"*2.5" 1.65mm |  |
| 604 | 4133AE.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 605 | 4133AE.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 606 | 4133AE.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 607 | 4133AE.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 608 | 4133AE.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 609 | 4141.SF1-.50 | 1/2" | DT22 Welding Ferrule L=44.5mm SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 610 | 4141.SF1-.75 | 3/4" |  |
| 611 | 4141.SF1-1 | 1" |  |
| 612 | 4141.SF1-15 | 1.5" |  |
| 613 | 4141.SF1-2 | 2" |  |
| 614 | 4141.SF1-25 | 2.5" |  |
| 615 | 4141.SF1-3 | 3" |  |
| 616 | 4141.SF1-4 | 4" |  |
| 617 | 4141.SF4-.50 | 1/2" | DT22 Welding Ferrule L=44.5mm SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 618 | 4141.SF4-.75 | 3/4" |  |
| 619 | 4141.SF4-1 | 1" |  |
| 620 | 4141.SF4-15 | 1.5" |  |
| 621 | 4141.SF4-2 | 2" |  |
| 622 | 4141.SF4-25 | 2.5" |  |
| 623 | 4141.SF4-3 | 3" |  |
| 624 | 4141.SF4-4 | 4" |  |
| 625 | 4117.SF1-.50 | 1/2" 1.65mm | DT23 Elbow 180° Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 626 | 4117.SF1-.75 | 3/4" 1.65mm |  |
| 627 | 4117.SF1-1 | 1" 1.65mm |  |
| 628 | 4117.SF1-15 | 1.5" 1.65mm |  |
| 629 | 4117.SF1-2 | 2" 1.65mm |  |
| 630 | 4117.SF1-25 | 2.5" 1.65mm |  |
| 631 | 4117.SF1-3 | 3" 1.65mm |  |
| 632 | 4117.SF1-4 | 4" 2.1mm |  |
| 633 | 4117.SF4-.50 | 1/2" 1.65mm | DT23 Elbow 180° Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 634 | 4117.SF4-.75 | 3/4" 1.65mm |  |
| 635 | 4117.SF4-1 | 1" 1.65mm |  |
| 636 | 4117.SF4-15 | 1.5" 1.65mm |  |
| 637 | 4117.SF4-2 | 2" 1.65mm |  |
| 638 | 4117.SF4-25 | 2.5" 1.65mm |  |
| 639 | 4117.SF4-3 | 3" 1.65mm |  |
| 640 | 4117.SF4-4 | 4" 2.1mm |  |
| 641 | 4118.SF1-.50 | 1/2" 1.65mm | DT24 Elbow 180° Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 642 | 4118.SF1-.75 | 3/4" 1.65mm |  |
| 643 | 4118.SF1-1 | 1" 1.65mm |  |
| 644 | 4118.SF1-15 | 1.5" 1.65mm |  |
| 645 | 4118.SF1-2 | 2" 1.65mm |  |
| 646 | 4118.SF1-25 | 2.5" 1.65mm |  |
| 647 | 4118.SF1-3 | 3" 1.65mm |  |
| 648 | 4118.SF1-4 | 4" 2.1mm |  |
| 649 | 4118.SF4-.50 | 1/2" 1.65mm | DT24 Elbow 180° Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 650 | 4118.SF4-.75 | 3/4" 1.65mm |  |
| 651 | 4118.SF4-1 | 1" 1.65mm |  |
| 652 | 4118.SF4-15 | 1.5" 1.65mm |  |
| 653 | 4118.SF4-2 | 2" 1.65mm |  |
| 654 | 4118.SF4-25 | 2.5" 1.65mm |  |
| 655 | 4118.SF4-3 | 3" 1.65mm |  |
| 656 | 4118.SF4-4 | 4" 2.1mm |  |
| 657 | 4123.SF1-.50 | 1/2" 1.65mm | DT25 Tee Run Short Outlet Clamp/Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 658 | 4123.SF1-.75 | 3/4" 1.65mm |  |
| 659 | 4123.SF1-1 | 1" 1.65mm |  |
| 660 | 4123.SF1-15 | 1.5" 1.65mm |  |
| 661 | 4123.SF1-2 | 2" 1.65mm |  |
| 662 | 4123.SF1-25 | 2.5" 1.65mm |  |
| 663 | 4123.SF1-3 | 3" 1.65mm |  |
| 664 | 4123.SF1-4 | 4" 2.1mm |  |
| 665 | 4123.SF4-.50 | 1/2" 1.65mm | DT25 Tee Run Short Outlet Clamp/Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 666 | 4123.SF4-.75 | 3/4" 1.65mm |  |
| 667 | 4123.SF4-1 | 1" 1.65mm |  |
| 668 | 4123.SF4-15 | 1.5" 1.65mm |  |
| 669 | 4123.SF4-2 | 2" 1.65mm |  |
| 670 | 4123.SF4-25 | 2.5" 1.65mm |  |
| 671 | 4123.SF4-3 | 3" 1.65mm |  |
| 672 | 4123.SF4-4 | 4" 2.1mm |  |
| 673 | 4132AC.SF1-7550 | 3/4"*1/2" 1.65mm | DT26 Concentric Reducer Clamp/Weld End SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 674 | 4132AC.SF1-1050 | 1"*1/2" 1.65mm |  |
| 675 | 4132AC.SF1-1075 | 1"*3/4" 1.65mm |  |
| 676 | 4132AC.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 677 | 4132AC.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 678 | 4132AC.SF1-1510 | 1.5"*1" 1.65mm |  |
| 679 | 4132AC.SF1-2050 | 2"*1/2" 1.65mm |  |
| 680 | 4132AC.SF1-2075 | 2"*3/4" 1.65mm |  |
| 681 | 4132AC.SF1-2010 | 2"*1" 1.65mm |  |
| 682 | 4132AC.SF1-2015 | 2"*1.5" 1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 683 | 4132AC.SF1-2550 | 2.5"*1/2" 1.65mm | DT26 Concentric Reducer Clamp/Weld End SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 684 | 4132AC.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 685 | 4132AC.SF1-2510 | 2.5"*1" 1.65mm |  |
| 686 | 4132AC.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 687 | 4132AC.SF1-2520 | 2.5"*2" 1.65mm |  |
| 688 | 4132AC.SF1-3010 | 3"*1" 1.65mm |  |
| 689 | 4132AC.SF1-3015 | 3"*1.5" 1.65mm |  |
| 690 | 4132AC.SF1-3020 | 3"*2" 1.65mm |  |
| 691 | 4132AC.SF1-3025 | 3"*2.5" 1.65mm |  |
| 692 | 4132AC.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 693 | 4132AC.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 694 | 4132AC.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 695 | 4132AC.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 696 | 4132AC.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 697 | 4132AC.SF4-7550 | 3/4"*1/2" 1.65mm | DT26 Concentric Reducer Clamp/Weld End SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 698 | 4132AC.SF4-1050 | 1"*1/2" 1.65mm |  |
| 699 | 4132AC.SF4-1075 | 1"*3/4" 1.65mm |  |
| 700 | 4132AC.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 701 | 4132AC.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 702 | 4132AC.SF4-1510 | 1.5"*1" 1.65mm |  |
| 703 | 4132AC.SF4-2050 | 2"*1/2" 1.65mm |  |
| 704 | 4132AC.SF4-2075 | 2"*3/4" 1.65mm |  |
| 705 | 4132AC.SF4-2010 | 2"*1" 1.65mm |  |
| 706 | 4132AC.SF4-2015 | 2"*1.5" 1.65mm |  |
| 707 | 4132AC.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 708 | 4132AC.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 709 | 4132AC.SF4-2510 | 2.5"*1" 1.65mm |  |
| 710 | 4132AC.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 711 | 4132AC.SF4-2520 | 2.5"*2" 1.65mm |  |
| 712 | 4132AC.SF4-3010 | 3"*1" 1.65mm |  |
| 713 | 4132AC.SF4-3015 | 3"*1.5" 1.65mm |  |
| 714 | 4132AC.SF4-3020 | 3"*2" 1.65mm |  |
| 715 | 4132AC.SF4-3025 | 3"*2.5" 1.65mm |  |
| 716 | 4132AC.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 717 | 4132AC.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 718 | 4132AC.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 719 | 4132AC.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 720 | 4132AC.SF4-4030 | 4"*3" 2.1*1.65mm |  |
| 721 | 4132AE.SF1-7550 | 3/4"*1/2" 1.65mm | DT26 Eccentric Reducer Clamp/Weld End SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 722 | 4132AE.SF1-1050 | 1"*1/2" 1.65mm |  |
| 723 | 4132AE.SF1-1075 | 1"*3/4" 1.65mm |  |
| 724 | 4132AE.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 725 | 4132AE.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 726 | 4132AE.SF1-1510 | 1.5"*1" 1.65mm |  |
| 727 | 4132AE.SF1-2050 | 2"*1/2" 1.65mm |  |
| 728 | 4132AE.SF1-2075 | 2"*3/4" 1.65mm |  |
| 729 | 4132AE.SF1-2010 | 2"*1" 1.65mm |  |
| 730 | 4132AE.SF1-2015 | 2"*1.5" 1.65mm |  |
| 731 | 4132AE.SF1-2550 | 2.5"*1/2" 1.65mm |  |
| 732 | 4132AE.SF1-2575 | 2.5"*3/4" 1.65mm |  |
| 733 | 4132AE.SF1-2510 | 2.5"*1" 1.65mm |  |
| 734 | 4132AE.SF1-2515 | 2.5"*1.5" 1.65mm |  |
| 735 | 4132AE.SF1-2520 | 2.5"*2" 1.65mm |  |
| 736 | 4132AE.SF1-3010 | 3"*1" 1.65mm |  |
| 737 | 4132AE.SF1-3015 | 3"*1.5" 1.65mm |  |
| 738 | 4132AE.SF1-3020 | 3"*2" 1.65mm |  |
| 739 | 4132AE.SF1-3025 | 3"*2.5" 1.65mm |  |
| 740 | 4132AE.SF1-4010 | 4"*1" 2.1*1.65mm |  |
| 741 | 4132AE.SF1-4015 | 4"*1.5" 2.1*1.65mm |  |
| 742 | 4132AE.SF1-4020 | 4"*2" 2.1*1.65mm |  |
| 743 | 4132AE.SF1-4025 | 4"*2.5" 2.1*1.65mm |  |
| 744 | 4132AE.SF1-4030 | 4"*3" 2.1*1.65mm |  |
| 745 | 4132AE.SF4-7550 | 3/4"*1/2" 1.65mm | DT26 Eccentric Reducer Clamp/Weld End SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 746 | 4132AE.SF4-1050 | 1"*1/2" 1.65mm |  |
| 747 | 4132AE.SF4-1075 | 1"*3/4" 1.65mm |  |
| 748 | 4132AE.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 749 | 4132AE.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 750 | 4132AE.SF4-1510 | 1.5"*1" 1.65mm |  |
| 751 | 4132AE.SF4-2050 | 2"*1/2" 1.65mm |  |
| 752 | 4132AE.SF4-2075 | 2"*3/4" 1.65mm |  |
| 753 | 4132AE.SF4-2010 | 2"*1" 1.65mm |  |
| 754 | 4132AE.SF4-2015 | 2"*1.5" 1.65mm |  |
| 755 | 4132AE.SF4-2550 | 2.5"*1/2" 1.65mm |  |
| 756 | 4132AE.SF4-2575 | 2.5"*3/4" 1.65mm |  |
| 757 | 4132AE.SF4-2510 | 2.5"*1" 1.65mm |  |
| 758 | 4132AE.SF4-2515 | 2.5"*1.5" 1.65mm |  |
| 759 | 4132AE.SF4-2520 | 2.5"*2" 1.65mm |  |
| 760 | 4132AE.SF4-3010 | 3"*1" 1.65mm |  |
| 761 | 4132AE.SF4-3015 | 3"*1.5" 1.65mm |  |
| 762 | 4132AE.SF4-3020 | 3"*2" 1.65mm |  |
| 763 | 4132AE.SF4-3025 | 3"*2.5" 1.65mm |  |
| 764 | 4132AE.SF4-4010 | 4"*1" 2.1*1.65mm |  |
| 765 | 4132AE.SF4-4015 | 4"*1.5" 2.1*1.65mm |  |
| 766 | 4132AE.SF4-4020 | 4"*2" 2.1*1.65mm |  |
| 767 | 4132AE.SF4-4025 | 4"*2.5" 2.1*1.65mm |  |
| 768 | 4132AE.SF4-4030 | 4"*3" 2.1*1.65mm |  |

| NO. S3 PART NO SIZE DESCRIPTION |  |  |  |
| --- | --- | --- | --- |
| 769 | 4125.SF1-.50 | 1/2" 1.65mm | DT27 Tee Equal Short Outlet Clamp Ends SF1 ID Pol. Ra<0.5μ m/ OD Pol. Ra<0.8μm |
| 770 | 4125.SF1-.75 | 3/4" 1.65mm |  |
| 771 | 4125.SF1-1 | 1" 1.65mm |  |
| 772 | 4125.SF1-15 | 1.5" 1.65mm |  |
| 773 | 4125.SF1-2 | 2" 1.65mm |  |
| 774 | 4125.SF1-25 | 2.5" 1.65mm |  |
| 775 | 4125.SF1-3 | 3" 1.65mm |  |
| 776 | 4125.SF1-4 | 4" 2.1mm |  |
| 777 | 4125.SF4-.50 | 1/2" 1.65mm | DT27 Tee Equal Short Outlet Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 778 | 4125.SF4-.75 | 3/4" 1.65mm |  |
| 779 | 4125.SF4-1 | 1" 1.65mm |  |
| 780 | 4125.SF4-15 | 1.5" 1.65mm |  |
| 781 | 4125.SF4-2 | 2" 1.65mm |  |
| 782 | 4125.SF4-25 | 2.5" 1.65mm |  |
| 783 | 4125.SF4-3 | 3" 1.65mm |  |
| 784 | 4125.SF4-4 | 4" 2.1mm |  |
| 785 | 41210.SF1-1050 | 1"*1/2" 1.65mm | DT28 Instrument Tee Weld Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 786 | 41210.SF1-1075 | 1"*3/4" 1.65mm |  |
| 787 | 41210.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 788 | 41210.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 789 | 41210.SF1-1510 | 1.5"*1" 1.65mm |  |
| 790 | 41210.SF1-2050 | 2"*1/2" 1.65mm |  |
| 791 | 41210.SF1-2075 | 2"*3/4" 1.65mm |  |
| 792 | 41210.SF1-2010 | 2"*1" 1.65mm |  |
| 793 | 41210.SF1-2015 | 2"*1.5" 1.65mm |  |
| 794 | 41210.SF4-1050 | 1"*1/2" 1.65mm | DT28 Instrument Tee Weld Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 795 | 41210.SF4-1075 | 1"*3/4" 1.65mm |  |
| 796 | 41210.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 797 | 41210.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 798 | 41210.SF4-1510 | 1.5"*1" 1.65mm |  |
| 799 | 41210.SF4-2050 | 2"*1/2" 1.65mm |  |
| 800 | 41210.SF4-2075 | 2"*3/4" 1.65mm |  |
| 801 | 41210.SF4-2010 | 2"*1" 1.65mm |  |
| 802 | 41210.SF4-2015 | 2"*1.5" 1.65mm |  |
| 803 | 41211.SF1-1150 | 1"*1/2" 1.65mm | DT29 Instrument Tee Clamp Ends SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 804 | 41211.SF1-1175 | 1"*3/4" 1.65mm |  |
| 805 | 41211.SF1-1550 | 1.5"*1/2" 1.65mm |  |
| 806 | 41211.SF1-1575 | 1.5"*3/4" 1.65mm |  |
| 807 | 41211.SF1-1510 | 1.5"*1" 1.65mm |  |
| 808 | 41211.SF1-2050 | 2"*1/2" 1.65mm |  |
| 809 | 41211.SF1-2075 | 2"*3/4" 1.65mm |  |
| 810 | 41211.SF1-2010 | 2"*1" 1.65mm |  |
| 811 | 41211.SF1-2015 | 2"*1.5" 1.65mm |  |
| 812 | 41211.SF4-1150 | 1"*1/2" 1.65mm | DT29 Instrument Tee Clamp Ends SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 813 | 41211.SF4-1175 | 1"*3/4" 1.65mm |  |
| 814 | 41211.SF4-1550 | 1.5"*1/2" 1.65mm |  |
| 815 | 41211.SF4-1575 | 1.5"*3/4" 1.65mm |  |
| 816 | 41211.SF4-1510 | 1.5"*1" 1.65mm |  |
| 817 | 41211.SF4-2050 | 2"*1/2" 1.65mm |  |
| 818 | 41211.SF4-2075 | 2"*3/4" 1.65mm |  |
| 819 | 41211.SF4-2010 | 2"*1" 1.65mm |  |
| 820 | 41211.SF4-2015 | 2"*1.5" 1.65mm |  |
| 821 | 4151.SF1-.50 | 1/2" 1.65mm | DT30 Automatic Tube Weld Cap SF1 ID Pol. Ra<0.5μm/ OD Pol. Ra<0.8μm |
| 822 | 4151.SF1-.75 | 3/4" 1.65mm |  |
| 823 | 4151.SF1-1 | 1" 1.65mm |  |
| 824 | 4151.SF1-15 | 1.5" 1.65mm |  |
| 825 | 4151.SF1-2 | 2" 1.65mm |  |
| 826 | 4151.SF1-25 | 2.5" 1.65mm |  |
| 827 | 4151.SF1-3 | 3" 1.65mm |  |
| 828 | 4151.SF1-4 | 4" 2.1mm |  |
| 829 | 4151.SF4-.50 | 1/2" 1.65mm | DT30 Automatic Tube Weld Cap SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 830 | 4151.SF4-.75 | 3/4" 1.65mm |  |
| 831 | 4151.SF4-1 | 1" 1.65mm |  |
| 832 | 4151.SF4-15 | 1.5" 1.65mm |  |
| 833 | 4151.SF4-2 | 2" 1.65mm |  |
| 834 | 4151.SF4-25 | 2.5" 1.65mm |  |
| 835 | 4151.SF4-3 | 3" 1.65mm |  |
| 836 | 4151.SF4-4 | 4" 2.1mm |  |
| 837 | 4152.SF1-.75 | 1/2"~3/4" | DT31 Solid End Cap Hygienic Clamp Joint SF1 ID Pol. Ra<0.5μ m/ OD Pol. Ra<0.8μm |
| 838 | 4152.SF1-15 | 1"~1.5" |  |
| 839 | 4152.SF1-2 | 2" |  |
| 840 | 4152.SF1-25 | 2.5" |  |
| 841 | 4152.SF1-3 | 3" |  |
| 842 | 4152.SF1-4 | 4" |  |
| 843 | 4152.SF1-6 | 6" |  |
| 844 | 4152.SF4-.75 | 1/2"~3/4" | DT31 Solid End Cap Hygienic Clamp Joint SF4 ID EP Finished Ra<0.38μm/ OD Pol. Ra<0.8μm |
| 845 | 4152.SF4-15 | 1"~1.5" |  |
| 846 | 4152.SF4-2 | 2" |  |
| 847 | 4152.SF4-25 | 2.5" |  |
| 848 | 4152.SF4-3 | 3" |  |
| 849 | 4152.SF4-4 | 4" |  |
| 850 | 4152.SF4-6 | 6" |  |